© xxx Program Studi Ilmu Lingkungan Sekolah Pascasarjana UNDIP

JURNAL ILMU LINGKUNGAN

Volume xx Issue x (xxxx) : xx-xxxx 							              ISSN 1829-8907

Combination of Gravel, Silica Sand (SiO2), and on the Effectiveness of Coffee Wastewater Pollutants Removal

ABSTRAK

Variasi media filtrasi dan waktu tinggal berperan penting dalam optimalisasi perbaikan kualitas air limbah. Tujuan penelitian ini yakni merekomendasikan variasi ketinggian batu kerikil dan pasir silika (SiO2) serta debit dalam penanganan metode fisika pada perbaikan kualitas air limbah pengolahan kopi. Terdapat tiga variasi kombinasi ketinggian batu kerikil dan pasir silika yakni 10:5 cm; 7,5:7,5 cm; dan 5:10 cm, dengan dua variasi debit yakni 5,5 mL/detik; dan 9,5 mL/detik. Hasil kajian menunjukkan bahwa variasi ketinggian media batu kerikil dan pasir silika berpengaruh positif terhadap reduksi polutan pada air limbah pengolahan kopi. Rekomendasi terbaik metode fisika untuk penanganan air limbah pengolahan kopi yakni kombinasi ketinggian 5 cm batu kerikil dan 10 cm pasir silika dengan debit 5,5 mL/detik. Kombinasi perlakuan ini mampu mereduksi parameter kekeruhan, Chemicals Oxygen Demand (BOD), Biochemical Oxygen Demand (COD), ammonia (NH3), and phosphate (PO4) secara beurutan sebesar 61,65±1,43%; 50,66±1,31%; 49,00±6,66%; 53,75±4,35%; dan 76,99±4,54%, proses memerlukan hydraulic retention time selama 4 jam. Hasil percobaan ini dapat digunakan sebagai referensi aplikasi variasi ketinggian batu kerikil dan pasir silika (SiO2) dengan mempertimbangkan hydraulic retention time pada primary treatment penyisihan polutan air limbah agroindustri.

Kata kunci: filtrasi, penanganan fisika, pengolahan air limbah kopi, waktu kontak dan tinggal

ABSTRACT

Variations in filtration media and hydraulic retention times an important factor in optimizing wastewater quality improvement. The research objective to recommend variations in the height level of gravel and silica sand (SiO2) and discharge in physical treatment methods in improving the quality of coffee processing wastewater. There were three variations of height level of combinations filtration media from gravel and silica sand, namely 10:5 cm; 7.5:7.5 cm; and 5:10 cm, then two variations of discharge, namely 5.5 mL/second; and 9.5 mL/second. The best recommendation for filtration process of coffee processing wastewater is a combination of 5 cm of gravel and 10 cm of silica sand with a discharge of 5.5 mL/second. This treatment combination can reduce turbidity, Chemicals Oxygen Demand (BOD), Biochemical Oxygen Demand (COD), ammonia (NH3), and phosphate (PO4) parameters respectively by 61.65 ± 1.43%; 50.66 ± 1.31%; 49.00 ± 6.66%; 53.75 ± 4.35%; and 76.99 ± 4.54%, the process requires hydraulic retention time for 4 hours. The height level of gravel and silica sand media, then optimum hydraulic retention times had a positive effect on the reduction of pollutants in coffee processing wastewater.

Keywords: coffee wastewater processing, filtration, hydraulic retention times (HRT), physical treatment

Citation: Pertama, S., Kedua, P., dan Akhir, P. (Tahun). Judul. Jurnal Ilmu Lingkungan, xx(x), xx-xx, doi:10.14710/jil.xx.x.xxx-xx

1. INTRODUCTION

The development of downstream coffee commodities into green bean is growing quite rapidly in Indonesia. The quantity of green bean coffee exports is quite high in 2021 - 2023, which has an impact on Indonesia being ranked 11th as a coffee exporting country (Fitriani et al., 2021; Rondhi et al., 2024). The increase in coffee exports in Indonesia is 3% per year (Syifahati et al., 2021; Zudhi et al., 2024). The increasing trend of processing coffee fruit with wet or semi-wet processing methods for the production of good quality green beans has the potential to increase wastewater also. The volume of coffee processing wastewater in several coffee processing units averages 30 L/ton (Novita et al., 2023).

Exposure of coffee wastewater to water bodies or land if it is no handled first, cause the phenomenon of decline and even pollution of water and land resources. In line from these cases, coffee processing wastewater has characteristics of a dark brown color, has a distinctive odor, has a low degree of acidity, and contains high of dissolved organic matter (Cruz-Salomon et al., 2018; Ijanu et al., 2020; Campos et al., 2021). Coffee processing wastewater does not meet the wastewater quality standards that refer to the Minister of Environment Regulation No. 5/2014. Some previous studies, the values of Total Suspended Solid (TSS), Biochemicals Oxygen Demand (BOD), and Chemicals Oxygen Demand (COD) are 1700 - 2500 mg/L; 600 - 3670 mg/L; and 1340 - 5500 mg/L, respectively (Lemma and Debebe, 2023). Furthermore, coffee processing wastewater has a fairly high level of turbidity and tends to be brown color. Disruption of the performance of the aquatic ecosystem will be experienced if coffee wastewater is discharged into water bodies in the long term. One important aspect that requires to be considered in wastewater treatment is the selection of handling methods or stages.

The combination method of filtration and adsorption plays an important role as an initial or primary treatment that can maximize the removal of wastewater pollutants at the secondary and tertiary stages (Ong, 2018; Kato and Kansha, 2023). Gravel and silica sand (SiO2) are some of the most effective media for filtration. Gravel functions as a filter that can hold pollutants that are larger than the gaps between its, thus reducing the buildup of particulates and supporting silica sand to absorb better. Silica sand is quite effective at filtering and adsorbing particles in water and is usually used for initial filtration. In line with these cases, the application of silica sand as a filtration media is able to reduce the content of suspended solids and dissolved organic matter in laundry wastewater and domestic waste i.e. 70 - 80% (Seng et al., 2018; Alftessi et al., 2021). Furthermore, the combination of gravel and silica sand as filter media is expected to retain and absorb pollutants in coffee processing wastewater so that it is expected to meet environmental quality standards. The advantage of using this filter media is that it can be used repeatedly after cleaning.

Several factors affect the effectiveness of filtration media performance, both the use of gravel and silica sand, namely variations in the height of the filter media, contact time or hydraulic retention time (HRT), and the flow method of the filtration process (Ong, 2018). Silica sand with 80% thickness of the biofilter can reduce phosphate content by 70%, while gravel is able to retain suspended solids in domestic wastewater by 30-40% (Kubo et al., 2022; Guerrero-Brontons et al., 2024). The application of gravel and silica sand is still individual and not integrated in wastewater treatment. Optimal wastewater discharge must be considered in supporting filtration effectiveness, to regulate the contact time of coffee processing wastewater with filter media. Furthermore, the longer or optimal the HRT will be the better in reducing the pollutant content in the waste (Rehman et al., 2020; Xia et al., 2023). However, further studies are needed regarding the optimal HRT for process efficiency and effectiveness that considers the highest pollutant reduction value and the appropriate contact time. The research objective to recommend variations in the height level of gravel and silica sand (SiO2) and discharge in physical treatment methods in improving the quality of coffee processing wastewater.

2. MATERIAL AND METHODS

2.1. Material and Tools

The materials used of this research were coffee processing wastewater, silica sand (SiO2) with a diameter of about 0.5 - 1 mm, and gravel with a diameter of about 10 - 15 mm. Then the materials of samples analysis (pro analysis) were ion-free distilled water, COD High Range (HR) reagent, MnSO4 40%, alkaline iodide azide, H2SO4 20 N, 0.025 N thiosulfate solution, and 5% amylum indicator solution. Furthermore, the equipment used in this study consists of filtration installations and supporting equipment. The filtration installation consisted of a plastic reservoir with a total volume of 50 L, rubber hoses and Polyvinyl Chloride (PVC) pipes with a diameter of 1.8 cm equipped with faucets, and the glasses aquarium with dimensions of 40 cm × 30 cm × 30 cm or 36 L. Furthermore, stopwatch, iron ruler with dimensions of 50 cm, turbidimeter model TN 100 (Brandmark Thermo Scientific Eutech with accuracy of 1.10-2 NTU), analytical balance (Brandmark Ohous 1.10-4grams), COD reactor model HI 839800 (Brandmark Hanna), spectrophotometer model HI 83099 (Brandmark Hanna), 125 and 250 mL winkler bottles (Brandmark Pyrex), and pHmeter 223 (Brandmark Hanna). Details of the filtration plant design with gravel and silica sand media are presented in Figure 1.

Legend:

| 1. Reservoir table | 6. faucets |
| --- | --- |
| 2. Plastic reservoir | 7. hoses |
| 3. Pump | 8. aquarium |
| 4. Aquarium table | 9. inlet |
| 5. PVC pipes | 10. outlet |

Figure 1 Filtration Installation with Gravel and 
                           Silica Sand Media

2.2. Experimental Design

The experimental procedure i.e. flowed the coffee processing wastewater simultaneously at the main tap. Up flow is the chosen method of flowing coffee wastewater, because this method is more effectively applied in filtration (Leon-Becerril et al., 2016). Water discharge levels of 5.5 mL/second (small) and 9.5 mL/second (medium) were obtained by adjusting the opening of the faucet. Furthermore, wastewater was flowed simultaneously into T1, T2, and T3 and it were mentioned in the Table 1. This experiment was three replications to identify standard error data of treatments. Effluent of coffee processing wastewater was tested on turbidity parameters, Biochemicals Oxygen Demand (BOD), Chemicals Oxygen Demand (COD), Phosphate (PO4), and Ammonia (NH3). The picture of the filtration installation circuit equipped with variations of gravel and silica sand media can be seen in Figure 2.

Table 1. Experimental Design

| Discharge | Treatments Code in the Aquarium |  |  |
| --- | --- | --- | --- |
|  | T1 | T2 | T3 |
| 5.5 mL/second (small) | 10 cm gravel:5 cm silica sand | 7.5 cm gravel:7.5 cm silica sand | 5 cm gravel:10 cm silica sand |
| 9.5 mL/second (medium) | 10 cm gravel:5 cm silica sand | 7.5 cm gravel:7.5 cm silica sand | 5 cm gravel:10 cm silica sand |

Figure 2 Filtration Installation with Varying Height of 
                      Gravel and Silica Sand Media

2.3 Data Analysis

The effectiveness of coffee processing wastewater filtration with factor height level variations in gravel and silica sand media and discharge was evaluated refers to the optimal Hydraulic Retention Time (HRT) and the percentage of pollutant reduction (RP). The equations used to identify HRT and RP can be seen in formulas 1 and 2 (Anggarini et al., 2015; Novita et al., 2023), respectively. Both equations were used to recommend the best alternative from the height level and combinations of gravel and silica sand, as well as coffee wastewater discharge. The recommendation was determined based on the quantitative synthesis analysis of the highest RP value.

HRT= VQ		(1)

Where, HRT is the residence time in units of hours, V is the volume of coffee wastewater m3, then Q is the discharge of coffee wastewater with units of m3/hour.

RP= (C1 -C2)C1 ×100% 	(2)

Where RP is the reduction of pollutants in wastewater %, C1 is the initial concentration of coffee wastewater mg/L, and C1 is the initial concentration of coffee wastewater mg/L.

3. RESULTS AND DISCUSSION

3.1. Characterization of Coffee Wastewater 
            Processing (CPW)

Coffee processing wastewater showed high concentrations of polluting parameters and exceeds the established quality standards. Details of the initial condition of coffee processing wastewater before handling with filtration method with variations in filtration media and discharge can be seen in Table 2. The parameter values in coffee processing wastewater when it will be discharged into water bodies must comply with the quality standards set by Regulation of the Environment Ministry of Republic of Indonesia No. 5 of 2014 concerning wastewater quality standards for businesses and/or activities of the coffee processing industry.

Table 2. Coffee Wastewater Processing Characterization

| Parameters | Initial Conditions of Coffee Wastewater Processing | Wastewater Standard* |
| --- | --- | --- |
| pH | 4.10 - 4.70± 0.14 | 6 - 9 |
| Turbidity (NTU) | 594 ± 10 | - |
| BOD (mg/L) | 1.757 ± 5 | 90 |
| COD (mg/L) | 2750 ± 6 | 200 |
| N in Ammonia (NH3) (mg/L) | 132 ± 7 | - |
| Phosphate (PO4) (mg/L) | 29 ± 1 | - |

*Source: Environment Ministry of the Republic of Indonesia, (2014).

Refers to the data on the Table 2, it can be seen that the pH of coffee processing wastewater ranging from 4.1 - 4.7 is acidic and has not met the quality standards of 6-9. COD levels reached 3121.5 mg/L which exceeded the predetermined quality standard threshold of 200 mg/L. The same thing happened to the BOD level, which reached 1970.5 mg/L, which exceeded the 90 mg/L standard threshold. Thus, untreated coffee processing wastewater is no suitable for direct discharge into water bodies or the environment, so it requires to be treated so that the waste can meet the predetermined quality standards and can be discharged directly into water bodies or the environment.

Wet processing of coffee to reduce the mucilage layer produces excess compounds that have the potential to pollute the environment such as melanoidin, soluble organic matter, and low pH values (Ijanu et al., 2020; Rondhi et al., 2023). In line with this case, several studies mention that wet processing of coffee which includes pulping, fermentation, and washing processes change the complex compounds such as hemicellulose and melanoidin so that the resulting wastewater can be cloudy brown in color, high in organic matter, and increase the value of dissolved solids (Gururaj et al., 2021; Asefaw et al., 2024). As from previous studies, coffee processing wastewater produces COD values exceeding 10,000 mg/L and has a pH below 4, so it is necessary to carry out initial or primary treatment such as filtration and adsorption to reduce these pollutants (Novita et al., 2023; Lemma et al., 2023).

3.2. Effectivness of Filtrations Process

The effectiveness of filtration with gravel and silica sand media was assessed based on the percentage value of pollutant removal. Furthermore, the comparison of the percentage value of pollutant removal refers on the discharge used can be seen in Figure 3 with a discharge of 5.5 mL/second and Figure 4 with a discharge of 9.5 mL/second. Referring to both figures, the filtration treatment of coffee processing wastewater with variations in the height level of gravel and silica sand can reduce turbidity, BOD, COD, phosphate, and ammonia parameters.

Figure 3 Removal Efficiency with Discharge of 5.5 
                       mL/second

In all treatments, there was a significant decrease in the turbidity parameter. The filtration process is smoothly so that it can reduce the turbidity value of coffee processing wastewater. The long or optimum contact time of coffee wastewater with gravel and silica sand so that the opportunity for coffee wastewater to settle, retain and be absorbed by the filter media is increasing. Referring to Figure 4. It is known that the highest turbidity removal value is in the T3 treatment with HRT 4 hours or 9.5 mL/second discharge and PR values is 61.65 ± 1.80% (T3), then the lowest efficiency is in the T1 treatment with HRT 2 hours or discharge 5.5 mL/second and PR value is 57.77 ± 1.33%. These results show that the higher the silica sand, the greater the decrease in turbidity. It is caused by the amount and length of waste passing through the sand media so that many substances that cause turbidity are absorbed in the silica sand media (Fitriani et al., 2023). The utilization of silica sand as a filtration media is able to cover two processes, namely filtration and adsorption, so that the sorption of colloids and other dissolved particles can run optimally (Benhabiles et al., 2022). Furthermore, the effect of HRT variation on pollutant removal with the best filter combination (T3) is presented in Figure 5.

Figure 4 Removal efficiency with discharge of 9.5 
                        mL/second

The removal of organic matter as indicated by the BOD and COD values also successful. In line with this, in Figure 4., all treatments experienced a successful for decline BOD and COD. The decrease in COD and BOD values indicates that the need for dissolved oxygen is decreasing, cause the small amount of organic matter to be decomposed. These conditions provide an opportunity for aerobic microbes to oxidize perfectly (Novita et al., 2023). Furthermore, the PR of BOD and COD of the best treatment T3 is 49.00±6.66% and 50.66±4.35%, respectively. Referring to Figure 5, the best HRT to reduce dissolved organic matter to reach 50% is a discharge of 5.5 mL/second. Flow with an up-flow system and adequate contact time can reduce BOD and COD optimally. This is in line with the results of filtration with silica sand media with single stage and multi stage methods with slow flow of laundry, restaurant, and industrial waste capable of reducing BOD and COD parameters by 25 - 80% (Seidmohammadi et al., 2021; Yahya et al., 2023).

Figure 5 HRT Variation on Pollutant Removal in Coffee 
                     Processing Wastewater

Filtration with gravel and silica sand media is also quite effective in reducing phosphate and ammonia content. HRT for 4 hours and a combination of silica sand with a height level of 10 cm (T3) had phosphate and ammonia removal values of 53.01±4.54% and 73.78 ± 4.35%, respectively. The principle of filtration with this up-flow method maximizes the process of filtering colloids and microorganism and is thought to have an impact on reducing the content of ions such as phosphate and ammonia (Warmadewanthi and Larasati, 2020). Another function of the filtration process is the separation of particles that can be absorbed by gravel and silica sand, then able to reduce the effect of odor on wastewater. This is supported by the results of research related to the handling of laundry and industrial wastewater with the silica sand filtration method with a height of 10 cm, which has an effective reduction in phosphate and ammonia values of 65 - 83% (Sengupta et al., 2015). The effect of filtration with gravel and silica sand media with HRT 2 - 4 hours also has a positive impact in stabilizing the pH value of coffee processing wastewater based on Figure 6.

The effluent filtration of coffee processing wastewater has a pH value that tends to be neutral in the 4-hour HRT treatment, namely 6.34 - 6.65±0.14. The pH value at HRT 2 hours also increased, namely 5.53 - 5.70±0.15. The increase in pH value is caused the exchange and trapping of H+ ions in the filter media, both gravel and silica sand. Sand is a type of silica and oxygen compound in water in the form of colloids that bind H+ on the surface to form a positively charged layer and can increase the pH value by 7% (Mazeikiene and Sarko, 2022). In line with the results of this study, the use of sand and gravel as a laundry waste filtration media can increase the pH value by 5.8 - 7.1 (Yaseen et al., 2019).  Thus, the HRT of 4 hours and a silica sand height level of 10 cm is an adequate alternative filtration method in improving coffee wastewater quality.

Figure 6 pH Value of Coffee Processing Wastewater

Recommendations for the use of gravel and silica sand in coffee processing wastewater are in the treatment of 5 cm gravel: 10 cm silica sand, with a discharge of 5.5 mL / second or HRT for 4 hours (T3). The treatment has the highest pollutant removal value including turbidity, BOD, COD, phosphate, and ammonia parameters, and can stabilize the pH value. The application of this filtration method as the primary stage of coffee wastewater treatment can be used as a reference and consideration of the pre-treatment stage even though the COD and BOD parameters do not meet the established quality standards. Furthermore, coffee processing wastewater effluent, which tends to be biodegradable and has a neutral pH, can be handled by bioremediation methods (Novita et al., 2023).

4. CONCLUSION

Filtration of coffee processing wastewater with gravel and silica sand (SiO2) media has a positive impact on improving the quality of coffee processing wastewater. The best recommendation for filtration of physical methods for handling coffee processing wastewater is T3 with the height level of 5 cm of gravel and 10 cm of silica sand with a discharge of 5.5 mL/second. This treatment combination is able to reduce the parameters of turbidity, Chemicals Oxygen Demand (BOD), Biochemical Oxygen Demand (COD), ammonia (NH3), and phosphate (PO4) respectively by 61.65 ± 1.43%; 50.66 ± 1.31%; 49.00 ± 6.66%; 53.75 ± 4.35%; and 76.99 ± 4.54%, the process requires hydraulic retention time for 4 hours. The results of this experiment can be used as a reference for the application of variations in the height level of gravel and silica sand (SiO2) by considering the hydraulic retention time in the primary treatment of agroindustry wastewater pollutant removal.

DAFTAR PUSTAKA

Anggarini S., Hidayat N., Sunyoto N.M.S., Wulandari P.S. 2015. Optimization of hydraulic retention time (HRT) and inoculums addition in wastewater treatment using anaerobic digestion system. Agriculture and Agricultural Science Procedia, 3. https://doi.org/10.1016/j.aaspro.2015.01.020

Alftessi S.A., Othman M.H.D., Adam M.R., Farag T.M., Ismail A.F., Rahman M.A., Jaafar J., Habib M.A., Raji Y.O., Hubadillah S.K. 2021. Novel silica sand hollow fiber ceramic membrane for oily wastewater treatment. Journal of Environmental Chemical Engineering, 9 (1), 104975.

Asefaw K.T., Asaithambi P., Tegegn M. 2024. Treatment of wet coffee processing wastewater using a pulsed-electrocoagulation process: optimization using response surface technique. Applied Water Science, 14 (54). https://doi.org/10.1007/s13201-024-02118-1

Benhabiles O., Chekir N., Tassalit D., Madjene F., Mahidine S., Saci M. 2022. Improving sand filtration of municipal wastewater pre-treatment by optimization using local Algerian media. Desalination and Water Treatment, 279, 8–15. https://doi.org/10.5004/dwt.2022.29062

Campos R.C., Pinto V.R.A., Melo L.F., Da Rocha S.J.S.S., Coimbra J.S. 2021. New sustainable perspectives for coffee wastewater and other by-products: a critical review. Future Food, 4, 100058. https://doi.org/10.1016/j.fufo.2021.100058

Cruz-Salomon A., Rios-Vadovinos E., Pola-Albores F., Lagunas-Rivera S., Meza-Gordillo R., Ruiz-Valdiviezo V. 2018. Evaluation of hydraulic retention time on treatment of coffee processing wastewater (CPWW) in EGSB bioreactor. Sustainability, 10 (1), 83. https://doi.org/10.3390/su10010083

Environmental Ministry of Indonesia Republic. 2014. Wastewater Quality Standard No. 5/2014. Jakarta. https://peraturan.bpk.go.id/Details/322442/permen-lh-no-5-tahun-2014 (Accessed in January 2025).

Fitriani F., Arifin B., Ismono H. 2021. Indonesian coffee exports and its relation to global market integration. Journal of Socioeconomics and Development, 4 (1), 120–133.

Fitriani N., Wahyudianto F.E., Salsabila N.F., Mohamed R.M.S.R., Kurniawan S.B. 2023. Performance of modified slow sand filter to reduce turbidity, total suspended solids, and iron in river water as water treatment in disaster areas. Journal of Ecological Engineering, 24 (1), 1–18. https://doi.org/10.12911/22998993/156009

Guerrero-Brontons M., Purejo N., Romani A.M., Gomez R. 2024. Advantages of using a carbon-rich substrate in a constructed wetland for agricultural water treatment: carbon availability and biota development. Agriculture, Ecosystems & Environment, 360, 108792. https://doi.org/10.1016/j.agee.2023.108792

Gururaj A., Kumar B.M., Achyuth K.N., Manoj B.R. 2021. Coffee processing wastewater management: an overview. Journal of Engineering Research and Reports, 20 (11), 52–61. https://doi.org/10.9734/jerr/2021/v20i1117405

Ijanu E.M., Kamaruddin M.A., Norashiddin F.A. 2020. Coffee processing wastewater treatment: a critical review on current treatment technologies with a proposed alternative. Applied Water Science, 10 (11). https://doi.org/10.1007/s13201-019-1091-9

Kato S., Kansha Y. 2024. Comprehensive review of industrial wastewater treatment techniques. Environmental Science and Pollution Research, 31, 51064–51097. https://doi.org/10.1007/s11356-024-34584-0

Kubo A., Kawarasaki K., Hara. 2022. Silica removal at sewage treatment plants causes new silica deficiency. Scientific Reports, 12 (8141). https://doi.org/10.1038/s41598-022-12272-8

Lemma D.B., Debebe W.A. 2023. Wet coffee processing wastewater treatment by using an integrated constructed wetland. Desalination and Water Treatment, 304, 97–111. https://doi.org/10.5004/dwt.2023.29841

León-Becerril E., García-Camacho J.E., Real-Olvera J.D., Lopez-Lopez A. 2016. Performance of an up-flow anaerobic filter in the treatment of cold meat industry wastewater. Process Safety and Environmental Protection, 102, 385–391. https://doi.org/10.1016/j.psep.2016.04.016

Mažeikienė A., Sarko J. 2022. Removal of nitrogen and phosphorus from wastewater using layered filter media. Sustainability, 14 (17). https://doi.org/10.3390/su141710713

Novita E., Wahyuningsih S., Andika M., Pradana H.A. 2023. Water hyacinth potential in the pollution impact reduction of coffee agroindustry wastewater. Journal of Pollution Prevention Technology Research, 14 (2), 10–22. https://doi.org/10.21771/jrtppi.2023.v14.no2.p10-22

Ong S.K. 2018. Wastewater engineering – Chapter 12. In Handbook of Environmental Engineering. John Wiley & Sons Publishing, Hoboken, New Jersey.

Rehman A., Ayub N., Naz I., Perveen I., Ahmed S. 2020. Effect of hydraulic retention time (HRT) on the performance of a pilot-scale trickling filter system treating low-strength domestic wastewater. Polish Journal of Environmental Studies, 29 (1), 249–259. https://doi.org/10.15244/pjoes/98998

Rondhi M., Nugroho H., Soetrino S., Mori Y. 2024. Segmented market of Indonesian coffee exports to international market: RFM approach. Journal of Coffee and Sustainability, 1 (2), 79–84. https://doi.org/10.21776/ub.jcs.2024.01.02.05

Seidmohammadi A., Asgari G., Rahmani A., Ghelichi F. 2021. Performance of direct filtration with multi-media filters for reuse of wastewater treatment plant effluent: a case study. Desalination and Water Treatment, 229, 31–39. https://doi.org/10.5004/dwt.2021.27388

Sengupta S., Nawaz T., Beaudry J. 2015. Nitrogen and phosphorus recovery from wastewater. Current Pollution Reports, 1, 155–166. https://doi.org/10.1007/s40726-015-0013-1

Sheng L., Zhang Y., Tang F., Liu S. 2018. Mesoporous/microporous silica materials: preparation from natural sands and highly efficient fixed-bed adsorption of methylene blue in wastewater. Microporous and Mesoporous Materials, 257, 9–18. https://doi.org/10.1016/j.micromeso.2017.08.023

Syifahati T., Triska A., Nahar J. 2021. Forecasting the Indonesian coffee production and consumption using the modified golden section search to estimate the smoothing parameters. Journal of Integrative Mathematics, 19 (1). https://doi.org/10.24198/jmi.v19.n1.44573.41-54

Warmadewanthi I., Larasati A. 2020. The effect of SiO₂ on phosphate and ammonium recovery from fertilizer wastewater. Research on Chemical Intermediates, 46, 4781–4791. https://doi.org/10.1007/s11164-020-04248-y

Xia Z., Cai W., Zhang J., Sun W., Jiang Z., Li Y., Ao Z., Chen H., Liu G., Qi L., Wang H. 2023. Optimization on structure and operation parameters of biofilter for decentralized sewage treatment. Environmental Research, 219, 115004. https://doi.org/10.1016/j.envres.2022.115004

Yahya H., Rahman A., Izarna S.R., Aida N. 2023. The simple filtration unit in reducing parameters of restaurant wastewater. IOP Conference Series: Earth and Environmental Science, 1263, 012053. https://doi.org10.1088/1755-1315/1263/1/012053

Yaseen Z.M., Zigale T.T., Kumar D.R., Sinan Q., Salih, Awasthi S., Tung T.M., Al-Ansari N., Bhagat S.K. 2019. Laundry wastewater treatment using a combination of sand filter, bio-char and teff straw media. Scientific Reports, 9 (18709). https://doi.org/10.1038/s41598-019-54888-3

Zuhdi F., Asshagab S.M., Rambe K.R., Destiarni R.P. 2024. The competitiveness and export performance of Indonesian coffee in the organization of Islamic cooperation (OIC). Integrated Journal of Business and Economics, 8 (3). http://dx.doi.org/10.33019/ijbe.v8i3.939