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ABSTRAK
Air limpasan dari kegiatan tambang batu bara mengandung padatan tersuspensi tinggi, logam berat, serta senyawa terlarut yang dapat mencemari lingkungan. Proses pengolahan limbah cair dari air limpasan tambang batu bara menghasilkan lumpur dalam jumlah besar yang sulit dipisahkan karena karakteristiknya yang koloidal, sehingga memiliki filterability yang rendah. Ozon, sebagai agen oksidator kuat, digunakan dalam penelitian ini untuk meningkatkan sludge filterability melalui proses oksidasi yang dapat membantu destabilisasi partikel koloid dan membentuk flok yang lebih kompak dan stabil sehingga lebih mudah disaring. Penelitian ini bertujuan untuk menganalisis pengaruh variasi dosis ozon terhadap sludge filterability dari lumpur air limpasan tambang batu bara. Parameter utama yang diamati adalah kekeruhan hasil filtrasi dan waktu filtrasi, serta didukung oleh data pH dan Oxidation-Reduction Potential (ORP) selama proses ozonisasi dan filtrasi. Penelitian ini merupakan eksperimen laboratorium menggunakan ozon generator berkapasitas 3 g/jam. Dosis ozon divariasikan dengan mengatur volume sampel, sehingga dihasilkan dosis ozon sebesar 0; 6; 3; 2; 1,5; dan 1,2 (g/j)/L, dengan waktu kontak ozonisasi selama 60 menit. Lima variasi kadar TSS direkayasa mulai dari 3.000 hingga 50.000 mg/L untuk merepresentasikan kondisi lumpur air limpasan yang berbeda-beda. Pengukuran pH dan ORP dilakukan selama rangkaian proses ozonisasi dan filtrasi, sedangkan sludge filterability diuji melalui filtrasi vakum. Hasil menunjukkan bahwa variasi dosis ozon menyebabkan perubahan nilai ORP dan pH yang berkontribusi terhadap pergeseran zeta potensial menuju nilai netral serta mengakibatkan destabilisasi partikel dalam sistem. Hal ini meningkatkan kinerja sludge filterability. Dosis optimum ozon ditemukan pada 1,2 (g/j)/L pada kadar TSS 10.000 mg/L, yang efektif menurunkan nilai kekeruhan hasil filtrasi dan waktu filtrasi masing-masing sebesar 86,87% dan 34,53%. Lebih lanjut, nilai pH relatif stabil selama proses, sedangkan nilai ORP menunjukkan bahwa sistem berada dalam kondisi oksidatif yang tidak berlebihan. Dengan demikian, ozonisasi terbukti efektif sebagai perlakuan pada lumpur air limpasan tambang batu bara dalam meningkatkan sludge filterability.
Kata kunci: Ozonisasi, Sludge Filterability, Air Limpasan Tambang, Dosis Optimum, pH dan ORP
ABSTRACT
Coal mining runoff typically contains elevated suspended solids and persistent colloidal matter that hinder solid–liquid separation and result in poor sludge filterability. This study investigates the role of ozonation as a pre-treatment strategy to enhance the filterability of coal mine runoff sludge by modifying colloidal stability and promoting the formation of more compact flocs. Laboratory-scale experiments were conducted using an ozone generator (3 g h⁻¹) with ozone doses adjusted to 0, 1.2, 1.5, 2, 3, and 6 g h⁻¹ L⁻¹ and applied for 60 minutes. Five synthetic sludge matrices with total suspended solids (TSS) ranging from 3,000 to 50,000 mg L⁻¹ were used to simulate the variability of field conditions. pH and oxidation–reduction potential (ORP) were monitored throughout ozonation and subsequent vacuum filtration to evaluate changes in water chemistry and oxidative conditions. Ozonation induced characteristic shifts in ORP and modest reductions in pH that collectively signaled partial oxidation and the destabilization of colloidal particles. Moderate ozone doses (1.2–3 g h⁻¹ L⁻¹) were most effective in shifting the system toward near-neutral zeta potential conditions, thereby enhancing floc compactness and improving filtration performance. In contrast, excessive oxidation at 6 g h⁻¹ L⁻¹ released humic fragments and fine colloids, impairing dewaterability. The optimum performance was achieved at an ozone dose of 1.2 g h⁻¹ L⁻¹ for sludge containing approximately 10,000 mg L⁻¹ TSS, achieving an 86.87% reduction in filtrate turbidity and a 34.53% decrease in filtration time while maintaining pH stability and achieving a moderate increase in ORP. These findings demonstrate that controlled ozonation can significantly improve filterability by balancing oxidative fragmentation and floc restructuring. When appropriately dosed, ozone serves as an effective pre-treatment for enhancing solid–liquid separation in coal mining runoff sludge and offers a promising pathway to more efficient and sustainable wastewater management in the mining sector. 
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1. INTRODUCTION
Mining activities are a strategic sector in global economic development. According to the World Mining Data report (2023), global mineral production reaches more than 17 billion tons per year, encompassing primary commodities such as coal, metal ores, and other industrial minerals. This sector plays a crucial role in providing raw materials for the energy, construction, and technology industries, thus supporting infrastructure progress and global industrialization. On the other hand, mining activities also have a serious impact on the environment, particularly through the generation of large amounts of waste that pollutes land, air, and water.
Coal mining is a strategic sector in Indonesia's economic development. As the world's third-largest coal producer after China and India, Indonesia recorded coal production of 687 and 775.2 million tons in 2022 and 2023, respectively (Ministry of Energy and Mineral Resources, 2024). This sector's contribution to Indonesia's Gross Domestic Product (GDP) reached more than 9% in 2022 (Badan Pusat Statistik, 2023). Despite its role in meeting national energy needs and exports, mining activities also have environmental impacts.
Coal mining activities naturally produce various wastes, including solid waste in the form of overburden and tailings, gaseous waste in the form of dust and greenhouse gases, and liquid waste. One of the most common forms of liquid waste is mine runoff, a surface flow generated by rainfall that hits open mining areas. Rainwater dissolves material from open mining areas, carrying sediment, heavy metals, and dissolved chemicals from the mining process, which can pollute the environment if not managed properly (Bian et al., 2010). Coal mine runoff generally contains contaminants such as Total Suspended Solids (TSS) at concentrations that can exceed 1000 mg/L, heavy metals such as Fe up to 50 mg/L, heavy metals such as Mn 10-15 mg/L, and low pH, depending on the rock characteristics and hydrological conditions of the mining area (O'Sullivan, 2005). If this waste is not properly treated, it will certainly cause water pollution, eutrophication, and the death of aquatic life. Humans will also suffer from skin irritation, kidney damage, and digestive problems due to consuming water contaminated with mining wastewater, especially heavy metals.
Most mining companies have implemented runoff water treatment systems, either actively using chemicals to neutralize and precipitate heavy metals, or passively using settling ponds, constructed wetlands, or vegetative systems. However, these treatment processes generally produce large amounts of sludge, which is often difficult to treat. This sludge is sticky, contains fine colloidal particles, and has a high water content, making the dewatering process inefficient and expensive (Madzivire et al., 2011). Consequently, poorly managed sludge can cause secondary pollution, increase storage space requirements, and increase mining companies' operational costs.
The sludge produced by mine runoff treatment, with these characteristics, presents unique challenges in the dewatering process, or the separation of water from the sludge. Inefficient dewatering will increase waste volume, increase management costs, and pose a risk of further pollution. The main problem in sludge management is low filterability, namely the ability of the sludge to be filtered and separated from water. Low filterability is caused by the high stability of the colloidal system in the sludge, which prevents particles from aggregating and forming large, easily settleable flocs. Technical parameters directly related to this phenomenon are pH and Oxidation Reduction Potential (ORP), which affect zeta potential. Zeta potential reflects the electrical charge on the particle surface, where values approaching zero indicate decreased colloidal stability, making particles more likely to clump and settle (Yu et al., 2019).
To address this problem, most mining companies typically employ a sludge conditioning process aimed at increasing the efficiency of solids and water separation. One commonly used method is coagulation-flocculation, using a combination of chemicals such as FeCl₃ and polyacrylamide (PAM). Research by Zhai et al. (2012) showed that the optimal dosage of FeCl₃ and PAM was able to reduce the Specific Resistance to Filtration (SRF) by more than 90%, indicating a significant improvement in dewatering performance. Furthermore, the approach of using fly ash as a conditioning agent was also proven effective. 
A study by Lee et al. (2010) reported that the addition of fly ash up to 50% dry weight can reduce the sludge water content from 80% to 29%, as well as reduce the filtration resistance from 2.9×10¹⁴ to 2.9×10¹³ kg/m. Another study by Liu et al. (2014) also showed that the addition of 20–30 g of fly ash per 100 mL of sludge reduced the specific resistance from 10¹³ to 10¹⁰ m/kg, thereby significantly increasing the sludge filtration rate. On the other hand, physical approaches such as thermal conditioning also provide promising results. Meanwhile, Han et al. (2016) showed that the combination of FeCl₃ and steel slag at a temperature of 52°C can reduce the Capillary Suction Time (CST) value to 7.8 seconds, as well as improve the floc structure based on SEM observations. While these various methods are effective in improving dewaterability, each has limitations: the use of chemicals increases secondary sludge production, fly ash increases the volume of solid residue, and thermal conditioning requires high energy consumption. Therefore, exploration of alternative technologies that are more technically efficient, economically feasible, and environmentally sustainable for sludge conditioning prior to dewatering is still needed.
One promising method is ozonation, which uses ozone as a strong oxidizing agent in the sludge conditioning process. Ozone has an oxidation-reduction potential (ORP) of +2.07 V, making it one of the most reactive oxidizers used in water and wastewater treatment. Ozone works by attacking organic bonds and disrupting the polymeric structure of sludge components, increasing the tendency of particles to flocculate and separate from water (Gottschalk et al., 2009).
Technically, ozonation can affect critical parameters related to colloidal stability, namely pH and ORP. According to a study by Yu et al. (2019), ozonation lowers pH by producing organic acids, such as carboxylic acids, from the oxidation of organic compounds. A decrease in pH combined with an increase in ORP creates chemical conditions that favor colloid destabilization. This results in the zeta potential approaching zero, favoring the formation of larger, denser, and more easily separated flocs. Thus, ozone functions not only as an oxidizing agent but also as a trigger for changes in the chemical environment that directly contribute to increased sludge filterability.
Various studies have shown that ozonation is effective in improving sludge dewatering performance, particularly for domestic and industrial wastewater sludge. Furthermore, ozone offers several advantages over conventional chemicals. Unlike heavy metal coagulants, which can produce secondary sludge and leave harmful residues, ozone naturally decomposes into oxygen after reaction, thus not adding new pollutant loads to the system (Gunten, 2003). Furthermore, ozone is produced on-site through an ozone generator, eliminating the need for transportation and storage of hazardous or corrosive chemicals. From a sustainability perspective, ozonation technology aligns with the principles of green chemistry and supports the transition to sustainable mining, which is increasingly becoming a focus within environmental regulatory frameworks in many countries, including Indonesia.
However, most research related to ozonation is still limited to the treatment of domestic wastewater, textile wastewater, and food industry wastewater. Studies on the application of ozone to sludge from coal mine runoff treatment, particularly in Indonesia, are still very rare. This is despite the fact that the characteristics of mine sludge differ significantly from domestic wastewater, including lower pH and heavy metal content. Therefore, an in-depth scientific study is needed to test the effectiveness of ozonation in the context of mine runoff sludge, particularly regarding changes in pH and ORP parameters, and their correlation with increased sludge filterability.
Considering the potential of ozonation and the need for more environmentally friendly solutions in mine sludge management, this study aims to evaluate the effect of varying ozone dosage on the sludge filterability of coal mine runoff sludge. The focus of the study is to analyze changes in pH and ORP values as key indicators of the mechanism of colloid destabilization and increased dewaterability. The results of this study are expected to make a significant scientific contribution to the development of effective mine wastewater treatment technologies.

2. METHODOLOGY
This research’s methodology is illustrated in Figure 1.
[image: ]
[bookmark: _Ref228405274]Figure 1. Schematic Method of This Study
3. RESULTS AND DISCUSSION
3.1. Characteristics of Coal Mine Runoff Water Samples
Mine runoff is a type of wastewater with complex physical and chemical characteristics. Runoff is surface flow caused by rainfall or water flowing over mining areas. The runoff sludge samples used in this study came from a mine site in Kalimantan and were sent to the laboratory of the Department of Civil and Environmental Engineering, Gadjah Mada University, for further analysis.
Prior to ozonation treatment, several basic water quality parameters were measured to determine the sample's initial condition. These parameters included pH, TSS, and ORP. These measurement results served as the basis for designing further treatment and as a reference for evaluating the effectiveness of the ozonation process on the physical characteristics of the runoff sludge. The received runoff samples, coded as D, E, F, and G, came from Slurry Pump A, Slurry Pump B, Dragflow D2, and Dragflow RTM, respectively. The initial measurement data for the runoff samples are presented in Table 1.
Based on Table 1, the coal mine runoff samples coded D, E, F, and G represent four sample groups that have been diluted with tap water. The pH and ORP values were obtained from the average of seven sample variations: D1-D7, E1-E7, F1-F7, and G1-G7. Furthermore, the TSS value is the average of three repeated measurements for each group without dividing the sample variations. In this case, all samples had pH values within the quality standard range, namely 6-9. The average values for samples D and E were slightly acidic, at 6.1 and 6.05, respectively. Samples F and G were closer to neutral to slightly alkaline, at 7.12 and 7.31, respectively. This indicates variations in chemical conditions at the runoff intake locations.
Meanwhile, the TSS values for all samples far exceeded the quality standard of 400 mg/L. The average TSS levels for samples D and E were 86,540 mg/L and 88,233 mg/L, respectively, while those for F and G reached 123,087 mg/L and 533,100 mg/L. These very high TSS levels indicate that runoff from the mining area carries a large suspended solids load, potentially complicating further treatment and impacting the quality of the receiving water body if not properly managed. The differences between samples also reinforce the rationale for TSS engineering in this study, to achieve more controlled variations in sludge concentration for ozonation treatment.
The average ORP values measured across the four samples ranged from 279.48 mV to 311.86 mV, with the highest value in sample E and the lowest in sample G. The ORP was in the positive range, indicating moderate oxidative activity. This ORP value serves as a benchmark for assessing changes in oxidation levels after ozonation treatment.
Then, to obtain controlled variations in TSS levels in the study, a TSS concentration engineering process was carried out using the dilution method. The runoff water samples were diluted with tap water using a V2:V1 ratio of 10:1, namely 1 part of the original sample mixed with 9 parts of tap water to produce five new sample groups, namely M1, M2, M3, M4, and M5. The TSS target for each sample was determined as follows.
Table 2 shows the characteristics of the TSS-treatment samples. All samples remained within the pH standard, with a tendency for the pH to increase as the TSS concentration decreased. The initial ORP values ​​varied but remained within the positive range, reflecting the oxidative conditions prior to ozonation.

[bookmark: _Ref228202805]Table 1. Initial Characteristics of Coal Mine Runoff Samples
	Runoff 
Sample
	TSS (mg/L)
	pH
	ORP (mV)

	
	Quality Standard
	Test Result
	Quality Standard
	Test Result
	Quality Standard
	Test Result

	D
	400
	86,540
	6 – 9
	6.11
	*
	308.62

	E
	400
	88,233
	6 – 9
	6.05
	*
	311.86

	F
	400
	123,087
	6 – 9
	7.12
	*
	285.48

	G
	400
	533,100
	6 – 9
	7.31
	*
	279.48



[bookmark: _Ref228202774]Table 2. Characteristics of Runoff Water Samples After TSS Treatment
	[bookmark: _Hlk202229519]Runoff 
Sample
	TSS (mg/L)
	pH
	ORP (mV)

	
	Quality Standard
	Test Result
	Quality Standard
	Test Result
	Quality Standard
	Test Result

	M1
	400
	50,000
	6 – 9
	7.60
	*
	260.67

	M2
	400
	30,000
	6 – 9
	7.78
	*
	334.00

	M3
	400
	20,000
	6 – 9
	7.26
	*
	263.67

	M4
	400
	10,000
	6 – 9
	7.52
	*
	340.00

	M5
	400
	3,000
	6 – 9
	8.23
	*
	321.00



The ozone dose variation in this study was engineered by adjusting the sample volume to be ozone-treated, while the ozone injection rate from the generator was maintained at a constant 3 grams per hour. This approach is based on the principle that ozone dose is a critical parameter describing the amount of ozone (oxidizing agent load) delivered to the system per unit time and per unit solution volume. The ozone dose (g/h/L) is highly dependent on two main variables: the ozone production rate and the sample volume.
By maintaining a constant ozone injection rate, adjusting the sample volume directly changes the ozone concentration received per unit volume of water. A smaller sample volume causes the ozone produced over an hour to accumulate in a smaller reaction chamber, resulting in a higher ozone dose. This is the basis for adjusting the ozone dose variation through solution volume manipulation. The ozone dose concentration variation is shown in Table 3.
Table 3. Variation of Ozone Dose Concentration
	[bookmark: _Hlk202232674]Sample Volume (L)
	Ozone Rate (g/h)
	Ozone Dose (g/h/L)

	Blank
	0
	0

	0.5
	3
	6

	1.0
	3
	3

	1.5
	3
	2

	2.0
	3
	1.5

	2.5
	3
	1.2


The ozone dosage variations used in this study ranged from low to high to identify the optimum dosage that provided the best performance in the solid-liquid separation process. Previous research has shown that excessively high ozone dosages can cause over-oxidation, which actually worsens floc quality and slows down the filtration process (G. Erden and A. Filibeli, 2010).

3.2. ORP Change Profile During the Ozonation Process Series
Oxidation-Reduction Potential (ORP) is an important indicator that reflects the redox state within a system and can be used as an indirect proxy for the presence of dissolved ozone and the dynamics of oxidation reactions during wastewater treatment. In this study, ORP was monitored continuously for 60 minutes at two-second intervals to fully capture the dynamics of the ozonation reaction occurring in the coal mine runoff sludge system. This duration was chosen because the ozonation reaction is not linear and consists of several interrelated kinetic stages, including a rapid reaction phase, a decline and stabilization phase, and a final oxidant accumulation phase. By monitoring ORP for an hour, these change patterns can be mapped in detail, revealing when ozone is actively adsorbed by contaminants, when the system begins to stabilize, and when ozone begins to accumulate.
Changes in ORP values within the system are also closely related to particle destabilization in the sludge, a prerequisite for improving sludge filterability. Ozone, as a strong oxidizing agent, has the ability to alter the surface charge of suspended particles, break down colloidal organic compounds, and deconstruct polymeric compounds that maintain suspension stability. This process will cause a decrease in the zeta potential and weaken the repulsive forces between particles, thus encouraging clumping. Figure 2 displays a graph of changes in ORP values during the ozonation process.
A closer look at graphs M1–M5 (Figure 2) reveals a spike in ORP values within the first 0–60 seconds after ozone injection, even though the initial ORP value was already in an oxidative state. This initial spike is likely due to ozone's high reactivity as a strong oxidizing agent, rapidly reacting with reduced compounds in water (Gottschalk et al., 2009). This rapid oxidation reaction produces a spike in ORP due to the release of electrons from the reduced substance to the oxidizing agent, thereby strengthening the redox state of the system. This reflects the initial characteristics of the ozonation process, which is highly reactive to easily oxidized contaminants.
The ORP spike indicates that ozone can cause a rise in ORP values within seconds when reacting with reduced metal ions or simple organic compounds. This increase occurs before ozone decomposes or reacts further with complex contaminant compounds. Ozone, with a redox potential of +2.07 V, tends to react readily with reductive wastewater components, resulting in a rapid and significant ORP response.


Final ORP Increase Phase
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Rapid ORP Decline Phase
Initial ORP Surge Phase
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(e)
[bookmark: _Ref228420998][bookmark: _Ref228203776]Figure 2. ORP Variation Profile During the Ozonation Process for Samples (a) M1, (b) M2, (c) M3, (d) M4, and (e) M5

After the initial spike, the ORP values across all samples tended to decrease and then entered a stable phase. This decrease was caused by two main factors. First, ozone was consumed by contaminants in the system. Oxidation reactions proceed intensively and form oxidation products, especially in the initial phase, when pollutants such as metals and organic compounds are still quite high. Second, there was a decrease in system reactivity. After easily oxidized contaminants were depleted, only more stable compounds, or flocs, that are less reactive to ozone, remained. This phase, as explained by Gottschalk et al. (2009), is referred to as the redox steady-state phase, when ozone enters the system and reacts immediately, preventing ozone accumulation in the liquid phase.
The increase in ORP values again at the end of the ozonation phase indicates that some ozone is no longer consumed by pollutants because the pollutant load has decreased. The accumulation of ozone in the liquid phase causes the ORP value to gradually increase, eventually becoming significant. Gottschalk et al. (2009) emphasized that in semi-batch systems, such as the one in this study, the increase in ORP that occurs at the end of the process often reflects the accumulation of unreacted ozone, especially when the ratio between ozone dose and pollutant mass is too high. This finding is further supported by the findings of Beltran (2003), who stated that in wastewater with low TSS content, ozone is more difficult to consume efficiently, resulting in its accumulation in the system, causing the ORP value to increase.
As shown in the Figure 2(a), the initial ozonation process in sample M1 showed a sharp decrease in ORP after an initial spike at all doses in the range of 296-332 mV, reaching 230-253 mV. Then, at 500-1000 seconds, a stable phase occurred for all doses in sample M1. After passing through the stable phase, the ORP graph for sample M1 at ozone doses of 6 and 3 g/h/L increased to 374 and 261 mV, respectively. Ozone doses of 2-1.2 g/h/L showed a slow and low increase in ORP.
The ORP graph for sample M2 (Figure 2 (b)) shows a sharp decline in all curves, with initial values ranging from 275-332 mV to 234-250 mV. After reaching a low point, the curves for each ozone dose stabilized between 500-1500 mV. Between 1500-3600 mV, the ORP increased, varying between ozone doses. The ozone dose of 6 g/h/L showed the sharpest increase in ORP, reaching 407 mV. Meanwhile, ozone doses of 3-1.2 g/h/L produced a relatively slow increase in ORP, resulting in a low final value.
Furthermore, the ORP graph for sample M3 (Figure 2 (c)) also exhibited a similar curve pattern, with a fairly sharp decline. Initial ORP values ranged from 249-311 mV, dropping to 224-255 mV. After reaching a low point, the ORP values tended to stabilize between 500-1500 mV. Entering the final phase of ozonation, which saw an increase in ORP values, the ozone dose of 6 g/h/L showed the highest increase, reaching 469 mV. Ozone doses of 3-1.2 g/h/L showed a slow and low increase in ORP.
Sample M4 (Figure 2 (d)) then showed an ORP graph with a curve showing a decrease in ORP values from 193-321 mV to 241-259 mV. After reaching its lowest point, the entire curve entered a stable phase between 250-1500 seconds, during which the ORP values changed very slowly. The duration of this stable phase was relatively uniform across all ozone dose variations. Entering the final phase of ozonation, between 1500-3600 seconds, the ORP values showed a striking difference between the ozone doses. The ozone dose of 6 g/h/L, the highest dose, experienced a drastic increase in ORP values between 1500-3600 seconds, reaching 582 mV. While the ozone dose of 3-1.2 g/h/L indicates the ORP increase was much slower and lower.
Furthermore, sample M5 (Figure 2 (e)) exhibited a similar pattern on the ORP graph, with the curve showing a decrease in ORP values from 292-312 mV down to a range of 253-281 mV over 0-800 seconds, depending on the ozone dose. The steady-state phase in sample M5 was also very short, with varying durations depending on the ozone dose. After reaching a minimum, the graph showed a very sharp increase in ORP compared to the previous samples. The increase in ORP began to appear from 250-800 seconds and continued to increase until the end of ozonation. The highest ozone dose resulted in the highest ORP spike, reaching 712 mV. Ozone doses of 3 and 2 g/h/L also showed a fairly sharp increase in ORP, reaching 688 and 658 mV, respectively. This also indicates that despite the lower ozone concentration compared to the 6 g/h/L dose, the oxidation value was still high due to the relatively light pollutant load in the system in sample M5. Furthermore, at ozone doses of 1.5 and 1.2 g/h/L, the ORP increased sharply but gradually, reaching maximum values of 543 and 286 mV, respectively. These ORP values are equivalent to or higher than the ORP values in samples M1-M4 at the highest ozone dose of 6 g/h/L.
Furthermore, the phenomena observed in graphs M1-M5 align with the principles of ozonation reaction kinetics in heterogeneous systems. As explained by Gottschalk et al. (2009), in wastewater ozonation, the ozone concentration in the liquid phase can increase over time if the target compound is depleted or the reaction proceeds more slowly. This causes an increase in ORP values as ozone begins to dominate the reaction system. Furthermore, Gottschalk et al. (2009) also emphasized that in semi-batch experiments, the increase in ORP often reflects the accumulation of ozone not consumed by the pollutant load, especially when the ratio of ozone dose to pollutant mass is too large. Therefore, understanding the ORP profile is crucial in evaluating the ozonation process.
Overall, the data shows that the combination of an ozone dose of 6 g/h/L and samples with a low pollutant load, namely TSS ± 3,000 mg/L, produces a highly oxidative environment, resulting in ORP values reaching 712 mV. Conversely, in samples with a high TSS load, more ozone is consumed by the initial oxidation reaction, limiting ozone accumulation and ORP increase. Therefore, selecting the appropriate ozone dose relative to the pollutant load is key to optimizing the oxidation process.

3.3. Changes in ORP During the Filtration Process Series
After the ozonation process is complete, the wastewater is not immediately discharged but instead flows through a filtration stage to separate suspended particles and floc formed during the oxidation process. To understand the dynamics of the post-ozonation redox system, ORP measurements were performed before and after the filtration process using a vacuum pump filter with 10-micron filter paper. This observation aims to evaluate how the separation of the solids fraction affects the stability of the oxidative environment in the liquid phase.
The ORP value before filtration reflects the total redox state of the system, including contributions from dissolved ozone, oxidation products, and reduced compounds that have not been fully eliminated. During the filtration process, particles, including floc containing organic compounds, heavy metals, and residual active oxidants, will separate from the liquid phase. This can result in two scenarios for changes in ORP. First, if the filtered suspended particles contain a high concentration of oxidizing compounds or active reactants, the post-filtration ORP may decrease because most of the redox contributors have been removed from the system. Conversely, if filtration successfully removes reduced contaminants that consume ozone, the remaining dissolved ozone will dominate the system and cause an increase in ORP (Gottschalk et al., 2009).
Research by Beltran (2003) also shows that filtration after ozonation can significantly alter the system's redox profile, depending on the contaminant composition and floc characteristics. Environments with low TSS loads tend to retain greater amounts of active ozone after filtration, resulting in an increase in ORP. Therefore, monitoring ORP values before and after filtration is useful not only as an indicator of the success of the solids separation process but also as an evaluation parameter for the remaining oxidative potential in the system. Figure 3 presents changes in ORP values across all samples and treatment doses, comparing conditions before and after the filtration process. The ORP values before filtration in this graph are taken from the ORP mode values during the final phase of the ozonation process.
	
	

	(a)
	(b)

	
	

	(c)
	(d)

	

	(e)

	[bookmark: _Ref228421193]Figure 3. ORP Variations throughout the Filtration Process for Samples (a) M1, (b) M2, (c) M3, (d) M4, and (e) M5


[bookmark: _Ref228204757]Based on the bar chart (Figure 3), the ORP values of samples without ozone treatment (control) generally decreased after the filtration process. In samples M1, M2, M3, M4, and M5, the ORP values decreased by 60.33 mV; 47.33 mV; 61.33 mV; 43.33 mV; and 35.67 mV, respectively. This decrease was due to the dominance of reduced compounds that were not oxidized, as well as the loss of oxidative compounds during the filtration process. Conversely, in samples treated with ozone, the ORP values tended to increase after the filtration process.  This contrasts with samples without ozone treatment (control),


3.4. pH Changes During the Ozonation and Filtration Process Series
pH is a fundamental parameter in evaluating changes in the chemical characteristics of water during the ozonation process. The pH value not only indicates the acidity or alkalinity of the solution but also directly influences the ozone reaction pathway in the water. Therefore, pH measurements are performed at three crucial time points: before ozonation to determine the initial condition of the wastewater, after ozonation to assess the results of oxidative reactions, and after filtration to observe changes following solids separation.
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	[bookmark: _Ref228421277][bookmark: _Ref228207936]Figure 4. The pH Variation Profile throughout the Series of Ozonation and Filtration Processes for Sample (a) M1, (b) M2, (c) M3, (d) M4, and (e) M5




[bookmark: _Hlk202231125]In general, ozone is more stable and reacts as an intact molecule at low to neutral pH. Under these conditions, ozone acts as a selective oxidizer and tends to attack reduced compounds such as metal ions and certain organic compounds. However, when the system pH increases to alkaline conditions above pH 8, ozone can decompose into hydroxyl radicals, reactive species with a much stronger oxidizing potential than ozone itself but are not as selective. This means that hydroxyl radicals can attack almost any type of organic or inorganic compound in water, including those that should not be oxidized. Therefore, their use must be carefully considered to avoid excessive degradation or the formation of undesirable byproducts (Gottschalk et al., 2009). 
In the context of mining wastewater, a decrease in pH during ozonation is actually normal. This decrease occurs because the ozone oxidation reaction of contaminants often produces acidic products such as carboxylic acids, acetic acid, or dissolved carbon dioxide, which forms carbonic acid. Therefore, the higher the ozone dose and the more contaminants successfully oxidized, the greater the likelihood of a decrease in pH in the system. This finding is supported by Beltran (2003), who stated that the ozonation process of humic compounds also produces mild acidic compounds. Figure 4 shows the pH changes during the ozonation and filtration process.
Based on Figure 4, changes in pH values ​​before and after the ozonation process in the five samples, a consistent pattern is seen that the administration of ozone at a high dose of 6 g/h/L tends to reduce the pH value more than the lower dose, in each sample the initial pH value ranged from 7.5 to 8.1 but after ozonation at a dose of 6 g/h/L there was a decrease to reach a pH range of 4.33-5.45. This decrease is in line with the findings of Gottschalk et al. (2009) who explained that the reaction of ozone with organic compounds in wastewater produces carboxylic acids and other acidic compounds. This condition occurs due to intensive oxidation reactions, especially at high ozone doses which accelerate the formation of acidic byproducts. Zhang et al. (2009) also noted that ozonation of sludge can reduce pH by 0.5–0.7 due to increased dissolved compounds, while Ferrari et al. (2020) showed a decrease in pH of more than two units due to increased dissolved metals and disintegration of particle structures. Thus, the results of this study confirm that excessively high ozone doses can cause a drastic decrease in pH, which can affect colloidal stability and sludge treatment efficiency.
Conversely, at lower ozone doses, namely 3-1.2 g/h/L, the pH value tends to stabilize and remains close to the initial value before treatment. This is because, at lower ozone doses, the buffer system in the runoff water tends to neutralize the effects of acidity, keeping the pH within the neutral range. This is crucial for maintaining an optimal reaction environment, particularly in the context of floc formation and filtration processes.
Changes in pH during the ozonation process not only reflect the dynamics of chemical reactions but also play a significant role in influencing the surface charge of particles through the zeta potential mechanism. Suspended particles in wastewater generally have a negative charge due to the dissociation of functional groups such as hydroxyl and carboxylate. At high (alkaline) pH conditions, these groups dissociate further, increasing the negative charge on the particle surface. Consequently, electrostatic repulsion between particles occurs, resulting in a stable suspension that is difficult to coagulate. Conversely, when the pH decreases toward neutral or acidic, the hydrogen ions in the solution begin to neutralize the negative charge, weakening the repulsive forces. This condition causes the particles to become electrostatically unstable and tend to approach each other, forming flocs. This process is called particle destabilization, the initial stage of the formation of larger, denser aggregates or flocs that are easily separated through filtration.
After the filtration stage, the pH values ​​of all samples returned to near neutrality, with an initial range of 7.52–8.15 and after filtration 6.66–8.45. All values ​​are within the pH standard range of 6–9. This phenomenon indicates that most of the acidic compounds resulting from ozonation were likely adsorbed or trapped in suspended solids and then filtered out during the filtration process. This is in line with the principle that acidic compounds resulting from oxidation, such as humic acid or lower fatty acids, can bind to the surface of suspended particles through charge interactions or hydrogen bonds, and are eliminated during the filtration process.

3.5. Effect of Ozone Dose on Sludge Filterability
Sludge filterability is a crucial parameter in evaluating the ease of separating sludge solids from water through filtration and directly impacts the efficiency of the sludge dewatering process. In wastewater treatment systems, sludge dewatering is a crucial step in reducing sludge volume by removing as much water as possible, making the sludge easier to handle, transport, or dispose of. Good filterability means the sludge can be filtered more quickly and produces a clear filtrate, indicating a stable and easily separated floc structure. Therefore, in this study, sludge filterability is defined through two main parameters: filtrate turbidity and filtration time. Both were chosen because they represent the efficiency of water separation from solids on a laboratory scale, relevant to field dewatering practices.
In this context, ozonation acts as a pretreatment that can improve filterability through the oxidation process of particle surfaces and organic compounds. The reaction of ozone with reduced compounds or colloids can cause a decrease in zeta potential, making particles more likely to flocculate. However, excessively high ozone doses can break down flocs into fine particles or produce dissolved materials that are difficult to filter, thus reducing dewatering performance. Therefore, evaluating sludge filterability through filtration time and filtrate turbidity in this study is not only relevant in the laboratory but also reflects the potential dewatering performance in the field.

3.5.1. Effect of Ozone Dose on Reducing Turbidity Levels
Turbidity is a crucial parameter in assessing the effectiveness of solid-liquid separation processes, particularly in the treatment of wastewater with high suspended solids content, such as coal mine runoff. The turbidity of the filtration results also indicates the extent to which fine particles or colloidal compounds were retained during the filtration process. A clear filtrate indicates that the flocs are large and dense enough to be retained by the filter media, while a cloudy filtrate indicates that fine particles escaped due to poor floc destabilization or breakup. In this study, the effect of varying ozone dosage on post-filtration turbidity was tested across all samples and is presented in Figure 5.
The horizontal axis shows the variation in ozone dosage, while the vertical axis shows the turbidity values ​​of the filtrates after ozonation and filtration. The blue bars in each graph represent the average turbidity values ​​for each ozone dosage treatment. The lower the blue bar, the clearer the filtrate, indicating good filterability. Additionally, each graph features a red horizontal line indicating the turbidity value of the control sample, the sample without ozone treatment. If the height of the blue bar is below the red line, the ozone treatment successfully reduced turbidity compared to the control, indicating improved sludge filterability.
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Based on the graph at Figure 5 and the results of the single-factor ANOVA test in the appendix, there is a significant effect between ozone dose and the turbidity level of the filtrate in all samples M1 to M5. The P-value was <0.05 for each sample, all of which were far below the 0.05 significance level. This indicates that variations in ozone dose significantly affected changes in the turbidity of the sludge filtration.
In sample M1 (Figure 5 (a)), the optimum dose was found at 3 g/h/L, with the lowest turbidity of 35.19 NTU, compared to an initial value of 109.11 NTU. However, at a dose of 6 g/h/L, the turbidity level exceeded 3 g/h/L, reaching 57.95 NTU. This indicates over-oxidation, which could potentially release dissolved organic compounds (G. Erden and A. Filibeli, 2010). A similar thing happened in sample M2 (Figure 5 (b)) with the best turbidity reduction at a dose of 3 g/h/L, namely 74.78 NTU from 375.11 NTU and increased again at a dose of 6 g/h/L. This over-oxidation effect was also increasingly evident in M3 (Figure 5 (c)), where the lowest dose of 1.2 g/h/L actually gave the best results with a value of 134.33 NTU from 592 NTU. Conversely, the ozone dose of 6 g/h/L which is the highest ozone dose produced quite high turbidity, namely 201.83 NTU. In samples M4 (Figure 5 (d)) and M5 (Figure 5 (e)), the same pattern was observed. Ozone doses of 3-1.2 g/h/L tended to be optimal. The ozone dose of 1.2 g/h/L in sample M4 produced the best turbidity reduction with a final value of 80.67 NTU from 563 NTU. Furthermore, an ozone dose of 3 g/h/L on sample M5 produced the best turbidity reduction results, achieving 90.89 NTU from 565.44 NTU.
Test results on the five engineered samples (M1–M5) with varying ozone doses of 6–1.2 g/h/L showed that the effect of ozone dose on sludge filtration capacity showed varying patterns depending on the initial TSS concentration of each sample. In general, an ozone dose of 3 g/h/L demonstrated optimal performance in reducing filtrate turbidity levels in most samples M1, M2, and M5, with turbidity values of 35.19 NTU, 74.78 NTU, and 90.89 NTU, respectively.
Excessively high doses (6 g/h/L) generally caused a rebound in turbidity levels, suspected to be due to over-oxidation, which breaks down flocs into fine, difficult-to-filter particles. Meanwhile, in some samples, such as M4 and M3, the best performance was achieved at low to moderate ozone doses of 1.2–2 g/h/L, indicating that ozonation effectiveness is significantly influenced by the solids load (TSS) and initial sludge characteristics.
These results support the findings of Demir & Filibeli (2012) and G. Erden and A. Filibeli (2010), who emphasized that ozonation is effective in improving sludge filterability, but must be administered at an optimum dose to avoid the negative effects of excessive oxidation. Therefore, an ozone dose of 3 g/h/L can be recommended as the starting point for sludge treatment with a TSS range of 3,000–50,000 mg/L, with additional evaluation for specific sludge conditions in the field.

3.5.2. Effect of Ozone Dose on Filtration Time
The filtration process is a crucial step in the separation of solids from liquids in sludge wastewater from coal mining operations. One of the performance indicators of this process is the time required to filter the sludge until a certain volume is reached, also known as the filtration time. In this context, ozonation is used as a pretreatment that aims to improve the filterability of the sludge by changing the floc structure, oxidizing organic compounds, and increasing redox activity. The filtration time is used to measure the resistance of liquid flow through the filter media, namely 10-micron filter paper. The shorter the time required to filter a certain volume, the lower the flow resistance, which means the floc structure does not clog the filter pores, and water can be separated more easily, thus indicating good dewatering performance. In this study, the effect of ozone dose variations on filtration time during the filtration process was specifically tested on samples M1, M2, M3, M4, and M5 with engineered TSS values. To illustrate this phenomenon in more detail, a graph of the filtration time of ozonized sludge at various ozone doses is presented and analyzed in the form of a bar chart. Figure 6 shows the effect of varying ozone doses on reducing filtration time.
The horizontal axis shows the variation in ozone dose, while the vertical axis shows the filtration time in seconds. The blue bars represent the average filtration time for each treatment. The shorter the blue bar, the faster the filtration process, indicating better sludge filterability. The horizontal red line shows the filtration time of the control sample (without ozone). If the blue bar is below the red line, ozonation has successfully increased filtration efficiency.
The experimental results showed that ozone dosage significantly affected sludge filtration time for samples M1, M4, and M5, with a P-value <0.05 (see appendix). In sample M1, ozone administration reduced filtration time from 1749 seconds to 1189 seconds at an optimum dose of 2 g/h/L. However, ozone dosages that were too high or too low actually increased filtration time, indicating over-oxidation or a lack of oxidative reactions. This phenomenon aligns with a study by Demir & Filibeli (2012), which stated that moderate doses of ozone are effective in increasing filterability, while overdoses risk releasing humic compounds that interfere with the filtration process.
Samples M2 and M3 showed a pattern of decreased filtration time, but this was not statistically significant with a P-value >0.05. However, the 2 g/h/L dose in sample M2 resulted in a filtration time of 647 seconds, compared to the 905 seconds for the untreated sample. In M3, the best reduction in time was achieved at a dose of 1.2 g/h/L, with a reduction of 394 seconds compared to the 441 seconds for the untreated sample. Excessively high ozone doses in both samples tended to increase filtration time, which is suspected to be caused by over-oxidation and the release of low-molecular organic compounds into the solution (G. Erden and A. Filibeli, 2014).
Sample M4 had the lowest filtration time at an ozone dose of 1.2 g/h/L, at 182 seconds, compared to the 281 seconds for the untreated sample. Even at an ozone dose of 6 g/h/L, the filtration time remained low, at 194 seconds. This indicates that at lower TSS concentrations, the potential for over-oxidation is minimal. Therefore, the initial characteristics of the sludge also determine the effectiveness of ozonation in increasing sludge filterability. In sample M5, the fastest filtration time was achieved at a dose of 1.2 g/h/L, reaching 86 seconds, compared to the 104 seconds achieved for the untreated sample. High ozone doses, such as 6 g/h/L, were also quite effective, producing a filtration time of 95 seconds. However, medium doses of 3-2 g/h/L showed higher filtration times than the others. This indicates that at low TSS levels, medium doses can actually worsen filtration due to suboptimal floc fragmentation.
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[bookmark: _Ref228211326]Figure 6. Effect of Ozone Dose on Sludge Filtration Time for Sample (a) M1, (b) M2, (c) M3, (d) M4, and (e) M5

Based on the analysis of sludge filtration times for each sample, it appears that the effectiveness of ozone doses in accelerating the filtration process varies depending on the initial TSS concentration. For samples M1 and M2, the optimum ozone dose was 2 g/h/L, with the lowest filtration times of 1189 seconds and 647 seconds, respectively. In samples M3, M4, and M5, the optimum dose shifted to 1.2 g/h/L, with filtration times of 394 seconds, 182 seconds, and 86 seconds, respectively. This pattern indicates that the lower the TSS content in the sludge, the lower the ozone dose tends to be more effective in accelerating filtration. Conversely, at high TSS levels such as in M1 and M2, a slightly higher dose is required to achieve optimal floc disintegration. Thus, the optimum ozone dose to improve sludge filterability is not a single factor, but depends on the initial characteristics of the sample, particularly the TSS content. These results also indicate that the effectiveness of ozonation in accelerating the sludge filtration process is not always linear with increasing ozone dose. The optimal dose tends to be in the low to medium range.

3.6. Ozonation Process
3.6.1. Ozonation Mechanism
According to Gottschalk et al. (2009) in their book Ozonation of Water and Waste Water: A Practical Guide to Understanding Ozone and Its Applications, the ozonation process is a strong oxidation method used in water treatment to remove organic and inorganic contaminants through two primary pathways: direct and indirect reactions. Direct reactions occur between ozone molecules and organic compounds in a selective and relatively slow manner. In contrast, indirect reactions involve the formation of hydroxyl radicals (∙OH) generated from ozone decomposition, which subsequently attack target compounds with extremely high reactivity.

3.6.1.1. Indirect Reactions
Indirect reactions involve radicals molecules that contain unpaired electrons. Most radicals are highly unstable and immediately react with other molecules to regain electron stability. The radical-chain mechanism of ozone can be divided into three stages: initiation, chain propagation, and termination. 
The first stage involves ozone degradation accelerated by initiators such as hydroxide ions (OH⁻), producing secondary oxidants such as hydroxyl radicals (∙OH). These radicals react non-selectively and very rapidly with target molecules, with reaction rate constants of k = 10⁸–10¹⁰ M⁻¹ s⁻¹. During electron loss, the target molecule becomes a radical and continues further reactions, extending the chain reaction. However, if radicals react with other radicals, both unpaired electrons neutralize each other, causing the chain reaction to stop. In the initiation stage, hydroxide ions react with ozone to form superoxide anions (O₂∙⁻) and hydroperoxyl radicals (HO₂∙):
	
	(1)


Both species exist in acid–base equilibrium:
	
	(2)


During chain propagation, the superoxide anion reacts with ozone to form the ozonide anion (O₃∙⁻). This species rapidly decomposes via the formation of hydrogen trioxide (HO₃∙), leading to the generation of hydroxyl radicals (∙OH):
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This reaction may continue as follows:
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Overall, two ozone molecules are consumed to produce two hydroxyl radicals. Substances that convert ∙OH into superoxide-type radicals, such as HO₂∙, accelerate this reaction and act as chain promoters. Organic molecules may also act as promoters if they contain functional groups that can react with ∙OH to form organic radicals (R∙):
	
	(8)


In the presence of oxygen, these organic radicals can transform into organic peroxy radicals (ROO∙), further extending the chain reaction:
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The termination stage occurs when certain organic or inorganic substances react with ∙OH to form secondary radicals that do not produce superoxide. These substances, known as inhibitors or scavengers, stop the chain reaction and slow down ozone degradation:
	
	(12)

	
	(13)


Radical–radical reactions may also terminate the chain:
	
	(14)


Overall, the combined reactions show that three ozone molecules yield two hydroxyl radicals:
	
	(15)


Hydroxyl radicals exhibit extremely reactive and non-selective behavior, preferentially attacking molecular sites with the highest electron density (electrophilic characteristics). These radicals have very short lifetimes−less than 10 milliseconds at an initial concentration of 10⁻⁴ M. According to Buxton et al. (2006) in Gottschalk et al. (2009), the reaction rate between hydroxyl radicals and aromatic compounds approaches the diffusion limit, meaning they react almost instantaneously upon collision.

3.6.1.2. Direct Reactions
Ozone can also react directly with organic compounds through selective, slower reactions. The reaction rates range from kD = 1.0–10⁶ M⁻¹ s⁻¹. The direct mechanism, known as the Criegee mechanism, involves ozone addition to unsaturated bonds. These reactions occur more rapidly with highly nucleophilic compounds, such as aromatics and aliphatics with electron-donating substituents. Direct ozonation becomes important when radical-based reactions are suppressed−for example, when water lacks chain-initiating compounds or contains abundant scavengers. Increased scavenger concentration shifts the oxidation pathway toward direct reactions. Thus, both inorganic and organic carbon play important roles. Generally, direct reactions dominate under acidic conditions (pH < 4), whereas indirect (radical-based) reactions become dominant above pH > 10. In groundwater and surface water (pH ≈ 7), both pathways may contribute significantly. In some wastewater types, indirect oxidation remains relevant even at pH = 2, depending on the contaminants present. Therefore, both pathways must always be considered in treatment process design.

3.6.2. Ozonation Effect
According to Gottschalk et al. (2009), ozonation can lower wastewater pH due to the formation of carboxylic acids during organic oxidation and the oxidation of ammonia to nitrate. This pH decrease depends on water composition, particularly alkalinity. In high-buffer systems, pH changes tend to be smaller.
This phenomenon is supported by several studies. Zhang et al. (2009) found that ozonating sludge at a dose of 25–80 mg/g DS decreased pH by 0.5–0.7 and increased soluble components such as SCOD and total nitrogen. Similarly, Ferrari et al. (2020) reported pH reduction from 6.17 to 3.6, accompanied by increased dissolved metal content and particle size changes. These pH shifts influence particle surface charge and colloidal stability.
On the other hand, ozone has a very high redox potential (+2.07 V), resulting in a significant increase in ORP during ozonation (Gottschalk et al., 2009). High ORP indicates strong oxidative conditions beneficial for organic degradation, microbial inactivation, and more stable floc formation. Lv et al. (2019) showed that Differential ORP (DORP) correlates strongly with sludge dewaterability, where an optimal DORP of ~387 mV resulted in lower CST and SRF values, indicating improved filterability. However, excessively high ORP may generate intermediate compounds that hinder flocculation.
Changes in pH and ORP during ozonation are closely related to the zeta potential of sludge particles, which indicates surface charge and governs colloidal stability. When pH decreases and ORP increases, particle surface charge tends to decrease toward neutrality. Gottschalk et al. (2009) noted that this reduces inter-particle repulsion, enabling floc formation. Yu et al. (2019) found that ozonation combined with Zero-Valent Iron (ZVI) decreased CST from 10.45 seconds to 1.63 seconds and reduced cake moisture to 52.67%, associated with zeta potential shifting toward neutrality.
Thus, ozonation can improve sludge quality by decreasing pH, increasing ORP, and adjusting zeta potential. These changes weaken colloidal stability and enhance flocculation effectiveness, making ozonation a promising pretreatment step for sludge management in wastewater systems, including coal mine runoff.

3.7. Optimum Ozone Dose
Determining the optimum ozonation dose is a crucial aspect in improving the effectiveness of the sludge separation process in coal mine runoff sludge wastewater. In this study, ozonation effectiveness was evaluated based on three main parameters: reduced turbidity, reduced filtration time, and changes in water chemical characteristics such as pH and ORP.
Data obtained from five samples showed that each ozone dose had a different effect on these parameters. Therefore, Table 4 shows the optimum dose based on turbidity level. Furthermore, Table 5 shows the optimum dose based on filtration time for samples M1 to M5.
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	Sample Code
	TSS (mg/L)
	Optimal Ozone Dose (g/h/L)
	       (NTU)
	 (NTU)
	Effectiveness (%)

	M1
	 50,000
	3
	109.11
	35.19
	67.75

	M2
	 30,000
	3
	369.11
	74.78
	79.74

	M3
	 20,000
	1.2
	592
	134.33
	77.31

	M4
	 10,000
	1.2
	614.33
	80.67
	86.87

	M5
	 3,000
	3
	617.33
	113.78
	85.28
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Table 5. Summary of the Optimum Ozone Dose for Reducing Filtration Time
	[bookmark: _Hlk202232175]Sample Code
	TSS (mg/L)
	Optimal Ozone Dose (g/h/L)
	       (s)
	   (s)
	Effectiveness (%)

	M1
	 50,000
	2
	1749
	1189
	32.02

	M2
	 30,000
	2
	779
	647
	16.94

	M3
	 20,000
	1.2
	441
	394
	10.66

	M4
	 10,000
	1.2
	278
	182
	34.53

	M5
	 3,000
	1.2
	110
	86
	21.82




Based on the results in Table 4 and Table 5, the ozonation process significantly reduced turbidity levels and sludge filtration time in coal mine runoff samples. Ozone acts as an oxidizing agent capable of disintegrating flocs and damaging the structure of complex organic compounds in the sludge, thereby improving solid-liquid separation performance.
Based on Table 4, regarding turbidity parameters and data on changes in ORP and pH values ​​after the filtration process, it can be concluded that the optimum ozone dose was achieved in sample M4 at a dose of 1.2 g/h/L. This sample had an initial TSS level of ±10,000 mg/L and demonstrated an 86.87% turbidity reduction effectiveness. Furthermore, based on the results in Table 5, the optimum ozone dose for filtration time was also achieved in sample M4 at the same dose of 1.2 g/h/L. Under these conditions, filtration time decreased from 278 seconds to 182 seconds, resulting in an effectiveness of 34.53%.
The success of the ozonation process in increasing filtration effectiveness is supported by an increase in the ORP value of 30 mV after filtration, indicating that residual ozone or other oxidative compounds are still active in the system but not excessive enough to trigger over-oxidation. This condition reflects that the oxidation reaction is proceeding efficiently, sufficient to disintegrate floc and improve sludge structure without producing fine colloidal particles that can clog the filtration media. Furthermore, the stability of the system is also reflected in the pH value, which remains near neutral, only changing from 7.82 to 7.92, indicating that there is no significant accumulation of acidic byproducts. This indicates that ozonation is working optimally in breaking down filtration-inhibiting compounds without disrupting the overall chemical balance of the system.
This finding aligns with a report by Demir & Filibeli (2012), which states that ozonation at an optimum dose can improve sludge dewaterability by destroying biopolymer compounds and strengthening the floc structure for filtration. Meanwhile, G. Erden and A. FIlibeli, (2010) added that too high an ozone dose can cause over-oxidation, which produces low molecular organic fragments such as humic acid, which are colloidal and reduce filtration efficiency.


Table 6. Comparative Analysis of the Present Findings and Prior Studies
	No
	Authors
	Research Title
	Method
	Filterability Indicators
	Effectiveness

	
	This study
	Performance Analysis of Ozonation on Sludge Filterability for Sludge Separation from Coal Mine Runoff
	Ozonation (1.2-6 g/h/L)
	Filtrate turbidity (NTU) & filtration time (s)
	Turbidity reduction up to 86.87% (M4); filtration time decreased by 34.53% (M4); optimum dose 1.2 g/h/L

	1
	Yang dkk. (2024)
	Response Surface Optimization of Sludge Dewatering Process: Synergistic Enhancement by Ultrasonic, Chitosan and Sludge-Based Biochar
	Ultrasonic + CTS + Biochar
	SRF, MC, EPS, FTIR, Calorimetry, TG–DTG
	MC reduced to 76.81%, low SRF (5.41×10¹¹ m/kg), EPS significantly decreased; FTIR shows hydrophilic groups reduced; sludge cake easier to dry, heating value increased by 17%.


	2
	Ge dkk. (2020)
	An In-Depth Study on The Deep-Dewatering Mechanism of Waste Activated Sludge by Ozonation Pre-Oxidation and Chitosan Re-Flocculation Conditioning
	Ozonation (60 mg/gTS) + Chitosan (20 mg/gTS)
	CST, WC, SCOD, EPS, NMR, SEM, Heating Value
	WC decreased from 82.1% to 56.5%; CST improved after chitosan; EPS solubilized by ozone then re-bound by chitosan forming larger flocs, enhancing dewatering and increasing heating value.


	3
	Ge dkk. (2019)
	Insight Into A New Two-Step Approach of Ozonation and Chitosan Conditioning for Sludge Deep-Dewatering
	Ozonation + Chitosan
	CST, WC, Zeta Potential, EPS, Particle Size, Heavy Metals
	CST drastically reduced from 196.3 s to 15.8 s; WC dropped to 57.5%; EPS decreased; zeta potential approached neutral, resulting in optimal flocculation. Metal speciation needs further evaluation.


	4
	Cai dkk. (2019)
	Improving Dewaterability and Filterability of Waste Activated Sludge by Electrochemical Fenton Pretreatment

	Electro-Fenton (ZVI + H₂O₂, electrical current)
	CST, Water Content, Bound Water (DSC), Particle Size, EPS (3D-EEM, FTIR)
	CST significantly reduced from 50.2 s to 11.9 s; WC from 83.1% to 65.7%. Hydroxyl radicals degraded EPS and converted bound water to free water, improving cake structure. Stable for 10 cycles; low cost (USD 59.78/ton DS).


	5
	Zhu dkk. (2018)
	Conditioning of Sewage Sludge Via Combined Ultrasonication-Flocculation-Skeleton Building to Improve Sludge Dewaterability

	US + CPAM + Rice Husk (RH)
	SRF, TTF, MC, d₀.₅, Porosity, EPS (Proteins, Polysaccharides)
	SRF decreased from 1.39×10⁹ to 1.32×10⁸ s²/g; MC from 91% to 62.15%; larger flocs and more porous cake structure; synergistic effect accelerated filtration and reduced water content.


	6
	Zhen dkk. (2014)
	Enhanced Dewatering Characteristics of Waste Activated Sludge with Fenton Pretreatment: Effectiveness and Statistical Optimization
	Fenton (H₂O₂ + Fe²⁺), RSM
	CST, CST Reduction Efficiency, EPS, Floc Microscopy
	CST decreased from 1360 s to 24 s (98.25% improvement); EPS breakdown enhanced water release; statistically optimized for rapid dewatering.	

	7
	Demi1 (2012)
	Fate of Return Activated Sludge After Ozonation: An Optimization Study for Sludge Disintegration
	Ozonation (0.007–0.06 g O₃/gTS)
	CST, SRF, SVI, TSS/VSS, SCOD, EPS, Particle Size
	Effective for sludge reduction (TSS, VSS ↓ >70%) and disintegration (DD 56.2%), but CST increased → poor filterability at high ozone doses. Re-flocculation required for dewatering improvement.


	8
	Erden (2010)
	Ozone Oxidation of Biological Sludge: Effects on Disintegration, Anaerobic Biodegradability, and Filterability
	Ozonation (0.005–0.25 g O₃/g DS)
	CST, DD, SCOD/DOC, SS/VSS, Particle Size, EPS Protein
	Effective sludge disintegration (DD 51.1%), anaerobic biodegradability improved (+25% biogas), but filterability worsened at doses >0.1 g O₃/gDS (CST raised sharply). Suitable for digestion, not for direct dewatering.



the floc structure for filtration. Meanwhile, G. Erden and A. FIlibeli, (2010) added that too high an ozone dose can cause over-oxidation, which produces low molecular organic fragments such as humic acid, which are colloidal and reduce filtration efficiency.
Thus, the success of ozonation is highly dependent on the accuracy in determining the ozone dose that is appropriate to the initial pollutant load conditions or initial characteristics, so that the oxidation reaction takes place sufficiently to disintegrate the particles that cause turbidity, without producing by-products that worsen the quality of the filtrate.

3.8. Comparison of Research Results with Previous Studies
To assess the effectiveness of the ozonation method used in this study in improving sludge filterability, it is important to compare the results obtained with those of previous studies. This comparison aims to assess the consistency of the results, identify the method's strengths, and understand its limitations in the context of various sludge types, treatment doses, and indicators used.
In this study, sludge filterability was measured using two main parameters: filtrate turbidity (NTU) and filtration time (seconds). The results showed that ozonation at an optimum dose of 1.2 g/h/L reduced turbidity by up to 86.87% in the low TSS sample, M4, and reduced filtration time by up to 34.53% in the M4 sample. The primary focus of this comparison was the effectiveness of each method in improving filterability indicators such as filtrate turbidity, filtration time, capillary suction time (CST), and sludge moisture content. Furthermore, the comparison also considered practicality, the risk of over-oxidation, and the need for additional materials in the process. The following table presents a summary of relevant research results as a reference for comparing the effectiveness of the ozonation method developed in this study. Table 6 presents a summary comparison between this research and relevant previous studies.
This study demonstrates that ozonation without additives significantly improves sludge filterability, especially for sludge with low to moderate TSS. Its effectiveness is comparable to other combination methods, such as ozonation + chitosan from the studies of Ge et al. (2020) and Ge et al. (2019) or electro-Fenton from the study of Cai et al. (2019), which generally result in reductions in CST or water content of more than 40–90%.
However, the advantage of this method lies in its simplicity—it does not require additional chemicals or special equipment—making it easier to implement in the field. Furthermore, the risk of over-oxidation can be controlled by selecting the optimum dosage appropriate to the TSS load. Thus, the low-dose ozonation applied in this study is proven to be a practical and efficient method for improving sludge filterability, while also making an important contribution to the development of simple oxidation-based wastewater treatment technologies.

4. CONCLUSION
This study demonstrates that ozonation induces measurable shifts in water chemistry and exerts a decisive influence on sludge filterability in coal mining runoff. The oxidation–reduction potential (ORP) exhibited a characteristic initial decline, reflecting rapid ozone consumption by reduced species, followed by a progressive increase as residual ozone accumulated in samples with lower solid loads. The highest post-ozonation ORP (712 mV in Sample M5 at 6 g/h/L) confirms that high-strength oxidation occurs primarily when the particulate and dissolved contaminant load is sufficiently low to permit ozone persistence.
Ozonation at elevated doses (6 g/h/L) caused a reduction in pH due to the formation of acidic oxidation intermediates, whereas moderate doses (1.2–3 g/h/L) maintained pH near neutrality. After filtration, pH typically returned toward its initial value, indicating that acidic byproducts were either co-removed with solids or neutralized through subsequent physicochemical interactions.
Ozone dosage had a significant and non-linear effect on sludge filterability. Moderate dosages (1.2–3 g/h/L) consistently improved turbidity removal and reduced filtration time across multiple samples, suggesting optimal partial oxidation that enhances floc compactness and promotes particle aggregation. In contrast, excessive ozonation (6 g/h/L) led to over-oxidation, the release of humic fragments, and the formation of finer colloids, all of which impaired filtration performance. Insufficient doses failed to restructure the sludge matrix effectively.
Integrating turbidity removal, filtration time, ORP behavior, and pH stability, the optimal operational condition was achieved in Sample M4 (initial TSS ~10,000 mg/L) with an ozone dose of 1.2 g/h/L. Under this condition, turbidity decreased by 86.87% (614.33 to 80.67 NTU) and filtration time improved by 34.53% (278 to 182 s), accompanied by a modest ORP increase of 30 mV and stable neutral pH (7.82 to 7.92). These results indicate that controlled, moderate ozonation effectively weakens flocs and enhances subsequent solid–liquid separation without generating oxidation byproducts that hinder filtration.
Overall, the findings confirm that ozonation is a viable pre-treatment strategy for improving sludge dewaterability in mining runoff, provided that the ozone dose is carefully optimized to balance oxidative breakdown and aggregation mechanisms.
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ORP (mV)




6 g/h/L	0	2	4	6	8	10	12	14	16	18	20	22	24	26	28	30	32	34	36	38	40	42	44	46	48	50	52	54	56	58	60	62	64	66	68	70	72	74	76	78	80	82	84	86	88	90	92	94	96	98	100	102	104	106	108	110	112	114	116	118	120	122	124	126	128	130	132	134	136	138	140	142	144	146	148	150	152	154	156	158	160	162	164	166	168	170	172	174	176	178	180	182	184	186	188	190	192	194	196	198	200	202	204	206	208	210	212	214	216	218	220	222	224	226	228	230	232	234	236	238	240	242	244	246	248	250	252	254	256	258	260	262	264	266	268	270	272	274	276	278	280	282	284	286	288	290	292	294	296	298	300	302	304	306	308	310	312	314	316	318	320	322	324	326	328	330	332	334	336	338	340	342	344	346	348	350	352	354	356	358	360	362	364	366	368	370	372	374	376	378	380	382	384	386	388	390	392	394	396	398	400	402	404	406	408	410	412	414	416	418	420	422	424	426	428	430	432	434	436	438	440	442	444	446	448	450	452	454	456	458	460	462	464	466	468	470	472	474	476	478	480	482	484	486	488	490	492	494	496	498	500	502	504	506	508	510	512	514	516	518	520	522	524	526	528	530	532	534	536	538	540	542	544	546	548	550	552	554	556	558	560	562	564	566	568	570	572	574	576	578	580	582	584	586	588	590	592	594	596	598	600	602	604	606	608	610	612	614	616	618	620	622	624	626	628	630	632	634	636	638	640	642	644	646	648	650	652	654	656	658	660	662	664	666	668	670	672	674	676	678	680	682	684	686	688	690	692	694	696	698	700	702	704	706	708	710	712	714	716	718	720	722	724	726	728	730	732	734	736	738	740	742	744	746	748	750	752	754	756	758	760	762	764	766	768	770	772	774	776	778	780	782	784	786	788	790	792	794	796	798	800	802	804	806	808	810	812	814	816	818	820	822	824	826	828	830	832	834	836	838	840	842	844	846	848	850	852	854	856	858	860	862	864	866	868	870	872	874	876	878	880	882	884	886	888	890	892	894	896	898	900	902	904	906	908	910	912	914	916	918	920	922	924	926	928	930	932	934	936	938	940	942	944	946	948	950	952	954	956	958	960	962	964	966	968	970	972	974	976	978	980	982	984	986	988	990	992	994	996	998	1000	1002	1004	1006	1008	1010	1012	1014	1016	1018	1020	1022	1024	1026	1028	1030	1032	1034	1036	1038	1040	1042	1044	1046	1048	1050	1052	1054	1056	1058	1060	1062	1064	1066	1068	1070	1072	1074	1076	1078	1080	1082	1084	1086	1088	1090	1092	1094	1096	1098	1100	1102	1104	1106	1108	1110	1112	1114	1116	1118	1120	1122	1124	1126	1128	1130	1132	1134	1136	1138	1140	1142	1144	1146	1148	1150	1152	1154	1156	1158	1160	1162	1164	1166	1168	1170	1172	1174	1176	1178	1180	1182	1184	1186	1188	1190	1192	1194	1196	1198	1200	1202	1204	1206	1208	1210	1212	1214	1216	1218	1220	1222	1224	1226	1228	1230	1232	1234	1236	1238	1240	1242	1244	1246	1248	1250	1252	1254	1256	1258	1260	1262	1264	1266	1268	1270	1272	1274	1276	1278	1280	1282	1284	1286	1288	1290	1292	1294	1296	1298	1300	1302	1304	1306	1308	1310	1312	1314	1316	1318	1320	1322	1324	1326	1328	1330	1332	1334	1336	1338	1340	1342	1344	1346	1348	1350	1352	1354	1356	1358	1360	1362	1364	1366	1368	1370	1372	1374	1376	1378	1380	1382	1384	1386	1388	1390	1392	1394	1396	1398	1400	1402	1404	1406	1408	1410	1412	1414	1416	1418	1420	1422	1424	1426	1428	1430	1432	1434	1436	1438	1440	1442	1444	1446	1448	1450	1452	1454	1456	1458	1460	1462	1464	1466	1468	1470	1472	1474	1476	1478	1480	1482	1484	1486	1488	1490	1492	1494	1496	1498	1500	1502	1504	1506	1508	1510	1512	1514	1516	1518	1520	1522	1524	1526	1528	1530	1532	1534	1536	1538	1540	1542	1544	1546	1548	1550	1552	1554	1556	1558	1560	1562	1564	1566	1568	1570	1572	1574	1576	1578	1580	1582	1584	1586	1588	1590	1592	1594	1596	1598	1600	1602	1604	1606	1608	1610	1612	1614	1616	1618	1620	1622	1624	1626	1628	1630	1632	1634	1636	1638	1640	1642	1644	1646	1648	1650	1652	1654	1656	1658	1660	1662	1664	1666	1668	1670	1672	1674	1676	1678	1680	1682	1684	1686	1688	1690	1692	1694	1696	1698	1700	1702	1704	1706	1708	1710	1712	1714	1716	1718	1720	1722	1724	1726	1728	1730	1732	1734	1736	1738	1740	1742	1744	1746	1748	1750	1752	1754	1756	1758	1760	1762	1764	1766	1768	1770	1772	1774	1776	1778	1780	1782	1784	1786	1788	1790	1792	1794	1796	1798	1800	1802	1804	1806	1808	1810	1812	1814	1816	1818	1820	1822	1824	1826	1828	1830	1832	1834	1836	1838	1840	1842	1844	1846	1848	1850	1852	1854	1856	1858	1860	1862	1864	1866	1868	1870	1872	1874	1876	1878	1880	1882	1884	1886	1888	1890	1892	1894	1896	1898	1900	1902	1904	1906	1908	1910	1912	1914	1916	1918	1920	1922	1924	1926	1928	1930	1932	1934	1936	1938	1940	1942	1944	1946	1948	1950	1952	1954	1956	1958	1960	1962	1964	1966	1968	1970	1972	1974	1976	1978	1980	1982	1984	1986	1988	1990	1992	1994	1996	1998	2000	2002	2004	2006	2008	2010	2012	2014	2016	2018	2020	2022	2024	2026	2028	2030	2032	2034	2036	2038	2040	2042	2044	2046	2048	2050	2052	2054	2056	2058	2060	2062	2064	2066	2068	2070	2072	2074	2076	2078	2080	2082	2084	2086	2088	2090	2092	2094	2096	2098	2100	2102	2104	2106	2108	2110	2112	2114	2116	2118	2120	2122	2124	2126	2128	2130	2132	2134	2136	2138	2140	2142	2144	2146	2148	2150	2152	2154	2156	2158	2160	2162	2164	2166	2168	2170	2172	2174	2176	2178	2180	2182	2184	2186	2188	2190	2192	2194	2196	2198	2200	2202	2204	2206	2208	2210	2212	2214	2216	2218	2220	2222	2224	2226	2228	2230	2232	2234	2236	2238	2240	2242	2244	2246	2248	2250	2252	2254	2256	2258	2260	2262	2264	2266	2268	2270	2272	2274	2276	2278	2280	2282	2284	2286	2288	2290	2292	2294	2296	2298	2300	2302	2304	2306	2308	2310	2312	2314	2316	2318	2320	2322	2324	2326	2328	2330	2332	2334	2336	2338	2340	2342	2344	2346	2348	2350	2352	2354	2356	2358	2360	2362	2364	2366	2368	2370	2372	2374	2376	2378	2380	2382	2384	2386	2388	2390	2392	2394	2396	2398	2400	2402	2404	2406	2408	2410	2412	2414	2416	2418	2420	2422	2424	2426	2428	2430	2432	2434	2436	2438	2440	2442	2444	2446	2448	2450	2452	2454	2456	2458	2460	2462	2464	2466	2468	2470	2472	2474	2476	2478	2480	2482	2484	2486	2488	2490	2492	2494	2496	2498	2500	2502	2504	2506	2508	2510	2512	2514	2516	2518	2520	2522	2524	2526	2528	2530	2532	2534	2536	2538	2540	2542	2544	2546	2548	2550	2552	2554	2556	2558	2560	2562	2564	2566	2568	2570	2572	2574	2576	2578	2580	2582	2584	2586	2588	2590	2592	2594	2596	2598	2600	2602	2604	2606	2608	2610	2612	2614	2616	2618	2620	2622	2624	2626	2628	2630	2632	2634	2636	2638	2640	2642	2644	2646	2648	2650	2652	2654	2656	2658	2660	2662	2664	2666	2668	2670	2672	2674	2676	2678	2680	2682	2684	2686	2688	2690	2692	2694	2696	2698	2700	2702	2704	2706	2708	2710	2712	2714	2716	2718	2720	2722	2724	2726	2728	2730	2732	2734	2736	2738	2740	2742	2744	2746	2748	2750	2752	2754	2756	2758	2760	2762	2764	2766	2768	2770	2772	2774	2776	2778	2780	2782	2784	2786	2788	2790	2792	2794	2796	2798	2800	2802	2804	2806	2808	2810	2812	2814	2816	2818	2820	2822	2824	2826	2828	2830	2832	2834	2836	2838	2840	2842	2844	2846	2848	2850	2852	2854	2856	2858	2860	2862	2864	2866	2868	2870	2872	2874	2876	2878	2880	2882	2884	2886	2888	2890	2892	2894	2896	2898	2900	2902	2904	2906	2908	2910	2912	2914	2916	2918	2920	2922	2924	2926	2928	2930	2932	2934	2936	2938	2940	2942	2944	2946	2948	2950	2952	2954	2956	2958	2960	2962	2964	2966	2968	2970	2972	2974	2976	2978	2980	2982	2984	2986	2988	2990	2992	2994	2996	2998	3000	3002	3004	3006	3008	3010	3012	3014	3016	3018	3020	3022	3024	3026	3028	3030	3032	3034	3036	3038	3040	3042	3044	3046	3048	3050	3052	3054	3056	3058	3060	3062	3064	3066	3068	3070	3072	3074	3076	3078	3080	3082	3084	3086	3088	3090	3092	3094	3096	3098	3100	3102	3104	3106	3108	3110	3112	3114	3116	3118	3120	3122	3124	3126	3128	3130	3132	3134	3136	3138	3140	3142	3144	3146	3148	3150	3152	3154	3156	3158	3160	3162	3164	3166	3168	3170	3172	3174	3176	3178	3180	3182	3184	3186	3188	3190	3192	3194	3196	3198	3200	3202	3204	3206	3208	3210	3212	3214	3216	3218	3220	3222	3224	3226	3228	3230	3232	3234	3236	3238	3240	3242	3244	3246	3248	3250	3252	3254	3256	3258	3260	3262	3264	3266	3268	3270	3272	3274	3276	3278	3280	3282	3284	3286	3288	3290	3292	3294	3296	3298	3300	3302	3304	3306	3308	3310	3312	3314	3316	3318	3320	3322	3324	3326	3328	3330	3332	3334	3336	3338	3340	3342	3344	3346	3348	3350	3352	3354	3356	3358	3360	3362	3364	3366	3368	3370	3372	3374	3376	3378	3380	3382	3384	3386	3388	3390	3392	3394	3396	3398	3400	3402	3404	3406	3408	3410	3412	3414	3416	3418	3420	3422	3424	3426	3428	3430	3432	3434	3436	3438	3440	3442	3444	3446	3448	3450	3452	3454	3456	3458	3460	3462	3464	3466	3468	3470	3472	3474	3476	3478	3480	3482	3484	3486	3488	3490	3492	3494	3496	3498	3500	3502	3504	3506	3508	3510	3512	3514	3516	3518	3520	3522	3524	3526	3528	3530	3532	3534	3536	3538	3540	3542	3544	3546	3548	3550	3552	3554	3556	3558	3560	3562	3564	3566	3568	3570	3572	3574	3576	3578	3580	3582	3584	3586	3588	3590	3592	3594	3596	3598	3600	277.33333333333331	277.66666666666669	279.33333333333331	281.66666666666669	284.66666666666669	285	285.33333333333331	285.66666666666669	285.33333333333331	284	285	284.66666666666669	284	284	282.33333333333331	282.33333333333331	280.33333333333331	279.66666666666669	279	278.33333333333331	278	277.33333333333331	277.66666666666669	275.66666666666669	275.33333333333331	274.66666666666669	274.33333333333331	273.66666666666669	273	272.66666666666669	271.66666666666669	271.66666666666669	271.66666666666669	270.33333333333331	270.33333333333331	269.66666666666669	269	269.33333333333331	268.66666666666669	268.33333333333331	268.33333333333331	267.66666666666669	268	266.66666666666669	266.33333333333331	266	265.66666666666669	265.33333333333331	265	265	265	265.33333333333331	265	264	264.66666666666669	263.33333333333331	263	262.66666666666669	263	262.66666666666669	262.66666666666669	262	261.33333333333331	261.33333333333331	261.33333333333331	262.33333333333331	261.33333333333331	260.33333333333331	261.33333333333331	260.33333333333331	260.33333333333331	260	260	259.66666666666669	260.33333333333331	259.66666666666669	259.66666666666669	259.33333333333331	259.66666666666669	259	259	259	259	259	258.66666666666669	258.66666666666669	258	258	258.33333333333331	258.33333333333331	258.33333333333331	257.66666666666669	258	258.33333333333331	258	257.66666666666669	258	257.66666666666669	257.66666666666669	257.66666666666669	258	257.66666666666669	257.66666666666669	257	257.33333333333331	258	257	257.33333333333331	257	257	257	257	256.66666666666669	256.66666666666669	256.66666666666669	256.66666666666669	256.66666666666669	257.33333333333331	256.33333333333331	256.66666666666669	256.66666666666669	256.66666666666669	256.33333333333331	256	256.33333333333331	257	256.33333333333331	256.33333333333331	256.66666666666669	257	256.33333333333331	256.33333333333331	257	256	256.33333333333331	256.33333333333331	256.33333333333331	256	256	256.66666666666669	256.33333333333331	256.66666666666669	256	256	255.66666666666666	255.66666666666666	256.33333333333331	255.33333333333334	256	256	256.33333333333331	256	256.33333333333331	256	256.33333333333331	256.66666666666669	256	256	256	256	256.33333333333331	256	256	255.66666666666666	256	256	256.66666666666669	256.33333333333331	256	256	256	256	255.66666666666666	255.66666666666666	256.33333333333331	256	256	256	256.66666666666669	256	256	256.33333333333331	256	256.66666666666669	256.66666666666669	256	256	256.33333333333331	256.66666666666669	256.33333333333331	256	256.33333333333331	255.66666666666666	256.33333333333331	256	256.33333333333331	256	255.66666666666666	256.33333333333331	256.66666666666669	256	255.66666666666666	256.33333333333331	255.66666666666666	256	256.33333333333331	255.33333333333334	255.66666666666666	256	256	255.33333333333334	255.66666666666666	256.33333333333331	256.33333333333331	255.66666666666666	256	255.66666666666666	256.33333333333331	256.33333333333331	256	256	256	256	255.33333333333334	256.33333333333331	256	256	256.33333333333331	256.33333333333331	256	256.33333333333331	256.66666666666669	257	256.66666666666669	256.33333333333331	256.33333333333331	257	256	256	256.33333333333331	256.33333333333331	256.66666666666669	256.66666666666669	256.66666666666669	256.66666666666669	257	256.33333333333331	257	256.66666666666669	257	257	257.33333333333331	256.33333333333331	257	257	256.66666666666669	257.33333333333331	257	256.33333333333331	257.33333333333331	257	256.66666666666669	256.66666666666669	256.66666666666669	256.66666666666669	256.66666666666669	256.33333333333331	256.33333333333331	257	256.66666666666669	256.33333333333331	257	256.66666666666669	257	256.66666666666669	257.33333333333331	256.66666666666669	256.66666666666669	257.33333333333331	257.33333333333331	257	256.66666666666669	257	256.66666666666669	257	257	256.33333333333331	257	257	257	257.33333333333331	257	257.66666666666669	256.66666666666669	257	257	257	257	257	256.66666666666669	257.66666666666669	258	257.33333333333331	256.66666666666669	257	257	257	257.33333333333331	257.66666666666669	257	258.33333333333331	257.33333333333331	257.66666666666669	257	258	257.33333333333331	257.66666666666669	257.66666666666669	257.66666666666669	257.33333333333331	257.33333333333331	258	257.66666666666669	257.66666666666669	257.66666666666669	257.66666666666669	258	258	257.66666666666669	257.33333333333331	257.66666666666669	257.66666666666669	258	257.66666666666669	257.33333333333331	257.66666666666669	258	257.66666666666669	257.66666666666669	258.33333333333331	258	258	258.33333333333331	258.33333333333331	257.66666666666669	257.66666666666669	258	257.66666666666669	258	258	257.66666666666669	257.66666666666669	258	258	257.33333333333331	257.66666666666669	258	258	257.66666666666669	258.33333333333331	258	257.33333333333331	257.66666666666669	258	257.33333333333331	258.66666666666669	258.33333333333331	258	258	258.33333333333331	258.33333333333331	258	257.66666666666669	257.66666666666669	258.33333333333331	258.33333333333331	258.66666666666669	257.66666666666669	258.33333333333331	258	258	257.66666666666669	258	257.66666666666669	258	258	258.33333333333331	258	258	258.33333333333331	258.66666666666669	257.66666666666669	258	258	257.66666666666669	259	258.33333333333331	258	258.33333333333331	259	258	258.33333333333331	258	258	258.66666666666669	258.33333333333331	258.33333333333331	258	258.33333333333331	259	258.33333333333331	258.33333333333331	258	258.66666666666669	258.33333333333331	258.33333333333331	258	258.66666666666669	259	258.33333333333331	258.33333333333331	258.33333333333331	259	259	258.33333333333331	258.33333333333331	258.33333333333331	259	258.33333333333331	258	258.33333333333331	258.33333333333331	258.33333333333331	258.33333333333331	258.66666666666669	258.33333333333331	259	258.66666666666669	258.66666666666669	258.66666666666669	259	259	258.66666666666669	258.66666666666669	259	259	258.33333333333331	258.66666666666669	259	258.33333333333331	259	259	259.33333333333331	258.33333333333331	259	258.66666666666669	258.66666666666669	258.66666666666669	259	259	258.33333333333331	258.66666666666669	259	260	260	259.33333333333331	259.66666666666669	259.66666666666669	259.66666666666669	258.66666666666669	259	259.33333333333331	258.33333333333331	259	259	258.66666666666669	258.66666666666669	259.33333333333331	259	258.66666666666669	259.33333333333331	259	259.33333333333331	259.33333333333331	259.33333333333331	259	259.66666666666669	259.66666666666669	259.33333333333331	259	259	259	258.66666666666669	259	259	259	259.33333333333331	259.33333333333331	259.33333333333331	259.33333333333331	259.33333333333331	260	259.33333333333331	259.33333333333331	259	259.66666666666669	260	259.66666666666669	259.66666666666669	258.66666666666669	259	259.66666666666669	259.66666666666669	259.33333333333331	259.33333333333331	259	259	259	259.66666666666669	259.33333333333331	259.33333333333331	259.33333333333331	259.66666666666669	258.66666666666669	259.33333333333331	259.33333333333331	259.33333333333331	259.66666666666669	259.33333333333331	259.33333333333331	259.66666666666669	260.33333333333331	259.66666666666669	260.33333333333331	259.33333333333331	259.66666666666669	259.66666666666669	260.33333333333331	259.66666666666669	259.66666666666669	260.33333333333331	260	260	260.66666666666669	260.33333333333331	259.33333333333331	260.33333333333331	259.66666666666669	260.33333333333331	260	259.66666666666669	260	260	260	260	260.33333333333331	260.33333333333331	260	260	260	260	259.66666666666669	259.66666666666669	260	260.33333333333331	260	259.66666666666669	260.33333333333331	260.33333333333331	259.33333333333331	260.33333333333331	260	260.66666666666669	260.33333333333331	260	260.33333333333331	260	259.66666666666669	260.33333333333331	260.33333333333331	260	260	260	260.66666666666669	260.66666666666669	260.66666666666669	260.33333333333331	260.66666666666669	260.33333333333331	261	260.33333333333331	260.33333333333331	259.66666666666669	260	260.33333333333331	260.33333333333331	260.66666666666669	260.33333333333331	260	260.66666666666669	260.33333333333331	260	260	260.66666666666669	260.33333333333331	260	260.66666666666669	261.33333333333331	261	260.33333333333331	260.66666666666669	260.33333333333331	260.66666666666669	261.66666666666669	260.33333333333331	260.66666666666669	261	261.33333333333331	260.66666666666669	260.66666666666669	261	260.33333333333331	261.33333333333331	261	261	261	261.33333333333331	260.33333333333331	261.33333333333331	261	261	260.66666666666669	261	261	261.66666666666669	261	262	261	260.66666666666669	261.66666666666669	261.33333333333331	262	261.33333333333331	261.66666666666669	261.33333333333331	261.66666666666669	261.33333333333331	262.66666666666669	261.66666666666669	262	262	262.33333333333331	261.66666666666669	262.33333333333331	262	262	262.66666666666669	262	262	262.33333333333331	262.33333333333331	262.33333333333331	262.33333333333331	262	262	262.33333333333331	262.33333333333331	262.33333333333331	262	262.33333333333331	263	262.33333333333331	263	262.33333333333331	263	262.66666666666669	263.33333333333331	263	263.33333333333331	262.66666666666669	263	263.33333333333331	263	262.66666666666669	262	262.66666666666669	263.33333333333331	263	262.66666666666669	263.33333333333331	263.33333333333331	262.66666666666669	262.66666666666669	263.33333333333331	263	263	263	263.33333333333331	263.66666666666669	263.33333333333331	262.66666666666669	263.66666666666669	264	263.66666666666669	263.66666666666669	263.33333333333331	263.66666666666669	264	263.66666666666669	263.33333333333331	263.66666666666669	264	264	264.66666666666669	263.66666666666669	264.33333333333331	264	265	264.33333333333331	264	263.66666666666669	265	264.33333333333331	264	264	264.66666666666669	265	264.66666666666669	264.66666666666669	264	264.66666666666669	265	264.33333333333331	264.33333333333331	264.66666666666669	265	264.33333333333331	265.33333333333331	264.33333333333331	265.33333333333331	265.33333333333331	265	264.66666666666669	266	265.33333333333331	265.66666666666669	265	266	265.66666666666669	265.66666666666669	266.33333333333331	266.33333333333331	266	266	265.66666666666669	266.33333333333331	265.66666666666669	266	266.33333333333331	266	266.33333333333331	266.33333333333331	266.33333333333331	266	266	266.66666666666669	266	267	266.66666666666669	266.66666666666669	267.66666666666669	267.33333333333331	267.66666666666669	267	267	267.33333333333331	267	266.66666666666669	267	267.66666666666669	268	267.66666666666669	267.33333333333331	267.66666666666669	267.33333333333331	267.66666666666669	267.66666666666669	268.33333333333331	267.66666666666669	268.33333333333331	268	268	268.33333333333331	268	268	267.66666666666669	268.66666666666669	268.66666666666669	268.33333333333331	268.33333333333331	269	269.33333333333331	269	269.33333333333331	268.66666666666669	269.33333333333331	269	269	268.66666666666669	268.66666666666669	268.66666666666669	269.33333333333331	269	269.66666666666669	269.33333333333331	269.66666666666669	269.33333333333331	269.66666666666669	270	269.66666666666669	270	269.66666666666669	270	270	270	270	270.33333333333331	270.33333333333331	270.66666666666669	271	270.66666666666669	271	270.33333333333331	271	271	270.66666666666669	271	271	271	271	271.33333333333331	271.33333333333331	271.33333333333331	272	271	271.66666666666669	271.33333333333331	271.33333333333331	271.66666666666669	272	271.66666666666669	271.66666666666669	272.33333333333331	272.33333333333331	272.66666666666669	272	272.33333333333331	272.33333333333331	272.33333333333331	272.33333333333331	272.66666666666669	272.66666666666669	272.66666666666669	272.66666666666669	272.66666666666669	273.66666666666669	273.33333333333331	273.66666666666669	273.33333333333331	273.66666666666669	273.66666666666669	274	273.66666666666669	273.33333333333331	273.66666666666669	274.33333333333331	274	274.33333333333331	274.33333333333331	274.33333333333331	274.33333333333331	274.66666666666669	274.33333333333331	274.66666666666669	275.33333333333331	275.33333333333331	275.33333333333331	275.33333333333331	275.33333333333331	276	275.33333333333331	275.66666666666669	276.33333333333331	277	276	276.33333333333331	276.66666666666669	277	276.33333333333331	276.66666666666669	276	276.33333333333331	276.66666666666669	277.66666666666669	276.66666666666669	277	278	277.33333333333331	278	277.33333333333331	278	278	278.33333333333331	278.33333333333331	277.66666666666669	279.66666666666669	279.33333333333331	279.33333333333331	279.66666666666669	280	279.33333333333331	278.66666666666669	280	279.33333333333331	279	279.66666666666669	280.33333333333331	280.66666666666669	279.33333333333331	280	281	279.66666666666669	281	280.66666666666669	280.66666666666669	280.33333333333331	281.33333333333331	281	281.33333333333331	280.66666666666669	281	282.33333333333331	281.33333333333331	282	281.66666666666669	282.33333333333331	281.33333333333331	282.66666666666669	282.33333333333331	282.66666666666669	282.66666666666669	283	283	283.33333333333331	283	283.66666666666669	284	284	284.33333333333331	284	283.66666666666669	284.33333333333331	284.66666666666669	284.33333333333331	284.33333333333331	285.33333333333331	285.33333333333331	284.66666666666669	284.66666666666669	285.66666666666669	285.33333333333331	286	285.66666666666669	285.66666666666669	286	285.66666666666669	286.33333333333331	286.33333333333331	286	286.66666666666669	286.66666666666669	287	287	287.33333333333331	287.33333333333331	287.33333333333331	287.33333333333331	287.66666666666669	288	288	288.33333333333331	288	288.33333333333331	288.33333333333331	289	288.66666666666669	289.33333333333331	289	289	289.33333333333331	289.33333333333331	290	289.66666666666669	289.66666666666669	290.33333333333331	290.66666666666669	290.33333333333331	290	290.66666666666669	291.33333333333331	290.66666666666669	290.66666666666669	291.33333333333331	291.33333333333331	291.33333333333331	291.66666666666669	292	291.66666666666669	292	292	292.33333333333331	292.66666666666669	292.33333333333331	292.66666666666669	292.33333333333331	292.66666666666669	292.66666666666669	292.66666666666669	293.33333333333331	293.66666666666669	294	294	294	293.33333333333331	294.33333333333331	294.66666666666669	294	294.33333333333331	294.66666666666669	295	294.66666666666669	295	294.66666666666669	295.33333333333331	295	295.33333333333331	295.33333333333331	296	295.66666666666669	296.33333333333331	296.33333333333331	296.33333333333331	296	296.66666666666669	296.33333333333331	297	297.33333333333331	297.66666666666669	297.33333333333331	297.66666666666669	297	298	297.33333333333331	298.66666666666669	297.33333333333331	298.33333333333331	298.33333333333331	298.33333333333331	298.33333333333331	299.33333333333331	298.66666666666669	299	299.66666666666669	299.66666666666669	299.66666666666669	299.33333333333331	299.66666666666669	299.33333333333331	300.66666666666669	299.66666666666669	300.66666666666669	300.66666666666669	300.66666666666669	300.66666666666669	301	302	301	301.66666666666669	301.66666666666669	302	301.33333333333331	301.33333333333331	301.66666666666669	301.66666666666669	301.66666666666669	303	302.66666666666669	302.66666666666669	302.33333333333331	303	302.66666666666669	302.66666666666669	303	303	303.66666666666669	303.33333333333331	303.66666666666669	304.33333333333331	304.33333333333331	303.66666666666669	304	304.66666666666669	305	304.33333333333331	305	305.33333333333331	305	305	305	306	305.33333333333331	305.33333333333331	306	306	306.66666666666669	306.33333333333331	307	306.66666666666669	306.66666666666669	307.66666666666669	307	307.33333333333331	307	307.33333333333331	307	307.66666666666669	308.33333333333331	307.66666666666669	307.66666666666669	308.33333333333331	308.33333333333331	308.66666666666669	308.33333333333331	309	309	309.33333333333331	309.33333333333331	309.33333333333331	309	309.33333333333331	309.66666666666669	309.33333333333331	310	310	309.66666666666669	310.33333333333331	310.66666666666669	310.66666666666669	310.66666666666669	310.66666666666669	311.33333333333331	311	311.33333333333331	311	311.66666666666669	312.33333333333331	312.66666666666669	311.66666666666669	312.33333333333331	312.33333333333331	312.66666666666669	312	312.33333333333331	313	313	313	313.66666666666669	313	313.66666666666669	313.66666666666669	313.66666666666669	314	313.66666666666669	313.66666666666669	315	314.66666666666669	314.66666666666669	314.33333333333331	314.66666666666669	315.33333333333331	314.66666666666669	316	315.66666666666669	316.33333333333331	315.66666666666669	316	316.33333333333331	316	316	316	316.33333333333331	316.66666666666669	317	317	316.66666666666669	317	317.66666666666669	317.33333333333331	317.66666666666669	317.33333333333331	317.33333333333331	317.66666666666669	318	318	317.66666666666669	318.33333333333331	318.66666666666669	318.33333333333331	318.33333333333331	318.66666666666669	319	319.33333333333331	318.66666666666669	319	319.66666666666669	320	319.33333333333331	320.33333333333331	319.66666666666669	319.66666666666669	320	320	319.66666666666669	320	321	321	320.66666666666669	321.33333333333331	321.66666666666669	320.66666666666669	321	321.66666666666669	321.33333333333331	322	322	322.33333333333331	322	322.66666666666669	323	322.66666666666669	322.33333333333331	322.66666666666669	323	323	323.33333333333331	323.33333333333331	323	323.66666666666669	323.33333333333331	323.33333333333331	323.66666666666669	323.33333333333331	324	324.33333333333331	324	324	324.66666666666669	324.66666666666669	324.66666666666669	325.66666666666669	324.66666666666669	325	325	325.66666666666669	325.33333333333331	325.66666666666669	326	326.33333333333331	325.66666666666669	326.33333333333331	326.66666666666669	326.33333333333331	326.66666666666669	326.33333333333331	327	327	327.33333333333331	327.33333333333331	327	327.33333333333331	327.33333333333331	327.33333333333331	328.33333333333331	327.33333333333331	328	328.33333333333331	328.66666666666669	328.66666666666669	328	328.66666666666669	329	328.66666666666669	329	328.66666666666669	330	329.33333333333331	330.33333333333331	329.33333333333331	330.33333333333331	330.33333333333331	330.66666666666669	330	330.66666666666669	330	330.66666666666669	330.33333333333331	330	331	331	330.66666666666669	331.66666666666669	331.66666666666669	331.66666666666669	331.33333333333331	332	332.33333333333331	332.33333333333331	332.66666666666669	332.33333333333331	332.66666666666669	332.33333333333331	333	333.33333333333331	333.33333333333331	334.33333333333331	334	333.33333333333331	333.66666666666669	334.33333333333331	334	334.66666666666669	335.66666666666669	336	336	336	336.33333333333331	336	336	336.33333333333331	336.66666666666669	336	337	337	335.33333333333331	336	336.66666666666669	336.33333333333331	337.66666666666669	337	336.66666666666669	337	337	337	337	337	337.33333333333331	338	338	338	338.33333333333331	338.66666666666669	337.66666666666669	338.33333333333331	339.66666666666669	340	338.66666666666669	339.33333333333331	340	340	339.66666666666669	340.33333333333331	340	340	340.33333333333331	341	340.33333333333331	340.66666666666669	341.33333333333331	342.33333333333331	341	342.66666666666669	342.33333333333331	341.66666666666669	342	342.66666666666669	342.33333333333331	342.33333333333331	343	342.66666666666669	343.33333333333331	344.33333333333331	343.66666666666669	344.33333333333331	344	344	344.33333333333331	344.66666666666669	344.33333333333331	345.33333333333331	345.66666666666669	345.66666666666669	345.33333333333331	345.66666666666669	345.66666666666669	346.33333333333331	346.66666666666669	346.66666666666669	347	347	347.66666666666669	347.33333333333331	347.33333333333331	348	348	348	348.66666666666669	348.66666666666669	349	349.33333333333331	349	349	349	350	350.33333333333331	350.33333333333331	351	350.66666666666669	351.66666666666669	351	351	351	351.66666666666669	352	351.66666666666669	352.33333333333331	353	352.33333333333331	353.33333333333331	353.33333333333331	353	354	354	353.66666666666669	354	354.66666666666669	355	355.33333333333331	355	355.66666666666669	356	355.66666666666669	356.33333333333331	357	357	357	357.33333333333331	357.33333333333331	357.66666666666669	357.66666666666669	359	358.33333333333331	359.33333333333331	359.33333333333331	358.66666666666669	359.66666666666669	360.33333333333331	359.66666666666669	360.33333333333331	360.66666666666669	360.33333333333331	360.66666666666669	361	361.66666666666669	362	362	362	362.66666666666669	363	363.66666666666669	363.66666666666669	363.66666666666669	364	364.33333333333331	364.66666666666669	365	365	365.33333333333331	366.33333333333331	366	367	366.66666666666669	367	367	367.33333333333331	368	368.33333333333331	368.66666666666669	368.66666666666669	369.33333333333331	369	369.33333333333331	370	370.33333333333331	371	370.66666666666669	371	371.33333333333331	371.33333333333331	372	372.33333333333331	372.33333333333331	372.66666666666669	373.33333333333331	373.33333333333331	374	374.33333333333331	375.33333333333331	374.66666666666669	375	375.33333333333331	375.66666666666669	376.66666666666669	376.66666666666669	377.33333333333331	377.33333333333331	377.66666666666669	377.66666666666669	378	378.66666666666669	379.33333333333331	379.33333333333331	380	380	380.33333333333331	380.33333333333331	382	381.33333333333331	381.66666666666669	381.66666666666669	382	383	383.33333333333331	382.66666666666669	383.66666666666669	384	384	385	385.33333333333331	385.33333333333331	386	386.66666666666669	386	387	387.33333333333331	387.66666666666669	388	388.66666666666669	388.66666666666669	389.33333333333331	389.66666666666669	390.33333333333331	390.66666666666669	390.66666666666669	390.66666666666669	391.66666666666669	391.33333333333331	391.66666666666669	393	392.66666666666669	393.66666666666669	393	394	394.66666666666669	394.66666666666669	395.33333333333331	396	396.33333333333331	396.66666666666669	397	398	397.66666666666669	398.33333333333331	398.33333333333331	399	400	400	400	400.33333333333331	401	401.66666666666669	402.66666666666669	402.33333333333331	402	402.33333333333331	403	404	404	404.33333333333331	404.33333333333331	404.66666666666669	406	405.66666666666669	406	406.66666666666669	406.66666666666669	406.66666666666669	408	408.33333333333331	408	409	409.33333333333331	409.33333333333331	410.66666666666669	410.66666666666669	411.33333333333331	410.66666666666669	412	412.33333333333331	413	413	412.66666666666669	413.33333333333331	414.33333333333331	414	414.66666666666669	414.66666666666669	415.33333333333331	416	416.33333333333331	416.66666666666669	416.66666666666669	417	417.66666666666669	417.66666666666669	418.33333333333331	419.33333333333331	419.33333333333331	420	419.66666666666669	420.66666666666669	421	421	421.33333333333331	422	422	423	422.33333333333331	423	423.33333333333331	423.66666666666669	424.33333333333331	425	425.33333333333331	425.33333333333331	426	425.66666666666669	426.66666666666669	426.33333333333331	426.66666666666669	427	428	428.66666666666669	428	429	429.33333333333331	430	430	430.66666666666669	430.66666666666669	431.33333333333331	431.66666666666669	432	432	432.66666666666669	434	433.33333333333331	433.33333333333331	434	434.33333333333331	435.66666666666669	435	435.33333333333331	436	436.66666666666669	437	437.33333333333331	437.66666666666669	437.66666666666669	438	438.33333333333331	438.33333333333331	438.66666666666669	439.33333333333331	439.33333333333331	440.33333333333331	441	441.33333333333331	441.66666666666669	441.66666666666669	442	442.33333333333331	443.33333333333331	443	443.33333333333331	444.33333333333331	444.33333333333331	445	445.33333333333331	445.66666666666669	445.33333333333331	445.66666666666669	447.33333333333331	447.33333333333331	447.33333333333331	447.66666666666669	447.33333333333331	447.66666666666669	448.33333333333331	448.33333333333331	448.66666666666669	449	449.66666666666669	450	450.33333333333331	451.33333333333331	451	451.33333333333331	451.33333333333331	451.66666666666669	452.33333333333331	453	452.66666666666669	453	453.33333333333331	453.66666666666669	454.33333333333331	454.66666666666669	455	454.66666666666669	454.66666666666669	455.66666666666669	456.33333333333331	456.66666666666669	456.33333333333331	456.33333333333331	457.66666666666669	457.66666666666669	457.66666666666669	458.33333333333331	459	459	459	459.33333333333331	460	460	460.33333333333331	460.66666666666669	461	462.33333333333331	461.66666666666669	462	463	463.33333333333331	463	462.66666666666669	462.66666666666669	462	462.33333333333331	462.33333333333331	462	462	462.33333333333331	461	462	461.66666666666669	462.66666666666669	462.66666666666669	463	464.33333333333331	465	465	466	466	466	467	468	467.33333333333331	468	468.33333333333331	468.66666666666669	469.33333333333331	3 g/h/L	0	2	4	6	8	10	12	14	16	18	20	22	24	26	28	30	32	34	36	38	40	42	44	46	48	50	52	54	56	58	60	62	64	66	68	70	72	74	76	78	80	82	84	86	88	90	92	94	96	98	100	102	104	106	108	110	112	114	116	118	120	122	124	126	128	130	132	134	136	138	140	142	144	146	148	150	152	154	156	158	160	162	164	166	168	170	172	174	176	178	180	182	184	186	188	190	192	194	196	198	200	202	204	206	208	210	212	214	216	218	220	222	224	226	228	230	232	234	236	238	240	242	244	246	248	250	252	254	256	258	260	262	264	266	268	270	272	274	276	278	280	282	284	286	288	290	292	294	296	298	300	302	304	306	308	310	312	314	316	318	320	322	324	326	328	330	332	334	336	338	340	342	344	346	348	350	352	354	356	358	360	362	364	366	368	370	372	374	376	378	380	382	384	386	388	390	392	394	396	398	400	402	404	406	408	410	412	414	416	418	420	422	424	426	428	430	432	434	436	438	440	442	444	446	448	450	452	454	456	458	460	462	464	466	468	470	472	474	476	478	480	482	484	486	488	490	492	494	496	498	500	502	504	506	508	510	512	514	516	518	520	522	524	526	528	530	532	534	536	538	540	542	544	546	548	550	552	554	556	558	560	562	564	566	568	570	572	574	576	578	580	582	584	586	588	590	592	594	596	598	600	602	604	606	608	610	612	614	616	618	620	622	624	626	628	630	632	634	636	638	640	642	644	646	648	650	652	654	656	658	660	662	664	666	668	670	672	674	676	678	680	682	684	686	688	690	692	694	696	698	700	702	704	706	708	710	712	714	716	718	720	722	724	726	728	730	732	734	736	738	740	742	744	746	748	750	752	754	756	758	760	762	764	766	768	770	772	774	776	778	780	782	784	786	788	790	792	794	796	798	800	802	804	806	808	810	812	814	816	818	820	822	824	826	828	830	832	834	836	838	840	842	844	846	848	850	852	854	856	858	860	862	864	866	868	870	872	874	876	878	880	882	884	886	888	890	892	894	896	898	900	902	904	906	908	910	912	914	916	918	920	922	924	926	928	930	932	934	936	938	940	942	944	946	948	950	952	954	956	958	960	962	964	966	968	970	972	974	976	978	980	982	984	986	988	990	992	994	996	998	1000	1002	1004	1006	1008	1010	1012	1014	1016	1018	1020	1022	1024	1026	1028	1030	1032	1034	1036	1038	1040	1042	1044	1046	1048	1050	1052	1054	1056	1058	1060	1062	1064	1066	1068	1070	1072	1074	1076	1078	1080	1082	1084	1086	1088	1090	1092	1094	1096	1098	1100	1102	1104	1106	1108	1110	1112	1114	1116	1118	1120	1122	1124	1126	1128	1130	1132	1134	1136	1138	1140	1142	1144	1146	1148	1150	1152	1154	1156	1158	1160	1162	1164	1166	1168	1170	1172	1174	1176	1178	1180	1182	1184	1186	1188	1190	1192	1194	1196	1198	1200	1202	1204	1206	1208	1210	1212	1214	1216	1218	1220	1222	1224	1226	1228	1230	1232	1234	1236	1238	1240	1242	1244	1246	1248	1250	1252	1254	1256	1258	1260	1262	1264	1266	1268	1270	1272	1274	1276	1278	1280	1282	1284	1286	1288	1290	1292	1294	1296	1298	1300	1302	1304	1306	1308	1310	1312	1314	1316	1318	1320	1322	1324	1326	1328	1330	1332	1334	1336	1338	1340	1342	1344	1346	1348	1350	1352	1354	1356	1358	1360	1362	1364	1366	1368	1370	1372	1374	1376	1378	1380	1382	1384	1386	1388	1390	1392	1394	1396	1398	1400	1402	1404	1406	1408	1410	1412	1414	1416	1418	1420	1422	1424	1426	1428	1430	1432	1434	1436	1438	1440	1442	1444	1446	1448	1450	1452	1454	1456	1458	1460	1462	1464	1466	1468	1470	1472	1474	1476	1478	1480	1482	1484	1486	1488	1490	1492	1494	1496	1498	1500	1502	1504	1506	1508	1510	1512	1514	1516	1518	1520	1522	1524	1526	1528	1530	1532	1534	1536	1538	1540	1542	1544	1546	1548	1550	1552	1554	1556	1558	1560	1562	1564	1566	1568	1570	1572	1574	1576	1578	1580	1582	1584	1586	1588	1590	1592	1594	1596	1598	1600	1602	1604	1606	1608	1610	1612	1614	1616	1618	1620	1622	1624	1626	1628	1630	1632	1634	1636	1638	1640	1642	1644	1646	1648	1650	1652	1654	1656	1658	1660	1662	1664	1666	1668	1670	1672	1674	1676	1678	1680	1682	1684	1686	1688	1690	1692	1694	1696	1698	1700	1702	1704	1706	1708	1710	1712	1714	1716	1718	1720	1722	1724	1726	1728	1730	1732	1734	1736	1738	1740	1742	1744	1746	1748	1750	1752	1754	1756	1758	1760	1762	1764	1766	1768	1770	1772	1774	1776	1778	1780	1782	1784	1786	1788	1790	1792	1794	1796	1798	1800	1802	1804	1806	1808	1810	1812	1814	1816	1818	1820	1822	1824	1826	1828	1830	1832	1834	1836	1838	1840	1842	1844	1846	1848	1850	1852	1854	1856	1858	1860	1862	1864	1866	1868	1870	1872	1874	1876	1878	1880	1882	1884	1886	1888	1890	1892	1894	1896	1898	1900	1902	1904	1906	1908	1910	1912	1914	1916	1918	1920	1922	1924	1926	1928	1930	1932	1934	1936	1938	1940	1942	1944	1946	1948	1950	1952	1954	1956	1958	1960	1962	1964	1966	1968	1970	1972	1974	1976	1978	1980	1982	1984	1986	1988	1990	1992	1994	1996	1998	2000	2002	2004	2006	2008	2010	2012	2014	2016	2018	2020	2022	2024	2026	2028	2030	2032	2034	2036	2038	2040	2042	2044	2046	2048	2050	2052	2054	2056	2058	2060	2062	2064	2066	2068	2070	2072	2074	2076	2078	2080	2082	2084	2086	2088	2090	2092	2094	2096	2098	2100	2102	2104	2106	2108	2110	2112	2114	2116	2118	2120	2122	2124	2126	2128	2130	2132	2134	2136	2138	2140	2142	2144	2146	2148	2150	2152	2154	2156	2158	2160	2162	2164	2166	2168	2170	2172	2174	2176	2178	2180	2182	2184	2186	2188	2190	2192	2194	2196	2198	2200	2202	2204	2206	2208	2210	2212	2214	2216	2218	2220	2222	2224	2226	2228	2230	2232	2234	2236	2238	2240	2242	2244	2246	2248	2250	2252	2254	2256	2258	2260	2262	2264	2266	2268	2270	2272	2274	2276	2278	2280	2282	2284	2286	2288	2290	2292	2294	2296	2298	2300	2302	2304	2306	2308	2310	2312	2314	2316	2318	2320	2322	2324	2326	2328	2330	2332	2334	2336	2338	2340	2342	2344	2346	2348	2350	2352	2354	2356	2358	2360	2362	2364	2366	2368	2370	2372	2374	2376	2378	2380	2382	2384	2386	2388	2390	2392	2394	2396	2398	2400	2402	2404	2406	2408	2410	2412	2414	2416	2418	2420	2422	2424	2426	2428	2430	2432	2434	2436	2438	2440	2442	2444	2446	2448	2450	2452	2454	2456	2458	2460	2462	2464	2466	2468	2470	2472	2474	2476	2478	2480	2482	2484	2486	2488	2490	2492	2494	2496	2498	2500	2502	2504	2506	2508	2510	2512	2514	2516	2518	2520	2522	2524	2526	2528	2530	2532	2534	2536	2538	2540	2542	2544	2546	2548	2550	2552	2554	2556	2558	2560	2562	2564	2566	2568	2570	2572	2574	2576	2578	2580	2582	2584	2586	2588	2590	2592	2594	2596	2598	2600	2602	2604	2606	2608	2610	2612	2614	2616	2618	2620	2622	2624	2626	2628	2630	2632	2634	2636	2638	2640	2642	2644	2646	2648	2650	2652	2654	2656	2658	2660	2662	2664	2666	2668	2670	2672	2674	2676	2678	2680	2682	2684	2686	2688	2690	2692	2694	2696	2698	2700	2702	2704	2706	2708	2710	2712	2714	2716	2718	2720	2722	2724	2726	2728	2730	2732	2734	2736	2738	2740	2742	2744	2746	2748	2750	2752	2754	2756	2758	2760	2762	2764	2766	2768	2770	2772	2774	2776	2778	2780	2782	2784	2786	2788	2790	2792	2794	2796	2798	2800	2802	2804	2806	2808	2810	2812	2814	2816	2818	2820	2822	2824	2826	2828	2830	2832	2834	2836	2838	2840	2842	2844	2846	2848	2850	2852	2854	2856	2858	2860	2862	2864	2866	2868	2870	2872	2874	2876	2878	2880	2882	2884	2886	2888	2890	2892	2894	2896	2898	2900	2902	2904	2906	2908	2910	2912	2914	2916	2918	2920	2922	2924	2926	2928	2930	2932	2934	2936	2938	2940	2942	2944	2946	2948	2950	2952	2954	2956	2958	2960	2962	2964	2966	2968	2970	2972	2974	2976	2978	2980	2982	2984	2986	2988	2990	2992	2994	2996	2998	3000	3002	3004	3006	3008	3010	3012	3014	3016	3018	3020	3022	3024	3026	3028	3030	3032	3034	3036	3038	3040	3042	3044	3046	3048	3050	3052	3054	3056	3058	3060	3062	3064	3066	3068	3070	3072	3074	3076	3078	3080	3082	3084	3086	3088	3090	3092	3094	3096	3098	3100	3102	3104	3106	3108	3110	3112	3114	3116	3118	3120	3122	3124	3126	3128	3130	3132	3134	3136	3138	3140	3142	3144	3146	3148	3150	3152	3154	3156	3158	3160	3162	3164	3166	3168	3170	3172	3174	3176	3178	3180	3182	3184	3186	3188	3190	3192	3194	3196	3198	3200	3202	3204	3206	3208	3210	3212	3214	3216	3218	3220	3222	3224	3226	3228	3230	3232	3234	3236	3238	3240	3242	3244	3246	3248	3250	3252	3254	3256	3258	3260	3262	3264	3266	3268	3270	3272	3274	3276	3278	3280	3282	3284	3286	3288	3290	3292	3294	3296	3298	3300	3302	3304	3306	3308	3310	3312	3314	3316	3318	3320	3322	3324	3326	3328	3330	3332	3334	3336	3338	3340	3342	3344	3346	3348	3350	3352	3354	3356	3358	3360	3362	3364	3366	3368	3370	3372	3374	3376	3378	3380	3382	3384	3386	3388	3390	3392	3394	3396	3398	3400	3402	3404	3406	3408	3410	3412	3414	3416	3418	3420	3422	3424	3426	3428	3430	3432	3434	3436	3438	3440	3442	3444	3446	3448	3450	3452	3454	3456	3458	3460	3462	3464	3466	3468	3470	3472	3474	3476	3478	3480	3482	3484	3486	3488	3490	3492	3494	3496	3498	3500	3502	3504	3506	3508	3510	3512	3514	3516	3518	3520	3522	3524	3526	3528	3530	3532	3534	3536	3538	3540	3542	3544	3546	3548	3550	3552	3554	3556	3558	3560	3562	3564	3566	3568	3570	3572	3574	3576	3578	3580	3582	3584	3586	3588	3590	3592	3594	3596	3598	3600	249.66666666666666	252.33333333333334	255.66666666666666	257.66666666666669	262	263.66666666666669	265	266	266.33333333333331	266.33333333333331	266	266.33333333333331	266.33333333333331	266.33333333333331	266.66666666666669	266.33333333333331	266.66666666666669	266.33333333333331	266	265.66666666666669	266	266.66666666666669	266.33333333333331	265.66666666666669	265.66666666666669	264.33333333333331	264.66666666666669	264.33333333333331	264.66666666666669	265	264	264	264	263	263.66666666666669	263	263.33333333333331	263	263.33333333333331	262.33333333333331	262.33333333333331	262.33333333333331	262.33333333333331	261.33333333333331	261.33333333333331	261.33333333333331	261	261.33333333333331	261.66666666666669	260.66666666666669	260.66666666666669	260.66666666666669	260.33333333333331	260.33333333333331	259	260	258.66666666666669	258.66666666666669	258.33333333333331	259.33333333333331	258.66666666666669	259	258.66666666666669	258.33333333333331	257.66666666666669	258	258.33333333333331	258	257.66666666666669	257.66666666666669	257.33333333333331	256.66666666666669	257	257	257	256.33333333333331	256.33333333333331	256.33333333333331	256.66666666666669	257	256.66666666666669	256	256.66666666666669	255.33333333333334	256	256	255.66666666666666	256	255.66666666666666	255.66666666666666	255.66666666666666	255.66666666666666	256.33333333333331	255.66666666666666	255.33333333333334	255.33333333333334	255	255	255	255	254.33333333333334	255	255	255	254.66666666666666	254.33333333333334	254.66666666666666	254.66666666666666	254.66666666666666	254.66666666666666	254.33333333333334	254.33333333333334	254.33333333333334	254	254	254	254.66666666666666	254	254.33333333333334	254	254	254	253.66666666666666	254	253.66666666666666	254.66666666666666	254	253.66666666666666	253.66666666666666	254	253.33333333333334	253	254	252.66666666666666	253.33333333333334	253	252.66666666666666	253	252.66666666666666	253.33333333333334	252.33333333333334	252.66666666666666	253.66666666666666	253	252.33333333333334	252.33333333333334	253	252.33333333333334	252.33333333333334	253	252.33333333333334	252.66666666666666	252.33333333333334	252.33333333333334	253	252	252.66666666666666	253	253	252	251.33333333333334	252.33333333333334	251.66666666666666	252	252.33333333333334	252	251.33333333333334	251.33333333333334	251.66666666666666	252	251.66666666666666	252.66666666666666	252	251.66666666666666	251.33333333333334	251	251.33333333333334	251.66666666666666	251.66666666666666	251.33333333333334	251.33333333333334	250.66666666666666	251	251.33333333333334	250.66666666666666	251.33333333333334	251.33333333333334	250.66666666666666	251.33333333333334	251.33333333333334	251	250.33333333333334	251	251	251	251.33333333333334	250.66666666666666	251.33333333333334	251	250.33333333333334	250.33333333333334	251	250.66666666666666	250.33333333333334	251	250.33333333333334	250.66666666666666	251	250.33333333333334	250.66666666666666	250.33333333333334	250.66666666666666	250.66666666666666	250.66666666666666	250.33333333333334	250.33333333333334	251	250.66666666666666	250.33333333333334	250.33333333333334	251	250.33333333333334	250.33333333333334	250.33333333333334	250.66666666666666	250.66666666666666	250.33333333333334	249.66666666666666	250.33333333333334	250.33333333333334	250.33333333333334	251	250	250	250.66666666666666	250.66666666666666	250.33333333333334	249.66666666666666	249.33333333333334	250.33333333333334	250.66666666666666	249.66666666666666	249.66666666666666	250.33333333333334	249.66666666666666	250.33333333333334	249.66666666666666	249.66666666666666	249.66666666666666	249.66666666666666	250	249.66666666666666	249.33333333333334	250	250	250	249.66666666666666	249.66666666666666	249.66666666666666	249.66666666666666	250.66666666666666	249.33333333333334	249.66666666666666	249.66666666666666	249.33333333333334	249.33333333333334	249.66666666666666	249.66666666666666	249.66666666666666	249.66666666666666	250.33333333333334	249.66666666666666	250.33333333333334	249.33333333333334	249	249.66666666666666	249.66666666666666	249.66666666666666	249.33333333333334	249.33333333333334	249.33333333333334	249.33333333333334	249.33333333333334	249.33333333333334	249.33333333333334	249.66666666666666	249.33333333333334	249	249.66666666666666	249.66666666666666	249.66666666666666	249	249.33333333333334	250	249	249.66666666666666	249.33333333333334	249.33333333333334	249.66666666666666	249.66666666666666	249.66666666666666	249	249.33333333333334	249.33333333333334	249.66666666666666	249	250	249	249.33333333333334	249	249.33333333333334	248.66666666666666	249	249.33333333333334	249.33333333333334	249	249	249.33333333333334	249	248.66666666666666	249	249	249	249.33333333333334	249.33333333333334	248.66666666666666	249	249.66666666666666	249	249	249	248.66666666666666	249	249	248.66666666666666	248.66666666666666	249	249.33333333333334	249	249	249.33333333333334	248.66666666666666	248.66666666666666	249	249	248.66666666666666	248.66666666666666	249	248.66666666666666	249	249	248.66666666666666	249	248.66666666666666	249	249	248.33333333333334	249	248.66666666666666	249	248.66666666666666	249	248.66666666666666	248.66666666666666	249	249.33333333333334	249	248.66666666666666	248.66666666666666	248.33333333333334	248.66666666666666	248.66666666666666	248.66666666666666	248.66666666666666	248	248	249	248.66666666666666	249	248.66666666666666	248.33333333333334	248.33333333333334	248	248.33333333333334	248.66666666666666	248	248.66666666666666	248.33333333333334	248.33333333333334	249.33333333333334	249	249	249.33333333333334	248.66666666666666	248.33333333333334	248.66666666666666	248.33333333333334	248	248	248.33333333333334	248.33333333333334	248	248.66666666666666	248	248	248	248	248	248	248.66666666666666	248	247.66666666666666	248	247.66666666666666	248.33333333333334	248.33333333333334	248.33333333333334	248	248	248	248	247.66666666666666	248	248	248	248.33333333333334	248	248.66666666666666	248.33333333333334	248	248.33333333333334	248	248.33333333333334	247.33333333333334	248.33333333333334	248.33333333333334	248	247.66666666666666	248	248	248.33333333333334	248	248	248	248.33333333333334	248	248	248	248	248.33333333333334	248	248.33333333333334	248.66666666666666	248.33333333333334	247.66666666666666	248	248.66666666666666	248.66666666666666	248	248.33333333333334	248.33333333333334	249	248	248.66666666666666	248.66666666666666	248.66666666666666	247.66666666666666	248.33333333333334	248.33333333333334	248.33333333333334	248.33333333333334	248.33333333333334	248	248.66666666666666	248	248.66666666666666	248	248	248.33333333333334	247.66666666666666	248	248.33333333333334	248.66666666666666	248	248.33333333333334	248.66666666666666	248	248	248.33333333333334	248.33333333333334	248.33333333333334	248	248.66666666666666	248	249.33333333333334	248	248.66666666666666	248.33333333333334	249	248.33333333333334	248	248	248	248	248.66666666666666	248.33333333333334	248.66666666666666	248.66666666666666	248.33333333333334	248.66666666666666	249	247.66666666666666	249	247.66666666666666	248.66666666666666	248.66666666666666	248.66666666666666	248	248	248	248.33333333333334	248.33333333333334	248	248.33333333333334	248.66666666666666	248.33333333333334	248.66666666666666	248.33333333333334	248	248.33333333333334	248.33333333333334	248.66666666666666	249	248.66666666666666	249.33333333333334	248.33333333333334	248	248.66666666666666	248.33333333333334	248	248.66666666666666	248	248.66666666666666	248.33333333333334	248.33333333333334	248.33333333333334	248	248	248.33333333333334	248.33333333333334	248.66666666666666	248.66666666666666	248.66666666666666	248.33333333333334	248.33333333333334	248.33333333333334	248	248	248.33333333333334	248.33333333333334	248	248.66666666666666	248	248	248	248	247.66666666666666	248.33333333333334	248	248	248.33333333333334	247.66666666666666	247.66666666666666	248	248.33333333333334	248	248	248.33333333333334	248	248	248	247.66666666666666	248	248.66666666666666	248	249.33333333333334	249	248	248	248.33333333333334	248	247.66666666666666	248	248	248	248.33333333333334	248	248.33333333333334	248	247.66666666666666	248.33333333333334	248	248	247.66666666666666	248	247.66666666666666	248	248	247.33333333333334	248	248.33333333333334	247.66666666666666	247.33333333333334	248	248	248	248.33333333333334	247.66666666666666	248	248	248.66666666666666	247.66666666666666	248	247.66666666666666	247.66666666666666	248	248	248.33333333333334	248.33333333333334	248	248.33333333333334	248.66666666666666	247.66666666666666	248	248.33333333333334	248.33333333333334	248.33333333333334	247.66666666666666	248.66666666666666	248	248.33333333333334	248	248	248.33333333333334	248.66666666666666	248	248	248	248.33333333333334	247.66666666666666	248.33333333333334	247.66666666666666	248.33333333333334	248.33333333333334	248.33333333333334	248	248	248.33333333333334	247.66666666666666	248	248	248	248	248.33333333333334	248	248	248	248	248.33333333333334	248.66666666666666	248.33333333333334	248	248.33333333333334	247.66666666666666	248.33333333333334	248.33333333333334	248	248	248	248.33333333333334	247.66666666666666	248	247.66666666666666	248.33333333333334	247.66666666666666	248	248	248	248	247.33333333333334	248	248.33333333333334	248	247.66666666666666	248	248	247.66666666666666	247.66666666666666	247.66666666666666	247.66666666666666	248	247.66666666666666	248	248.33333333333334	248.33333333333334	248.33333333333334	248	248	247.66666666666666	248	247.66666666666666	247.66666666666666	248	247.66666666666666	247.66666666666666	248	248	247.66666666666666	247.66666666666666	248	248.33333333333334	248	248	247.66666666666666	248	248	248	248.66666666666666	247.66666666666666	247.66666666666666	248	248	248.33333333333334	248	248	248.66666666666666	247.66666666666666	248.33333333333334	248	247.66666666666666	248	248	248.33333333333334	248	248.66666666666666	248	248.33333333333334	248	247.66666666666666	248.33333333333334	248.33333333333334	248.33333333333334	248	248.33333333333334	248	248.33333333333334	248	248	248	248	248.33333333333334	248.33333333333334	248	247.33333333333334	248	248.33333333333334	248.33333333333334	248	248	248.66666666666666	247.66666666666666	248.66666666666666	248	249	247.66666666666666	248	248	248	247.66666666666666	247.66666666666666	248.66666666666666	248	248	248.33333333333334	248.66666666666666	248.66666666666666	248	248.33333333333334	248	248.66666666666666	248	248	248.33333333333334	248.33333333333334	248.66666666666666	248.33333333333334	248	248	248.33333333333334	248.66666666666666	247.66666666666666	248	248	248.33333333333334	248.33333333333334	248	248.33333333333334	248.66666666666666	248	249	248.33333333333334	248	248.66666666666666	248.33333333333334	248.66666666666666	248.66666666666666	248.66666666666666	248.66666666666666	248.66666666666666	248.33333333333334	248.66666666666666	248.33333333333334	248.33333333333334	248.66666666666666	248.33333333333334	249	248.66666666666666	248.66666666666666	248	248.33333333333334	248	248	248.66666666666666	248.33333333333334	248	248.66666666666666	248	248.33333333333334	248	247.66666666666666	247.66666666666666	247.66666666666666	248.33333333333334	248	248	248.33333333333334	248.33333333333334	248	248.33333333333334	248	248	248.33333333333334	248.33333333333334	247.66666666666666	248.33333333333334	247.66666666666666	248	247.66666666666666	248	248.33333333333334	248	249	248	248.33333333333334	248.66666666666666	248	248.33333333333334	249	248.33333333333334	248	248.66666666666666	249	248.33333333333334	248.33333333333334	249	249	248	248.33333333333334	248.66666666666666	248.33333333333334	248.33333333333334	248.66666666666666	248.66666666666666	248.33333333333334	248.66666666666666	248.33333333333334	248.33333333333334	249	248.33333333333334	248.66666666666666	248.33333333333334	249	248.66666666666666	249.33333333333334	249	248.33333333333334	248.66666666666666	249	249	249	247.66666666666666	248.33333333333334	249	249	249.33333333333334	247.66666666666666	248.33333333333334	248.33333333333334	248.66666666666666	249.33333333333334	248.66666666666666	249	248.66666666666666	249.33333333333334	249.33333333333334	249	248	248.66666666666666	248	249.66666666666666	248.66666666666666	248.33333333333334	248.66666666666666	249.33333333333334	249	249	249	248.66666666666666	248	248.33333333333334	249	248.66666666666666	248.66666666666666	248	248.33333333333334	248	249	248.33333333333334	248.66666666666666	249	249.66666666666666	249.33333333333334	250	248.66666666666666	248.66666666666666	249	248.33333333333334	249.33333333333334	249	249.33333333333334	249	248.66666666666666	248	249	249	248	249	248.66666666666666	248.66666666666666	249	248.66666666666666	248.66666666666666	249	249	248.66666666666666	249.33333333333334	249.33333333333334	249.66666666666666	249	249	249.33333333333334	249.66666666666666	249	248.33333333333334	248.66666666666666	249	249	249.33333333333334	248.66666666666666	249.33333333333334	249.33333333333334	250	249	249.33333333333334	249.33333333333334	248.66666666666666	248.66666666666666	249	248.33333333333334	249.33333333333334	249.66666666666666	248.66666666666666	249.33333333333334	249.33333333333334	249.33333333333334	249.33333333333334	249.33333333333334	249.33333333333334	249	249	248.33333333333334	248.66666666666666	248.66666666666666	248.66666666666666	249	249.33333333333334	249	249	249.66666666666666	248.66666666666666	249	248.66666666666666	249.33333333333334	249	248.66666666666666	249	249.33333333333334	248.66666666666666	249	248.66666666666666	249.33333333333334	249.33333333333334	249	249.66666666666666	249	250	249.33333333333334	249.33333333333334	250	249.66666666666666	249.33333333333334	249	249	249.33333333333334	249.33333333333334	249.33333333333334	248.66666666666666	249.33333333333334	249	249.33333333333334	249.33333333333334	249.33333333333334	249	249.33333333333334	249	249.66666666666666	249.66666666666666	248.66666666666666	249.33333333333334	249.66666666666666	250	249.33333333333334	249	249.33333333333334	249.66666666666666	249.33333333333334	249.66666666666666	249.33333333333334	250	249.66666666666666	249.66666666666666	249.66666666666666	249	249.33333333333334	250	249.33333333333334	249.66666666666666	249.66666666666666	249.33333333333334	250	249.33333333333334	249.33333333333334	250	249.66666666666666	250.33333333333334	249	249.66666666666666	249.66666666666666	249.66666666666666	249.66666666666666	250	250	249.66666666666666	249.33333333333334	249.66666666666666	249.66666666666666	250	249.33333333333334	250	249.33333333333334	249.33333333333334	250	250.33333333333334	250	249.66666666666666	250	250.33333333333334	249.66666666666666	249.66666666666666	250	250.66666666666666	249.66666666666666	250	249.66666666666666	250	250	249.66666666666666	250	250	250	249.66666666666666	250	249.66666666666666	250	250	249.66666666666666	250	250	251	250.33333333333334	250	250.33333333333334	251	250.66666666666666	250.33333333333334	250	250.66666666666666	250.66666666666666	251	250.33333333333334	250.66666666666666	250.66666666666666	250.33333333333334	251	250.33333333333334	250.33333333333334	250.66666666666666	251.33333333333334	251	250.33333333333334	250.66666666666666	250.66666666666666	251	251.33333333333334	250.66666666666666	250.66666666666666	250.33333333333334	250.33333333333334	250.66666666666666	251.33333333333334	251.33333333333334	251.33333333333334	250.66666666666666	251.33333333333334	250.66666666666666	251.33333333333334	250.33333333333334	251.33333333333334	250.66666666666666	250.66666666666666	251	250.33333333333334	251.33333333333334	250.66666666666666	250.66666666666666	251	250.66666666666666	250.33333333333334	251	251	251.66666666666666	250.66666666666666	250.66666666666666	251.66666666666666	251	251.66666666666666	250	251	250.66666666666666	251	251	251	251	251.66666666666666	251	251	251.33333333333334	250.66666666666666	251.33333333333334	251	250.66666666666666	252	250.66666666666666	251.66666666666666	252	251	251.33333333333334	250.66666666666666	251	252	251	251.33333333333334	252	251.33333333333334	251.33333333333334	251	251.33333333333334	251.66666666666666	251.66666666666666	251.33333333333334	251	251	251.66666666666666	251.66666666666666	251.33333333333334	252.33333333333334	251	251.33333333333334	252	251.33333333333334	252	251.66666666666666	251.66666666666666	251.66666666666666	252.33333333333334	252	252	252	251.33333333333334	251.33333333333334	251.33333333333334	251.66666666666666	251.66666666666666	251.66666666666666	252	251.66666666666666	251.66666666666666	251.66666666666666	252.33333333333334	252	252	251.33333333333334	251.33333333333334	252	251.66666666666666	252	252	251.66666666666666	252	252.33333333333334	251.66666666666666	251.33333333333334	252	252	252	251.66666666666666	252	252	252	251.66666666666666	251.66666666666666	252	252	252	252.66666666666666	253	252	252	251.33333333333334	251.66666666666666	252.33333333333334	252.33333333333334	251.66666666666666	252.66666666666666	252.66666666666666	253	252.66666666666666	252.66666666666666	252	251.66666666666666	252	252.33333333333334	252.33333333333334	252	252	252.66666666666666	251.66666666666666	252.66666666666666	252	252.66666666666666	252.33333333333334	252.33333333333334	253	253	252.33333333333334	252.33333333333334	252.66666666666666	252.66666666666666	252.33333333333334	253	252.66666666666666	252.66666666666666	252.66666666666666	252.66666666666666	253	253	253	253.33333333333334	252.66666666666666	253.33333333333334	252.33333333333334	253	253	252.66666666666666	252.66666666666666	252.66666666666666	252.66666666666666	253	252.66666666666666	252.66666666666666	252.66666666666666	252.66666666666666	252.66666666666666	253	253.33333333333334	253	253	252.66666666666666	253	253.33333333333334	253	252.66666666666666	253	253	253	252.66666666666666	253.66666666666666	252.66666666666666	253.33333333333334	253	253.66666666666666	253.33333333333334	253.66666666666666	253	253	253	254	253	253.66666666666666	253.66666666666666	253.66666666666666	253.66666666666666	253.66666666666666	254.33333333333334	253.66666666666666	253.66666666666666	253.33333333333334	253.33333333333334	253.66666666666666	253.66666666666666	254	254	253.33333333333334	254	253.66666666666666	254	253.33333333333334	253.66666666666666	254	254	254	253.33333333333334	254	254.33333333333334	254	253.66666666666666	254.33333333333334	254	254	254	254	254.33333333333334	254.33333333333334	254	254	255.33333333333334	254	254	254.33333333333334	254.33333333333334	254	254.66666666666666	255	254	254.33333333333334	255.33333333333334	254.66666666666666	254.33333333333334	254.66666666666666	254.33333333333334	254	254.33333333333334	255	254	254.66666666666666	255.33333333333334	254.66666666666666	254.66666666666666	255	254	255	254.33333333333334	254.33333333333334	255	254.33333333333334	255	255.66666666666666	255	255.33333333333334	255.66666666666666	254.33333333333334	255	256	254.66666666666666	255.33333333333334	255.66666666666666	255	254.66666666666666	255	255.33333333333334	254.66666666666666	255.33333333333334	255.33333333333334	255.33333333333334	255.66666666666666	255.66666666666666	255.33333333333334	255.33333333333334	255.66666666666666	255.66666666666666	255.33333333333334	256.33333333333331	256	255.33333333333334	256	255.66666666666666	256	255.66666666666666	255.66666666666666	256	256.33333333333331	256	256	256	255.66666666666666	256	255.33333333333334	256.66666666666669	255.33333333333334	256.33333333333331	256	256.66666666666669	256	256.33333333333331	256	255.66666666666666	256.66666666666669	256	255.66666666666666	256.33333333333331	256.66666666666669	256.33333333333331	256.33333333333331	256.33333333333331	257	255.66666666666666	256.66666666666669	256.33333333333331	256.33333333333331	256.66666666666669	256.66666666666669	256	256	256.66666666666669	256.33333333333331	256	256.33333333333331	256	256.66666666666669	256.33333333333331	256	256.33333333333331	256.66666666666669	256.33333333333331	256.33333333333331	256	256.66666666666669	256.33333333333331	257	256.33333333333331	256.66666666666669	257.33333333333331	256.66666666666669	256.33333333333331	256.66666666666669	257	256.33333333333331	257.33333333333331	257	257.66666666666669	256.66666666666669	257.33333333333331	257	257	257	256.66666666666669	257.33333333333331	257	257	257.66666666666669	257.66666666666669	257	257.66666666666669	257	258	257.33333333333331	257.33333333333331	257.33333333333331	259	257	258	258.33333333333331	257.66666666666669	257.33333333333331	258	258.33333333333331	257.66666666666669	257.33333333333331	258.33333333333331	258	257.66666666666669	258	258.66666666666669	257.66666666666669	258.33333333333331	258	259	258	258.33333333333331	258.33333333333331	257.66666666666669	258.66666666666669	258.33333333333331	258.66666666666669	259	259	258.33333333333331	258	258.66666666666669	258.33333333333331	258.66666666666669	258.33333333333331	258	258.33333333333331	259	258.66666666666669	258.33333333333331	259	259	259	259	259	259	258.66666666666669	259	259	258.66666666666669	258.66666666666669	258.66666666666669	259	259.33333333333331	258.66666666666669	259	258.66666666666669	260	259.33333333333331	258.66666666666669	259.33333333333331	259	259	259.66666666666669	259.33333333333331	259	259	259.66666666666669	259	259.66666666666669	259.33333333333331	260	259.33333333333331	259.33333333333331	259.33333333333331	259.66666666666669	260	260.33333333333331	260.33333333333331	260.33333333333331	260	260	259.66666666666669	260.33333333333331	260.33333333333331	260.66666666666669	259.66666666666669	261	260.33333333333331	260	260.33333333333331	260.66666666666669	260.33333333333331	260.66666666666669	260.66666666666669	260	260	260.33333333333331	261	260.66666666666669	260.66666666666669	261.66666666666669	261	261.33333333333331	260.66666666666669	261	260.66666666666669	261.33333333333331	261.33333333333331	261	260.33333333333331	261	261.33333333333331	261	260.66666666666669	261	261	261	261	261.33333333333331	261	261.66666666666669	261.33333333333331	261	261.33333333333331	261	261.33333333333331	261	261.66666666666669	261.33333333333331	261.33333333333331	261.66666666666669	262	261.66666666666669	262	261.66666666666669	262	262	261.66666666666669	261.66666666666669	262.66666666666669	262	261.66666666666669	261.66666666666669	261.66666666666669	262.66666666666669	262	262.66666666666669	262.66666666666669	263.33333333333331	262.33333333333331	262.66666666666669	263.66666666666669	262.66666666666669	263	263.33333333333331	263.33333333333331	263.33333333333331	262.66666666666669	263.33333333333331	263	263	263	263	263.33333333333331	263.33333333333331	263.66666666666669	263.33333333333331	263.33333333333331	263.66666666666669	264	264	264	264	263.66666666666669	263.33333333333331	263.66666666666669	264	264	263.33333333333331	264	264.33333333333331	264	264.33333333333331	264.33333333333331	264	263.66666666666669	264	264	264.33333333333331	263.66666666666669	264.33333333333331	264.66666666666669	264	264	264.33333333333331	264.66666666666669	264.33333333333331	264.33333333333331	264.33333333333331	264.66666666666669	264.33333333333331	264.33333333333331	264.66666666666669	264.33333333333331	265	264.33333333333331	265.33333333333331	264.66666666666669	264.66666666666669	265.33333333333331	264.66666666666669	265.33333333333331	264.33333333333331	265	265	265.66666666666669	265.66666666666669	265.33333333333331	265.66666666666669	266	266	265.66666666666669	265.33333333333331	265.33333333333331	266	265.66666666666669	265.66666666666669	266.33333333333331	266.66666666666669	266	266	266.33333333333331	266	266.33333333333331	267	266	266.66666666666669	266.33333333333331	266	266.66666666666669	266.66666666666669	266.66666666666669	266.66666666666669	266.33333333333331	267	266.66666666666669	266.33333333333331	266.66666666666669	267.66666666666669	266.33333333333331	266.66666666666669	266.66666666666669	266.66666666666669	267.66666666666669	267.33333333333331	267	267.66666666666669	266.66666666666669	268	268.33333333333331	268.33333333333331	268	268.33333333333331	267.33333333333331	267.33333333333331	267.33333333333331	268	267.33333333333331	268	268	267.66666666666669	268.66666666666669	268.66666666666669	2 g/h/L	0	2	4	6	8	10	12	14	16	18	20	22	24	26	28	30	32	34	36	38	40	42	44	46	48	50	52	54	56	58	60	62	64	66	68	70	72	74	76	78	80	82	84	86	88	90	92	94	96	98	100	102	104	106	108	110	112	114	116	118	120	122	124	126	128	130	132	134	136	138	140	142	144	146	148	150	152	154	156	158	160	162	164	166	168	170	172	174	176	178	180	182	184	186	188	190	192	194	196	198	200	202	204	206	208	210	212	214	216	218	220	222	224	226	228	230	232	234	236	238	240	242	244	246	248	250	252	254	256	258	260	262	264	266	268	270	272	274	276	278	280	282	284	286	288	290	292	294	296	298	300	302	304	306	308	310	312	314	316	318	320	322	324	326	328	330	332	334	336	338	340	342	344	346	348	350	352	354	356	358	360	362	364	366	368	370	372	374	376	378	380	382	384	386	388	390	392	394	396	398	400	402	404	406	408	410	412	414	416	418	420	422	424	426	428	430	432	434	436	438	440	442	444	446	448	450	452	454	456	458	460	462	464	466	468	470	472	474	476	478	480	482	484	486	488	490	492	494	496	498	500	502	504	506	508	510	512	514	516	518	520	522	524	526	528	530	532	534	536	538	540	542	544	546	548	550	552	554	556	558	560	562	564	566	568	570	572	574	576	578	580	582	584	586	588	590	592	594	596	598	600	602	604	606	608	610	612	614	616	618	620	622	624	626	628	630	632	634	636	638	640	642	644	646	648	650	652	654	656	658	660	662	664	666	668	670	672	674	676	678	680	682	684	686	688	690	692	694	696	698	700	702	704	706	708	710	712	714	716	718	720	722	724	726	728	730	732	734	736	738	740	742	744	746	748	750	752	754	756	758	760	762	764	766	768	770	772	774	776	778	780	782	784	786	788	790	792	794	796	798	800	802	804	806	808	810	812	814	816	818	820	822	824	826	828	830	832	834	836	838	840	842	844	846	848	850	852	854	856	858	860	862	864	866	868	870	872	874	876	878	880	882	884	886	888	890	892	894	896	898	900	902	904	906	908	910	912	914	916	918	920	922	924	926	928	930	932	934	936	938	940	942	944	946	948	950	952	954	956	958	960	962	964	966	968	970	972	974	976	978	980	982	984	986	988	990	992	994	996	998	1000	1002	1004	1006	1008	1010	1012	1014	1016	1018	1020	1022	1024	1026	1028	1030	1032	1034	1036	1038	1040	1042	1044	1046	1048	1050	1052	1054	1056	1058	1060	1062	1064	1066	1068	1070	1072	1074	1076	1078	1080	1082	1084	1086	1088	1090	1092	1094	1096	1098	1100	1102	1104	1106	1108	1110	1112	1114	1116	1118	1120	1122	1124	1126	1128	1130	1132	1134	1136	1138	1140	1142	1144	1146	1148	1150	1152	1154	1156	1158	1160	1162	1164	1166	1168	1170	1172	1174	1176	1178	1180	1182	1184	1186	1188	1190	1192	1194	1196	1198	1200	1202	1204	1206	1208	1210	1212	1214	1216	1218	1220	1222	1224	1226	1228	1230	1232	1234	1236	1238	1240	1242	1244	1246	1248	1250	1252	1254	1256	1258	1260	1262	1264	1266	1268	1270	1272	1274	1276	1278	1280	1282	1284	1286	1288	1290	1292	1294	1296	1298	1300	1302	1304	1306	1308	1310	1312	1314	1316	1318	1320	1322	1324	1326	1328	1330	1332	1334	1336	1338	1340	1342	1344	1346	1348	1350	1352	1354	1356	1358	1360	1362	1364	1366	1368	1370	1372	1374	1376	1378	1380	1382	1384	1386	1388	1390	1392	1394	1396	1398	1400	1402	1404	1406	1408	1410	1412	1414	1416	1418	1420	1422	1424	1426	1428	1430	1432	1434	1436	1438	1440	1442	1444	1446	1448	1450	1452	1454	1456	1458	1460	1462	1464	1466	1468	1470	1472	1474	1476	1478	1480	1482	1484	1486	1488	1490	1492	1494	1496	1498	1500	1502	1504	1506	1508	1510	1512	1514	1516	1518	1520	1522	1524	1526	1528	1530	1532	1534	1536	1538	1540	1542	1544	1546	1548	1550	1552	1554	1556	1558	1560	1562	1564	1566	1568	1570	1572	1574	1576	1578	1580	1582	1584	1586	1588	1590	1592	1594	1596	1598	1600	1602	1604	1606	1608	1610	1612	1614	1616	1618	1620	1622	1624	1626	1628	1630	1632	1634	1636	1638	1640	1642	1644	1646	1648	1650	1652	1654	1656	1658	1660	1662	1664	1666	1668	1670	1672	1674	1676	1678	1680	1682	1684	1686	1688	1690	1692	1694	1696	1698	1700	1702	1704	1706	1708	1710	1712	1714	1716	1718	1720	1722	1724	1726	1728	1730	1732	1734	1736	1738	1740	1742	1744	1746	1748	1750	1752	1754	1756	1758	1760	1762	1764	1766	1768	1770	1772	1774	1776	1778	1780	1782	1784	1786	1788	1790	1792	1794	1796	1798	1800	1802	1804	1806	1808	1810	1812	1814	1816	1818	1820	1822	1824	1826	1828	1830	1832	1834	1836	1838	1840	1842	1844	1846	1848	1850	1852	1854	1856	1858	1860	1862	1864	1866	1868	1870	1872	1874	1876	1878	1880	1882	1884	1886	1888	1890	1892	1894	1896	1898	1900	1902	1904	1906	1908	1910	1912	1914	1916	1918	1920	1922	1924	1926	1928	1930	1932	1934	1936	1938	1940	1942	1944	1946	1948	1950	1952	1954	1956	1958	1960	1962	1964	1966	1968	1970	1972	1974	1976	1978	1980	1982	1984	1986	1988	1990	1992	1994	1996	1998	2000	2002	2004	2006	2008	2010	2012	2014	2016	2018	2020	2022	2024	2026	2028	2030	2032	2034	2036	2038	2040	2042	2044	2046	2048	2050	2052	2054	2056	2058	2060	2062	2064	2066	2068	2070	2072	2074	2076	2078	2080	2082	2084	2086	2088	2090	2092	2094	2096	2098	2100	2102	2104	2106	2108	2110	2112	2114	2116	2118	2120	2122	2124	2126	2128	2130	2132	2134	2136	2138	2140	2142	2144	2146	2148	2150	2152	2154	2156	2158	2160	2162	2164	2166	2168	2170	2172	2174	2176	2178	2180	2182	2184	2186	2188	2190	2192	2194	2196	2198	2200	2202	2204	2206	2208	2210	2212	2214	2216	2218	2220	2222	2224	2226	2228	2230	2232	2234	2236	2238	2240	2242	2244	2246	2248	2250	2252	2254	2256	2258	2260	2262	2264	2266	2268	2270	2272	2274	2276	2278	2280	2282	2284	2286	2288	2290	2292	2294	2296	2298	2300	2302	2304	2306	2308	2310	2312	2314	2316	2318	2320	2322	2324	2326	2328	2330	2332	2334	2336	2338	2340	2342	2344	2346	2348	2350	2352	2354	2356	2358	2360	2362	2364	2366	2368	2370	2372	2374	2376	2378	2380	2382	2384	2386	2388	2390	2392	2394	2396	2398	2400	2402	2404	2406	2408	2410	2412	2414	2416	2418	2420	2422	2424	2426	2428	2430	2432	2434	2436	2438	2440	2442	2444	2446	2448	2450	2452	2454	2456	2458	2460	2462	2464	2466	2468	2470	2472	2474	2476	2478	2480	2482	2484	2486	2488	2490	2492	2494	2496	2498	2500	2502	2504	2506	2508	2510	2512	2514	2516	2518	2520	2522	2524	2526	2528	2530	2532	2534	2536	2538	2540	2542	2544	2546	2548	2550	2552	2554	2556	2558	2560	2562	2564	2566	2568	2570	2572	2574	2576	2578	2580	2582	2584	2586	2588	2590	2592	2594	2596	2598	2600	2602	2604	2606	2608	2610	2612	2614	2616	2618	2620	2622	2624	2626	2628	2630	2632	2634	2636	2638	2640	2642	2644	2646	2648	2650	2652	2654	2656	2658	2660	2662	2664	2666	2668	2670	2672	2674	2676	2678	2680	2682	2684	2686	2688	2690	2692	2694	2696	2698	2700	2702	2704	2706	2708	2710	2712	2714	2716	2718	2720	2722	2724	2726	2728	2730	2732	2734	2736	2738	2740	2742	2744	2746	2748	2750	2752	2754	2756	2758	2760	2762	2764	2766	2768	2770	2772	2774	2776	2778	2780	2782	2784	2786	2788	2790	2792	2794	2796	2798	2800	2802	2804	2806	2808	2810	2812	2814	2816	2818	2820	2822	2824	2826	2828	2830	2832	2834	2836	2838	2840	2842	2844	2846	2848	2850	2852	2854	2856	2858	2860	2862	2864	2866	2868	2870	2872	2874	2876	2878	2880	2882	2884	2886	2888	2890	2892	2894	2896	2898	2900	2902	2904	2906	2908	2910	2912	2914	2916	2918	2920	2922	2924	2926	2928	2930	2932	2934	2936	2938	2940	2942	2944	2946	2948	2950	2952	2954	2956	2958	2960	2962	2964	2966	2968	2970	2972	2974	2976	2978	2980	2982	2984	2986	2988	2990	2992	2994	2996	2998	3000	3002	3004	3006	3008	3010	3012	3014	3016	3018	3020	3022	3024	3026	3028	3030	3032	3034	3036	3038	3040	3042	3044	3046	3048	3050	3052	3054	3056	3058	3060	3062	3064	3066	3068	3070	3072	3074	3076	3078	3080	3082	3084	3086	3088	3090	3092	3094	3096	3098	3100	3102	3104	3106	3108	3110	3112	3114	3116	3118	3120	3122	3124	3126	3128	3130	3132	3134	3136	3138	3140	3142	3144	3146	3148	3150	3152	3154	3156	3158	3160	3162	3164	3166	3168	3170	3172	3174	3176	3178	3180	3182	3184	3186	3188	3190	3192	3194	3196	3198	3200	3202	3204	3206	3208	3210	3212	3214	3216	3218	3220	3222	3224	3226	3228	3230	3232	3234	3236	3238	3240	3242	3244	3246	3248	3250	3252	3254	3256	3258	3260	3262	3264	3266	3268	3270	3272	3274	3276	3278	3280	3282	3284	3286	3288	3290	3292	3294	3296	3298	3300	3302	3304	3306	3308	3310	3312	3314	3316	3318	3320	3322	3324	3326	3328	3330	3332	3334	3336	3338	3340	3342	3344	3346	3348	3350	3352	3354	3356	3358	3360	3362	3364	3366	3368	3370	3372	3374	3376	3378	3380	3382	3384	3386	3388	3390	3392	3394	3396	3398	3400	3402	3404	3406	3408	3410	3412	3414	3416	3418	3420	3422	3424	3426	3428	3430	3432	3434	3436	3438	3440	3442	3444	3446	3448	3450	3452	3454	3456	3458	3460	3462	3464	3466	3468	3470	3472	3474	3476	3478	3480	3482	3484	3486	3488	3490	3492	3494	3496	3498	3500	3502	3504	3506	3508	3510	3512	3514	3516	3518	3520	3522	3524	3526	3528	3530	3532	3534	3536	3538	3540	3542	3544	3546	3548	3550	3552	3554	3556	3558	3560	3562	3564	3566	3568	3570	3572	3574	3576	3578	3580	3582	3584	3586	3588	3590	3592	3594	3596	3598	3600	306.33333333333331	307.33333333333331	307.66666666666669	306.33333333333331	306.66666666666669	306.66666666666669	306.66666666666669	305.66666666666669	305.66666666666669	305.66666666666669	304.33333333333331	303.66666666666669	303.66666666666669	301.66666666666669	302.66666666666669	300.66666666666669	300	300	298.33333333333331	298.33333333333331	298.33333333333331	297.33333333333331	297	297	295	295.33333333333331	294.66666666666669	293.66666666666669	292.66666666666669	293.33333333333331	292	292	291.66666666666669	290	289.33333333333331	288.66666666666669	288.33333333333331	288.33333333333331	288	286.66666666666669	286.66666666666669	287	286	286.33333333333331	284.66666666666669	284.66666666666669	283.66666666666669	283.33333333333331	283.33333333333331	283	282	281.33333333333331	281	280.66666666666669	279.66666666666669	279	279.66666666666669	278.66666666666669	279.33333333333331	278.33333333333331	277	276.66666666666669	276.33333333333331	276.66666666666669	275.66666666666669	276	275.66666666666669	275	274.66666666666669	274	274.66666666666669	273.66666666666669	273	272.33333333333331	272.33333333333331	272.66666666666669	272.33333333333331	271.33333333333331	271	271.33333333333331	270.66666666666669	269.33333333333331	270	269.33333333333331	270	269.33333333333331	268.66666666666669	268.66666666666669	268.66666666666669	268	268.66666666666669	267.33333333333331	267	267.33333333333331	266	266.66666666666669	265.66666666666669	266	265.33333333333331	265	265.33333333333331	265.33333333333331	264.33333333333331	265.33333333333331	265.66666666666669	264.33333333333331	263.66666666666669	263	263.33333333333331	262.66666666666669	263	263	262.33333333333331	262.33333333333331	261.66666666666669	261.66666666666669	261.66666666666669	261	261.66666666666669	261.66666666666669	260.66666666666669	260	260	260	260	260	259.33333333333331	260	259.66666666666669	259	259.33333333333331	259	259.33333333333331	258.66666666666669	258.33333333333331	258.66666666666669	258	258	257.66666666666669	257.66666666666669	257.33333333333331	257	257.66666666666669	257.33333333333331	257	256.66666666666669	256.66666666666669	256	256.33333333333331	256	256.33333333333331	256	255.33333333333334	255	254.66666666666666	255.33333333333334	255.66666666666666	255	255.33333333333334	255.33333333333334	254.33333333333334	254.33333333333334	254.66666666666666	254.33333333333334	254	253.66666666666666	253.66666666666666	254	254	254	253.66666666666666	252.66666666666666	253.33333333333334	253	252	253.33333333333334	253	252.66666666666666	253.33333333333334	252.66666666666666	253	252	252	252.33333333333334	252.66666666666666	251.66666666666666	252	252	251.66666666666666	251.66666666666666	251	251	252	251	251	251	250.66666666666666	251	251	251.33333333333334	250.66666666666666	250.66666666666666	250.33333333333334	250.33333333333334	249.66666666666666	250.33333333333334	249.66666666666666	249.66666666666666	250	249.66666666666666	249	249.33333333333334	249.33333333333334	249.66666666666666	250	249	249	250.33333333333334	249.33333333333334	248.66666666666666	248.33333333333334	249.66666666666666	249.66666666666666	248.33333333333334	249.33333333333334	249	248.66666666666666	250	248.66666666666666	248.66666666666666	248.66666666666666	249.33333333333334	248.33333333333334	248.66666666666666	248.66666666666666	248	248	248	247.66666666666666	248.66666666666666	248.66666666666666	247	248	248.33333333333334	248	247	248	247.66666666666666	248.33333333333334	247	248	247.33333333333334	247.66666666666666	247.33333333333334	247.33333333333334	247.66666666666666	247	248	246.33333333333334	246.66666666666666	247	247	246.66666666666666	246.66666666666666	247	246.33333333333334	246.33333333333334	245.66666666666666	246.66666666666666	246.66666666666666	247	247	246.33333333333334	246.33333333333334	246.66666666666666	246.66666666666666	247.33333333333334	247	245.66666666666666	246	247.33333333333334	246	245.66666666666666	245.66666666666666	246.33333333333334	246.33333333333334	245.66666666666666	246	245.66666666666666	246.66666666666666	246.33333333333334	245.33333333333334	246	246.33333333333334	245.66666666666666	246.33333333333334	245.33333333333334	245.33333333333334	246	245.66666666666666	246	245	245.33333333333334	245.66666666666666	245.66666666666666	245.33333333333334	246	245.33333333333334	246	245.33333333333334	244.66666666666666	245.66666666666666	245.66666666666666	245.33333333333334	246	245	244.33333333333334	245.33333333333334	245	245.66666666666666	246	245	245	245	245	245	245	245	246.33333333333334	245.33333333333334	245.66666666666666	244.33333333333334	244.33333333333334	245.33333333333334	245.33333333333334	244.66666666666666	244.66666666666666	245	244.33333333333334	245	245.33333333333334	244.33333333333334	245	245	244	245.66666666666666	244.66666666666666	244.66666666666666	244	244.66666666666666	244	244.66666666666666	244.66666666666666	245	245	244.33333333333334	244	245	244.33333333333334	244.66666666666666	245	245	244.66666666666666	244.33333333333334	245	244	245	244.33333333333334	244.33333333333334	245	244.66666666666666	245	244	244.33333333333334	244	245.33333333333334	245	244.33333333333334	245.66666666666666	244.66666666666666	244.33333333333334	245.33333333333334	244.66666666666666	245	245.33333333333334	245	245.66666666666666	244	244.33333333333334	245.33333333333334	243.33333333333334	245	245	243.66666666666666	245.33333333333334	245	244	243.66666666666666	244	244	243.66666666666666	244	244.66666666666666	244.33333333333334	245	244.33333333333334	244.66666666666666	244.33333333333334	244.33333333333334	245	244.66666666666666	243.66666666666666	245.33333333333334	244.33333333333334	244	244.33333333333334	244.33333333333334	245.66666666666666	244.66666666666666	245.33333333333334	245	244.33333333333334	245	245	244.66666666666666	244.33333333333334	244.66666666666666	244.33333333333334	244	244.33333333333334	244	244.66666666666666	244.33333333333334	244.66666666666666	243.66666666666666	244.66666666666666	245	244.33333333333334	244.66666666666666	244	245	244.66666666666666	244.66666666666666	245	243.66666666666666	244.66666666666666	245	244	244.33333333333334	245.33333333333334	244.33333333333334	245	245	244	244.33333333333334	244.33333333333334	244.33333333333334	245	244.66666666666666	245	244.33333333333334	245.33333333333334	244.33333333333334	245.33333333333334	244.33333333333334	244.66666666666666	244.66666666666666	245	244.33333333333334	245	244.33333333333334	244.33333333333334	244.66666666666666	244.33333333333334	245	245	245.33333333333334	244.66666666666666	245	244.66666666666666	245	245.33333333333334	244	245.33333333333334	245	244.66666666666666	244.33333333333334	244.66666666666666	244.66666666666666	245.33333333333334	244.66666666666666	244.66666666666666	245	244.66666666666666	245.33333333333334	245.33333333333334	244.66666666666666	244.66666666666666	245	245	245	246	244	245.33333333333334	245	244.66666666666666	245.66666666666666	245.33333333333334	245.66666666666666	245	245.33333333333334	245.66666666666666	245	244.66666666666666	246	245	245.66666666666666	245.33333333333334	245	245.66666666666666	246	244.66666666666666	245.66666666666666	245.66666666666666	245.33333333333334	246.33333333333334	245.66666666666666	246	245.66666666666666	244.66666666666666	246.33333333333334	245.66666666666666	246	245.33333333333334	244.66666666666666	245.66666666666666	246.33333333333334	246	245.66666666666666	246	246.66666666666666	245.33333333333334	246.33333333333334	245.66666666666666	246	246	245	245.66666666666666	246.33333333333334	246.33333333333334	245.33333333333334	246.33333333333334	246.33333333333334	246.66666666666666	245.33333333333334	245.33333333333334	246	246.33333333333334	246.66666666666666	245.33333333333334	246	246.33333333333334	247.33333333333334	246	245.66666666666666	247	246	246	246.66666666666666	245.66666666666666	246.33333333333334	245.66666666666666	247.33333333333334	246.66666666666666	246	246.33333333333334	246	247	246.66666666666666	246.33333333333334	246.33333333333334	246.33333333333334	246.33333333333334	246	245.33333333333334	247.33333333333334	247.33333333333334	247.33333333333334	246	245.33333333333334	247.33333333333334	247.66666666666666	246.66666666666666	246	246.33333333333334	247	245.66666666666666	246.66666666666666	247	246.66666666666666	246.33333333333334	246	247.33333333333334	246.66666666666666	246	245.66666666666666	247.33333333333334	246	247	246.33333333333334	246.66666666666666	246	247	246.33333333333334	247	246.66666666666666	246.66666666666666	246.66666666666666	247	246.66666666666666	246	247	246.66666666666666	247	246	247.66666666666666	247.66666666666666	247.33333333333334	246	248	247.66666666666666	246.66666666666666	247	247.66666666666666	246.66666666666666	247	247	247.33333333333334	247.33333333333334	247.33333333333334	246.66666666666666	248.33333333333334	247	247	247.33333333333334	247	246.66666666666666	247	247.66666666666666	247.33333333333334	247	247.33333333333334	247	247.66666666666666	248	247.33333333333334	247	247.66666666666666	247	248.33333333333334	247.33333333333334	247.33333333333334	247.33333333333334	247.66666666666666	247.33333333333334	248	248	247.66666666666666	247.33333333333334	249	247.66666666666666	247.33333333333334	247.33333333333334	247.66666666666666	248	248.66666666666666	248.66666666666666	247.66666666666666	247.66666666666666	247.66666666666666	247.66666666666666	248.33333333333334	247.66666666666666	247	248.33333333333334	247.66666666666666	247.33333333333334	247	247.66666666666666	248.66666666666666	248	247.33333333333334	248.33333333333334	248.66666666666666	247.66666666666666	248	248.33333333333334	248.66666666666666	248.33333333333334	247.66666666666666	248.66666666666666	248.66666666666666	248.66666666666666	248	248	248.33333333333334	248.66666666666666	248.33333333333334	249	248.33333333333334	248.33333333333334	248.33333333333334	249	247.66666666666666	248.33333333333334	249.33333333333334	248	248	248.66666666666666	248	248.33333333333334	249.33333333333334	249.66666666666666	248	249.33333333333334	249	249	248.66666666666666	249	249.66666666666666	249	248.66666666666666	248.33333333333334	248.66666666666666	249.33333333333334	249.33333333333334	248	248.33333333333334	249	249.33333333333334	248.66666666666666	248.33333333333334	249.66666666666666	249	248.66666666666666	248.66666666666666	250.33333333333334	250	249.33333333333334	249.33333333333334	249	249	250.33333333333334	249	249.66666666666666	249	249.33333333333334	250	249.66666666666666	248.66666666666666	249.33333333333334	250	249	250	249.66666666666666	250.33333333333334	250.66666666666666	249.33333333333334	249.33333333333334	249	250	249.66666666666666	249	250	249.66666666666666	249	249.33333333333334	250	249.33333333333334	249.66666666666666	250	249.66666666666666	249	250.33333333333334	250.33333333333334	249.66666666666666	250	249.66666666666666	249.66666666666666	250	249	250.33333333333334	250.66666666666666	249.33333333333334	250.33333333333334	250.66666666666666	250	250.33333333333334	249.33333333333334	250.33333333333334	249.66666666666666	250.33333333333334	250.33333333333334	250.33333333333334	251	249.66666666666666	249.66666666666666	251.33333333333334	251	250.33333333333334	249.66666666666666	250.33333333333334	250.33333333333334	251.33333333333334	250.66666666666666	250.33333333333334	251	251	250.33333333333334	249.66666666666666	251	251	250.66666666666666	249.66666666666666	251.33333333333334	251	250.66666666666666	251	250.66666666666666	251.33333333333334	250.66666666666666	252	250	251	251.33333333333334	251.33333333333334	250.33333333333334	251	251.33333333333334	252	250.66666666666666	251	251.66666666666666	252	250	251.33333333333334	250.66666666666666	251.33333333333334	250.66666666666666	251.33333333333334	251.66666666666666	252	251	251.33333333333334	251.33333333333334	251	251	251	252	250.66666666666666	251.33333333333334	251.33333333333334	252	251.33333333333334	251.33333333333334	252.33333333333334	251.33333333333334	251.33333333333334	252	251.66666666666666	252	252.33333333333334	251	252	252.33333333333334	252	252.33333333333334	252.33333333333334	253	251.66666666666666	251.66666666666666	252.66666666666666	251.33333333333334	252	250.66666666666666	252.66666666666666	253.33333333333334	252	252.33333333333334	251.66666666666666	252	252.33333333333334	251.33333333333334	251.66666666666666	253	253.33333333333334	252.66666666666666	252.33333333333334	252.33333333333334	253	252.66666666666666	251.33333333333334	253	253.33333333333334	253	251.33333333333334	252	253.33333333333334	252.33333333333334	252.33333333333334	252.66666666666666	253.33333333333334	253	252	252.33333333333334	253	252.66666666666666	252	253	253	252.33333333333334	252.33333333333334	252.33333333333334	252.33333333333334	252.66666666666666	253	251.66666666666666	252.33333333333334	252.66666666666666	253	253.33333333333334	253.66666666666666	253	253	253.33333333333334	253.66666666666666	253	252.33333333333334	253	252	252.66666666666666	252.33333333333334	253	253.33333333333334	252.33333333333334	252.66666666666666	254	253.33333333333334	254	252.66666666666666	253.33333333333334	253	253	253.33333333333334	253	252.33333333333334	253.66666666666666	253.33333333333334	252.66666666666666	253.33333333333334	252.66666666666666	252.66666666666666	253.33333333333334	252.33333333333334	254.33333333333334	253.33333333333334	253.33333333333334	254	253	252	252.66666666666666	253.66666666666666	252	253.33333333333334	253.66666666666666	253.33333333333334	253.33333333333334	252.33333333333334	254.33333333333334	253.33333333333334	252.66666666666666	253.33333333333334	253	253.33333333333334	253.33333333333334	253	254	253.33333333333334	252.66666666666666	254.33333333333334	253.33333333333334	252.66666666666666	253.66666666666666	253	253.66666666666666	253.33333333333334	253.66666666666666	253.66666666666666	253.66666666666666	253	253.66666666666666	253.66666666666666	254	253	253.66666666666666	253.66666666666666	253.66666666666666	253	253.66666666666666	254.33333333333334	253.66666666666666	254	253.66666666666666	254.66666666666666	254.33333333333334	253.66666666666666	253.66666666666666	254.66666666666666	254	254.66666666666666	253.33333333333334	254.33333333333334	253.66666666666666	254	254.33333333333334	254.33333333333334	254	255	254.33333333333334	253.66666666666666	254.33333333333334	255	254.66666666666666	254.33333333333334	253.66666666666666	254.33333333333334	254.33333333333334	253.66666666666666	254.33333333333334	253.66666666666666	254.66666666666666	254.66666666666666	253.33333333333334	255.66666666666666	254.66666666666666	254.33333333333334	254.66666666666666	254.66666666666666	255	255	254.33333333333334	255.33333333333334	255.33333333333334	254.66666666666666	254.33333333333334	254.33333333333334	255.33333333333334	255	254.66666666666666	254.66666666666666	254.66666666666666	254.66666666666666	255	255.33333333333334	256.33333333333331	254	255	256.33333333333331	255.33333333333334	255.33333333333334	255.33333333333334	255.66666666666666	255.66666666666666	255	255	255.33333333333334	256	255.33333333333334	255.33333333333334	255.66666666666666	255.33333333333334	255.33333333333334	254.66666666666666	256	254.66666666666666	256	255.66666666666666	254.33333333333334	256.66666666666669	255	255.33333333333334	256.33333333333331	255.66666666666666	255.66666666666666	256.33333333333331	256.33333333333331	256	255.66666666666666	256.33333333333331	254.66666666666666	256.66666666666669	256.33333333333331	256.33333333333331	256	256	256	255.33333333333334	256	256	255.66666666666666	255	255	256	255.66666666666666	255.33333333333334	255.33333333333334	256.66666666666669	256	255	256.33333333333331	256.33333333333331	255.33333333333334	255	256	255.66666666666666	255.66666666666666	256	255.66666666666666	255.33333333333334	255.66666666666666	255.66666666666666	256.33333333333331	255.33333333333334	256.66666666666669	256.66666666666669	256.33333333333331	255.66666666666666	255.33333333333334	256	256.66666666666669	256.33333333333331	255.33333333333334	256	256	257	257	256	256.33333333333331	256.66666666666669	257	255.66666666666666	255.66666666666666	256	256.33333333333331	256.66666666666669	256.66666666666669	256.33333333333331	256.66666666666669	257.66666666666669	256.33333333333331	256	255.66666666666666	256.33333333333331	256.66666666666669	256.33333333333331	255.66666666666666	256.33333333333331	257.33333333333331	257.66666666666669	256.66666666666669	256.66666666666669	257	257.33333333333331	258	256.66666666666669	257	257.33333333333331	257	256.66666666666669	256.66666666666669	257.66666666666669	257.33333333333331	257.66666666666669	256.66666666666669	257.33333333333331	257	257.33333333333331	258	256.33333333333331	257.33333333333331	257.66666666666669	256.33333333333331	257	256.66666666666669	258	258	256.33333333333331	258	257.33333333333331	257.33333333333331	257	256.66666666666669	258	256.66666666666669	257	257	257.33333333333331	258	258.33333333333331	258	258.33333333333331	256.33333333333331	258	258	259	256.66666666666669	258	258.33333333333331	257.66666666666669	257.33333333333331	257.33333333333331	258.66666666666669	257	258.33333333333331	258.66666666666669	258	256.66666666666669	259	257.66666666666669	259	258	258.33333333333331	259.66666666666669	258.33333333333331	257	258.66666666666669	258	258.66666666666669	258.33333333333331	258	258	257.66666666666669	257.66666666666669	259	257.33333333333331	259.33333333333331	259	258	259	259.33333333333331	258	259	258.66666666666669	258.33333333333331	258.66666666666669	258.33333333333331	259.33333333333331	259.66666666666669	258.66666666666669	259.66666666666669	258	258.66666666666669	258.66666666666669	258.33333333333331	259	259.33333333333331	258.33333333333331	258.33333333333331	258.66666666666669	258.66666666666669	259.33333333333331	258.66666666666669	258.33333333333331	258.66666666666669	258	259.33333333333331	258.66666666666669	258	259.66666666666669	258.66666666666669	258.66666666666669	259.33333333333331	258	260	258.33333333333331	258.66666666666669	259.66666666666669	259.66666666666669	258	258.33333333333331	258.66666666666669	258.66666666666669	258.33333333333331	260.33333333333331	259	258.33333333333331	259	259	258.33333333333331	259.33333333333331	259	259.66666666666669	258.66666666666669	259	259.33333333333331	257.66666666666669	258.66666666666669	260	257.66666666666669	260.33333333333331	260.33333333333331	259.33333333333331	258.33333333333331	258.33333333333331	260	259.33333333333331	258	260	259.33333333333331	259.66666666666669	258.66666666666669	259.66666666666669	259	258.33333333333331	261	258.33333333333331	259.33333333333331	260.66666666666669	258.33333333333331	259.33333333333331	259.66666666666669	258.66666666666669	260.66666666666669	259	260	260.66666666666669	259.66666666666669	260.33333333333331	259.33333333333331	259.33333333333331	259.33333333333331	259	260	260.33333333333331	259.33333333333331	260.33333333333331	259.33333333333331	260.33333333333331	259.33333333333331	259.66666666666669	259.66666666666669	260.66666666666669	260.66666666666669	259.33333333333331	261	260.66666666666669	260	261	259.66666666666669	260	260.33333333333331	260.66666666666669	260.33333333333331	260.66666666666669	260	260.66666666666669	260.33333333333331	261	261	260.33333333333331	259.66666666666669	259.66666666666669	260.66666666666669	261	261	261.33333333333331	261.33333333333331	259.66666666666669	261	262	260	260.33333333333331	260.66666666666669	260	261	260.66666666666669	261	260.66666666666669	261.33333333333331	260.33333333333331	260	261.66666666666669	261.33333333333331	261	260.33333333333331	261.66666666666669	261.66666666666669	261.66666666666669	261.33333333333331	261	260.66666666666669	262	261	260.66666666666669	262	261.66666666666669	261	261.66666666666669	260.66666666666669	261.33333333333331	261.33333333333331	261.33333333333331	261	261	260.33333333333331	261	261.33333333333331	261.66666666666669	261.33333333333331	262.33333333333331	262	261.66666666666669	262	260.66666666666669	260.66666666666669	261.33333333333331	261.33333333333331	260.66666666666669	260.66666666666669	262	261.33333333333331	262	261.66666666666669	260.66666666666669	261	260.33333333333331	261.66666666666669	261.66666666666669	262.33333333333331	262.33333333333331	261.33333333333331	261.33333333333331	261.33333333333331	260.66666666666669	261	261	262.33333333333331	262	261.33333333333331	261.33333333333331	261.33333333333331	261	261.33333333333331	261.33333333333331	263.33333333333331	262.66666666666669	261.33333333333331	260.66666666666669	262.33333333333331	261.66666666666669	261.66666666666669	261	262.33333333333331	262.33333333333331	262.66666666666669	262	261.33333333333331	262	261.33333333333331	262	262	262.33333333333331	261.66666666666669	261.66666666666669	261.66666666666669	261.33333333333331	261.33333333333331	261	262.33333333333331	261.66666666666669	262	261.33333333333331	261.33333333333331	262	261.66666666666669	262.66666666666669	262	261.66666666666669	262.66666666666669	261.33333333333331	262.33333333333331	262.33333333333331	262	261.33333333333331	261.66666666666669	262.66666666666669	262	262.33333333333331	263	262.33333333333331	262.66666666666669	262	263.66666666666669	262.66666666666669	262.33333333333331	263	263.33333333333331	262	262.33333333333331	262	262.33333333333331	263.33333333333331	262.33333333333331	263.66666666666669	262.33333333333331	262.66666666666669	263.33333333333331	263	263.33333333333331	262.66666666666669	263	263.33333333333331	262.33333333333331	263	262.66666666666669	262.33333333333331	262.66666666666669	262.33333333333331	263.66666666666669	263	262.33333333333331	263	263	263	263.66666666666669	262.33333333333331	264	263.33333333333331	263	263.66666666666669	263	263.33333333333331	263.66666666666669	263.33333333333331	263.66666666666669	264	262.66666666666669	264	263	263	263.33333333333331	262.66666666666669	263	262.66666666666669	264	263	263.33333333333331	263	262.66666666666669	263	263.66666666666669	263	264.33333333333331	263.66666666666669	264	263.66666666666669	262.66666666666669	263	263.66666666666669	263.66666666666669	264	262.66666666666669	263.33333333333331	264	262.33333333333331	264.66666666666669	264.33333333333331	263.33333333333331	264	263.33333333333331	263.33333333333331	263.33333333333331	263.33333333333331	264.33333333333331	264.66666666666669	264	265	263.66666666666669	263.66666666666669	263.33333333333331	263	264.66666666666669	263.66666666666669	264.66666666666669	263.66666666666669	263.66666666666669	264.33333333333331	263.66666666666669	264	263.66666666666669	263.33333333333331	263.66666666666669	263.66666666666669	264	264.66666666666669	263.66666666666669	264.33333333333331	264.66666666666669	264.33333333333331	264.66666666666669	263.66666666666669	264	264.33333333333331	264.33333333333331	264	264.33333333333331	264.33333333333331	264.33333333333331	264.33333333333331	265	264.33333333333331	265	263.33333333333331	264.66666666666669	264	263.66666666666669	264.66666666666669	265	263.66666666666669	264.33333333333331	265	265	264	264.33333333333331	265	265	265	265	265	265.33333333333331	264.33333333333331	264	265.33333333333331	263.66666666666669	264	264	265.33333333333331	264.33333333333331	264.33333333333331	264.33333333333331	266	265	264.33333333333331	264.33333333333331	265.66666666666669	265.33333333333331	265	265	264.66666666666669	264.66666666666669	265.33333333333331	265.33333333333331	265	265.66666666666669	266	265.33333333333331	265.66666666666669	266.66666666666669	265.33333333333331	264.66666666666669	265.33333333333331	265.33333333333331	264.33333333333331	266.66666666666669	264.66666666666669	265.66666666666669	265.33333333333331	266	265.66666666666669	265.66666666666669	266.66666666666669	264.66666666666669	265.66666666666669	265.33333333333331	266.66666666666669	265	266.33333333333331	265.33333333333331	265.33333333333331	266.33333333333331	266	264.66666666666669	266.66666666666669	266	265.33333333333331	266.66666666666669	265.33333333333331	265	266.66666666666669	266.33333333333331	265.66666666666669	265.33333333333331	266.33333333333331	264.66666666666669	267	266.66666666666669	265.66666666666669	266	265.66666666666669	265.66666666666669	266.33333333333331	267	265.66666666666669	265.66666666666669	266	265	267	267.33333333333331	265.33333333333331	267.33333333333331	266.33333333333331	266.66666666666669	267.33333333333331	266	266	266.66666666666669	266	266.66666666666669	266.66666666666669	268	266.66666666666669	267.33333333333331	267.33333333333331	266.33333333333331	267.66666666666669	266.66666666666669	266	266.33333333333331	266.66666666666669	266.66666666666669	267	267	266.66666666666669	266.66666666666669	267.33333333333331	266.66666666666669	266.66666666666669	267	267.66666666666669	266.33333333333331	267	267	267.33333333333331	265.66666666666669	267.66666666666669	266.66666666666669	267.33333333333331	266.33333333333331	266.66666666666669	267	268	267	267.33333333333331	267	267.66666666666669	266.33333333333331	267.66666666666669	266.33333333333331	267.33333333333331	266.66666666666669	267.33333333333331	266.66666666666669	267	266.66666666666669	267.33333333333331	267.33333333333331	267.33333333333331	266.33333333333331	267.66666666666669	266.66666666666669	267.33333333333331	266.33333333333331	267.66666666666669	267.33333333333331	267.33333333333331	267	267.33333333333331	267	268.33333333333331	266.66666666666669	268.33333333333331	267.66666666666669	267	266.66666666666669	266.66666666666669	267	267.66666666666669	267.33333333333331	267	267.33333333333331	267.33333333333331	1.5 g/h/L	0	2	4	6	8	10	12	14	16	18	20	22	24	26	28	30	32	34	36	38	40	42	44	46	48	50	52	54	56	58	60	62	64	66	68	70	72	74	76	78	80	82	84	86	88	90	92	94	96	98	100	102	104	106	108	110	112	114	116	118	120	122	124	126	128	130	132	134	136	138	140	142	144	146	148	150	152	154	156	158	160	162	164	166	168	170	172	174	176	178	180	182	184	186	188	190	192	194	196	198	200	202	204	206	208	210	212	214	216	218	220	222	224	226	228	230	232	234	236	238	240	242	244	246	248	250	252	254	256	258	260	262	264	266	268	270	272	274	276	278	280	282	284	286	288	290	292	294	296	298	300	302	304	306	308	310	312	314	316	318	320	322	324	326	328	330	332	334	336	338	340	342	344	346	348	350	352	354	356	358	360	362	364	366	368	370	372	374	376	378	380	382	384	386	388	390	392	394	396	398	400	402	404	406	408	410	412	414	416	418	420	422	424	426	428	430	432	434	436	438	440	442	444	446	448	450	452	454	456	458	460	462	464	466	468	470	472	474	476	478	480	482	484	486	488	490	492	494	496	498	500	502	504	506	508	510	512	514	516	518	520	522	524	526	528	530	532	534	536	538	540	542	544	546	548	550	552	554	556	558	560	562	564	566	568	570	572	574	576	578	580	582	584	586	588	590	592	594	596	598	600	602	604	606	608	610	612	614	616	618	620	622	624	626	628	630	632	634	636	638	640	642	644	646	648	650	652	654	656	658	660	662	664	666	668	670	672	674	676	678	680	682	684	686	688	690	692	694	696	698	700	702	704	706	708	710	712	714	716	718	720	722	724	726	728	730	732	734	736	738	740	742	744	746	748	750	752	754	756	758	760	762	764	766	768	770	772	774	776	778	780	782	784	786	788	790	792	794	796	798	800	802	804	806	808	810	812	814	816	818	820	822	824	826	828	830	832	834	836	838	840	842	844	846	848	850	852	854	856	858	860	862	864	866	868	870	872	874	876	878	880	882	884	886	888	890	892	894	896	898	900	902	904	906	908	910	912	914	916	918	920	922	924	926	928	930	932	934	936	938	940	942	944	946	948	950	952	954	956	958	960	962	964	966	968	970	972	974	976	978	980	982	984	986	988	990	992	994	996	998	1000	1002	1004	1006	1008	1010	1012	1014	1016	1018	1020	1022	1024	1026	1028	1030	1032	1034	1036	1038	1040	1042	1044	1046	1048	1050	1052	1054	1056	1058	1060	1062	1064	1066	1068	1070	1072	1074	1076	1078	1080	1082	1084	1086	1088	1090	1092	1094	1096	1098	1100	1102	1104	1106	1108	1110	1112	1114	1116	1118	1120	1122	1124	1126	1128	1130	1132	1134	1136	1138	1140	1142	1144	1146	1148	1150	1152	1154	1156	1158	1160	1162	1164	1166	1168	1170	1172	1174	1176	1178	1180	1182	1184	1186	1188	1190	1192	1194	1196	1198	1200	1202	1204	1206	1208	1210	1212	1214	1216	1218	1220	1222	1224	1226	1228	1230	1232	1234	1236	1238	1240	1242	1244	1246	1248	1250	1252	1254	1256	1258	1260	1262	1264	1266	1268	1270	1272	1274	1276	1278	1280	1282	1284	1286	1288	1290	1292	1294	1296	1298	1300	1302	1304	1306	1308	1310	1312	1314	1316	1318	1320	1322	1324	1326	1328	1330	1332	1334	1336	1338	1340	1342	1344	1346	1348	1350	1352	1354	1356	1358	1360	1362	1364	1366	1368	1370	1372	1374	1376	1378	1380	1382	1384	1386	1388	1390	1392	1394	1396	1398	1400	1402	1404	1406	1408	1410	1412	1414	1416	1418	1420	1422	1424	1426	1428	1430	1432	1434	1436	1438	1440	1442	1444	1446	1448	1450	1452	1454	1456	1458	1460	1462	1464	1466	1468	1470	1472	1474	1476	1478	1480	1482	1484	1486	1488	1490	1492	1494	1496	1498	1500	1502	1504	1506	1508	1510	1512	1514	1516	1518	1520	1522	1524	1526	1528	1530	1532	1534	1536	1538	1540	1542	1544	1546	1548	1550	1552	1554	1556	1558	1560	1562	1564	1566	1568	1570	1572	1574	1576	1578	1580	1582	1584	1586	1588	1590	1592	1594	1596	1598	1600	1602	1604	1606	1608	1610	1612	1614	1616	1618	1620	1622	1624	1626	1628	1630	1632	1634	1636	1638	1640	1642	1644	1646	1648	1650	1652	1654	1656	1658	1660	1662	1664	1666	1668	1670	1672	1674	1676	1678	1680	1682	1684	1686	1688	1690	1692	1694	1696	1698	1700	1702	1704	1706	1708	1710	1712	1714	1716	1718	1720	1722	1724	1726	1728	1730	1732	1734	1736	1738	1740	1742	1744	1746	1748	1750	1752	1754	1756	1758	1760	1762	1764	1766	1768	1770	1772	1774	1776	1778	1780	1782	1784	1786	1788	1790	1792	1794	1796	1798	1800	1802	1804	1806	1808	1810	1812	1814	1816	1818	1820	1822	1824	1826	1828	1830	1832	1834	1836	1838	1840	1842	1844	1846	1848	1850	1852	1854	1856	1858	1860	1862	1864	1866	1868	1870	1872	1874	1876	1878	1880	1882	1884	1886	1888	1890	1892	1894	1896	1898	1900	1902	1904	1906	1908	1910	1912	1914	1916	1918	1920	1922	1924	1926	1928	1930	1932	1934	1936	1938	1940	1942	1944	1946	1948	1950	1952	1954	1956	1958	1960	1962	1964	1966	1968	1970	1972	1974	1976	1978	1980	1982	1984	1986	1988	1990	1992	1994	1996	1998	2000	2002	2004	2006	2008	2010	2012	2014	2016	2018	2020	2022	2024	2026	2028	2030	2032	2034	2036	2038	2040	2042	2044	2046	2048	2050	2052	2054	2056	2058	2060	2062	2064	2066	2068	2070	2072	2074	2076	2078	2080	2082	2084	2086	2088	2090	2092	2094	2096	2098	2100	2102	2104	2106	2108	2110	2112	2114	2116	2118	2120	2122	2124	2126	2128	2130	2132	2134	2136	2138	2140	2142	2144	2146	2148	2150	2152	2154	2156	2158	2160	2162	2164	2166	2168	2170	2172	2174	2176	2178	2180	2182	2184	2186	2188	2190	2192	2194	2196	2198	2200	2202	2204	2206	2208	2210	2212	2214	2216	2218	2220	2222	2224	2226	2228	2230	2232	2234	2236	2238	2240	2242	2244	2246	2248	2250	2252	2254	2256	2258	2260	2262	2264	2266	2268	2270	2272	2274	2276	2278	2280	2282	2284	2286	2288	2290	2292	2294	2296	2298	2300	2302	2304	2306	2308	2310	2312	2314	2316	2318	2320	2322	2324	2326	2328	2330	2332	2334	2336	2338	2340	2342	2344	2346	2348	2350	2352	2354	2356	2358	2360	2362	2364	2366	2368	2370	2372	2374	2376	2378	2380	2382	2384	2386	2388	2390	2392	2394	2396	2398	2400	2402	2404	2406	2408	2410	2412	2414	2416	2418	2420	2422	2424	2426	2428	2430	2432	2434	2436	2438	2440	2442	2444	2446	2448	2450	2452	2454	2456	2458	2460	2462	2464	2466	2468	2470	2472	2474	2476	2478	2480	2482	2484	2486	2488	2490	2492	2494	2496	2498	2500	2502	2504	2506	2508	2510	2512	2514	2516	2518	2520	2522	2524	2526	2528	2530	2532	2534	2536	2538	2540	2542	2544	2546	2548	2550	2552	2554	2556	2558	2560	2562	2564	2566	2568	2570	2572	2574	2576	2578	2580	2582	2584	2586	2588	2590	2592	2594	2596	2598	2600	2602	2604	2606	2608	2610	2612	2614	2616	2618	2620	2622	2624	2626	2628	2630	2632	2634	2636	2638	2640	2642	2644	2646	2648	2650	2652	2654	2656	2658	2660	2662	2664	2666	2668	2670	2672	2674	2676	2678	2680	2682	2684	2686	2688	2690	2692	2694	2696	2698	2700	2702	2704	2706	2708	2710	2712	2714	2716	2718	2720	2722	2724	2726	2728	2730	2732	2734	2736	2738	2740	2742	2744	2746	2748	2750	2752	2754	2756	2758	2760	2762	2764	2766	2768	2770	2772	2774	2776	2778	2780	2782	2784	2786	2788	2790	2792	2794	2796	2798	2800	2802	2804	2806	2808	2810	2812	2814	2816	2818	2820	2822	2824	2826	2828	2830	2832	2834	2836	2838	2840	2842	2844	2846	2848	2850	2852	2854	2856	2858	2860	2862	2864	2866	2868	2870	2872	2874	2876	2878	2880	2882	2884	2886	2888	2890	2892	2894	2896	2898	2900	2902	2904	2906	2908	2910	2912	2914	2916	2918	2920	2922	2924	2926	2928	2930	2932	2934	2936	2938	2940	2942	2944	2946	2948	2950	2952	2954	2956	2958	2960	2962	2964	2966	2968	2970	2972	2974	2976	2978	2980	2982	2984	2986	2988	2990	2992	2994	2996	2998	3000	3002	3004	3006	3008	3010	3012	3014	3016	3018	3020	3022	3024	3026	3028	3030	3032	3034	3036	3038	3040	3042	3044	3046	3048	3050	3052	3054	3056	3058	3060	3062	3064	3066	3068	3070	3072	3074	3076	3078	3080	3082	3084	3086	3088	3090	3092	3094	3096	3098	3100	3102	3104	3106	3108	3110	3112	3114	3116	3118	3120	3122	3124	3126	3128	3130	3132	3134	3136	3138	3140	3142	3144	3146	3148	3150	3152	3154	3156	3158	3160	3162	3164	3166	3168	3170	3172	3174	3176	3178	3180	3182	3184	3186	3188	3190	3192	3194	3196	3198	3200	3202	3204	3206	3208	3210	3212	3214	3216	3218	3220	3222	3224	3226	3228	3230	3232	3234	3236	3238	3240	3242	3244	3246	3248	3250	3252	3254	3256	3258	3260	3262	3264	3266	3268	3270	3272	3274	3276	3278	3280	3282	3284	3286	3288	3290	3292	3294	3296	3298	3300	3302	3304	3306	3308	3310	3312	3314	3316	3318	3320	3322	3324	3326	3328	3330	3332	3334	3336	3338	3340	3342	3344	3346	3348	3350	3352	3354	3356	3358	3360	3362	3364	3366	3368	3370	3372	3374	3376	3378	3380	3382	3384	3386	3388	3390	3392	3394	3396	3398	3400	3402	3404	3406	3408	3410	3412	3414	3416	3418	3420	3422	3424	3426	3428	3430	3432	3434	3436	3438	3440	3442	3444	3446	3448	3450	3452	3454	3456	3458	3460	3462	3464	3466	3468	3470	3472	3474	3476	3478	3480	3482	3484	3486	3488	3490	3492	3494	3496	3498	3500	3502	3504	3506	3508	3510	3512	3514	3516	3518	3520	3522	3524	3526	3528	3530	3532	3534	3536	3538	3540	3542	3544	3546	3548	3550	3552	3554	3556	3558	3560	3562	3564	3566	3568	3570	3572	3574	3576	3578	3580	3582	3584	3586	3588	3590	3592	3594	3596	3598	3600	275.66666666666669	276	276	276.33333333333331	275.66666666666669	275.66666666666669	275	274.66666666666669	274	273.66666666666669	273.33333333333331	273.66666666666669	271.66666666666669	270.66666666666669	271.33333333333331	270.33333333333331	269.66666666666669	268.66666666666669	268.66666666666669	268.33333333333331	268	267	267.33333333333331	266.66666666666669	264.66666666666669	265.66666666666669	264.33333333333331	265.66666666666669	263.66666666666669	263.33333333333331	263	263	263	261.66666666666669	260.66666666666669	261	260.66666666666669	260.33333333333331	259.66666666666669	259.33333333333331	258.66666666666669	258	258.33333333333331	258	257.33333333333331	256.33333333333331	257	257	255.66666666666666	255.66666666666666	255.33333333333334	255.66666666666666	254	254	254.33333333333334	254	253	253	253	252.66666666666666	251.66666666666666	251.66666666666666	251	251.33333333333334	251	249.66666666666666	250	249.66666666666666	250	250	248.33333333333334	249	249	248	248	248.66666666666666	247.66666666666666	247	247.33333333333334	246	245.33333333333334	246.33333333333334	246	245.33333333333334	246	244.66666666666666	245	244.33333333333334	244.33333333333334	244.33333333333334	244.66666666666666	244	243	243.33333333333334	242.66666666666666	243	242.66666666666666	242	241.66666666666666	242.33333333333334	242.33333333333334	242	241	241	240.66666666666666	241.33333333333334	240.66666666666666	240.66666666666666	240.33333333333334	240.66666666666666	239.66666666666666	239.66666666666666	239.66666666666666	240	239.33333333333334	238.33333333333334	239.33333333333334	239	238	237.33333333333334	238.66666666666666	238.33333333333334	238	237	238.33333333333334	237.33333333333334	238.33333333333334	236.66666666666666	237.66666666666666	237	236.66666666666666	236.33333333333334	236.66666666666666	236	237.33333333333334	235.66666666666666	236	236	235.66666666666666	236.66666666666666	235.66666666666666	235.66666666666666	236	235.33333333333334	235.33333333333334	235.66666666666666	235	234	235.66666666666666	234.33333333333334	235.33333333333334	234	233.33333333333334	234	233.33333333333334	234	233.33333333333334	234	233.33333333333334	233	232.66666666666666	233.66666666666666	233	233	233	233.33333333333334	232	231.33333333333334	233.33333333333334	233.33333333333334	232.66666666666666	232.33333333333334	232.33333333333334	232	231.33333333333334	231.66666666666666	231.33333333333334	231.33333333333334	231.66666666666666	231.66666666666666	231	231.66666666666666	231.66666666666666	231	231	230.66666666666666	231.66666666666666	231.33333333333334	231	230.33333333333334	230.33333333333334	231.66666666666666	230.66666666666666	230.66666666666666	231	231	230.33333333333334	230.33333333333334	231	230.33333333333334	230.66666666666666	230.33333333333334	229.66666666666666	229.33333333333334	230.33333333333334	230.33333333333334	229	229.33333333333334	230.66666666666666	229.66666666666666	229.33333333333334	230.33333333333334	229.33333333333334	230	228.66666666666666	229	230	228.66666666666666	228.66666666666666	230	229.66666666666666	228.66666666666666	228.66666666666666	229.33333333333334	229.33333333333334	228.66666666666666	229.66666666666666	228.66666666666666	229.66666666666666	229.33333333333334	229	229.33333333333334	228.66666666666666	228.66666666666666	229	228.66666666666666	228	228.66666666666666	228.66666666666666	229	228.66666666666666	228.33333333333334	228.66666666666666	227.66666666666666	228.66666666666666	228.66666666666666	228	228.33333333333334	228.33333333333334	227.66666666666666	227.33333333333334	227.66666666666666	228.33333333333334	228	227.66666666666666	228.33333333333334	228.33333333333334	227.66666666666666	227	228.33333333333334	227	227	228	227.33333333333334	226.33333333333334	227	228.33333333333334	226.33333333333334	227.33333333333334	227.33333333333334	226.66666666666666	228	227	228	227.33333333333334	227	227.33333333333334	227.33333333333334	227.66666666666666	227	227	227.33333333333334	227	226.66666666666666	227	227	226.66666666666666	227.33333333333334	227.66666666666666	227	227.66666666666666	226.66666666666666	227	227	226	227	227.66666666666666	226.33333333333334	227	226.66666666666666	226	226.66666666666666	226.33333333333334	226	226.33333333333334	227	225	226	227.33333333333334	225	226	226	225.33333333333334	225.66666666666666	226	226.33333333333334	226.66666666666666	226.33333333333334	226.33333333333334	226	226.66666666666666	226	226.33333333333334	225.66666666666666	227.33333333333334	225.66666666666666	225.66666666666666	227	226	225.66666666666666	226	225.66666666666666	225.66666666666666	226.66666666666666	225	225.33333333333334	226.33333333333334	225.33333333333334	225.66666666666666	225.66666666666666	226	225.66666666666666	226	226	225	224.66666666666666	226.33333333333334	224.33333333333334	225.66666666666666	226.33333333333334	225	225.33333333333334	225.66666666666666	225.66666666666666	225.33333333333334	226.33333333333334	225.66666666666666	226	226.33333333333334	226.33333333333334	225.66666666666666	226.33333333333334	225.66666666666666	225.66666666666666	224.66666666666666	225.33333333333334	225.66666666666666	225.66666666666666	225.33333333333334	226	224.66666666666666	226	225.66666666666666	224.33333333333334	225.66666666666666	226.33333333333334	225.66666666666666	225.33333333333334	225	225.33333333333334	225.66666666666666	225.33333333333334	226.33333333333334	224	226	225	225.33333333333334	226	225.66666666666666	226	226.33333333333334	225.33333333333334	225.66666666666666	225.66666666666666	225.66666666666666	225	225	225.66666666666666	225.66666666666666	225.33333333333334	225.66666666666666	224.33333333333334	224.66666666666666	225.33333333333334	225	224.33333333333334	226.33333333333334	225.33333333333334	225	225.66666666666666	225.66666666666666	225	225	224.66666666666666	225	225	226	225.33333333333334	225.33333333333334	225	226	225	225.33333333333334	225.66666666666666	225.33333333333334	224.66666666666666	225.66666666666666	224.66666666666666	225.33333333333334	225	225.66666666666666	225.66666666666666	224.66666666666666	226	225.66666666666666	224.66666666666666	225.66666666666666	225.33333333333334	225.66666666666666	224.66666666666666	224.66666666666666	226	225.33333333333334	225.33333333333334	225.33333333333334	224.66666666666666	225.66666666666666	225	225.33333333333334	226	225	225	226	224.66666666666666	225.66666666666666	224.66666666666666	226.66666666666666	226.33333333333334	224.66666666666666	225	226	226.33333333333334	225.33333333333334	225	224.66666666666666	225	224.66666666666666	225.66666666666666	225	225.66666666666666	225.66666666666666	225	225	225.33333333333334	225.33333333333334	225	225	224.33333333333334	225.66666666666666	225.33333333333334	225	225.66666666666666	225.66666666666666	224.33333333333334	225.33333333333334	225.33333333333334	226	225.66666666666666	225.66666666666666	225.33333333333334	225.66666666666666	225	225.66666666666666	225	225	225.33333333333334	225	225.33333333333334	225	225.33333333333334	225.66666666666666	225.33333333333334	225	225.33333333333334	224.66666666666666	225.66666666666666	225	224.33333333333334	225.33333333333334	226.66666666666666	225.33333333333334	225.66666666666666	226.33333333333334	225	225.66666666666666	225.33333333333334	226	224.33333333333334	225.66666666666666	226	225.33333333333334	225.66666666666666	225.33333333333334	225	225.33333333333334	226.33333333333334	225.33333333333334	225.33333333333334	226.66666666666666	225.33333333333334	225.66666666666666	225.66666666666666	226.33333333333334	225.66666666666666	225.33333333333334	226	226	224.66666666666666	225	226.33333333333334	225.33333333333334	225	225.33333333333334	225.66666666666666	225.66666666666666	226	225.33333333333334	226	226	225.66666666666666	226	225	225.66666666666666	225.33333333333334	224.33333333333334	226	225.66666666666666	225.33333333333334	225.33333333333334	226	226.66666666666666	226	225.33333333333334	226.66666666666666	225.66666666666666	226	225.33333333333334	226	225.33333333333334	225.33333333333334	226	226	225	226.66666666666666	226.33333333333334	226.66666666666666	224.66666666666666	225.33333333333334	225.66666666666666	226.33333333333334	225	225.33333333333334	225.33333333333334	226.66666666666666	226	226	226.33333333333334	224.66666666666666	225.66666666666666	225	225.66666666666666	226.33333333333334	225.66666666666666	226.33333333333334	225	226	226.33333333333334	226	226.33333333333334	226.66666666666666	225.66666666666666	226.33333333333334	225.33333333333334	225.66666666666666	226.66666666666666	225.66666666666666	225.66666666666666	225.33333333333334	226	226.33333333333334	226	225.66666666666666	226	226.33333333333334	226	226	226.66666666666666	225.66666666666666	225.66666666666666	225.33333333333334	225.66666666666666	226.66666666666666	225.66666666666666	226.33333333333334	225.66666666666666	226	226	226.66666666666666	226.33333333333334	225	226.33333333333334	226.66666666666666	226	225.33333333333334	226.33333333333334	226.66666666666666	226.66666666666666	226	226.66666666666666	226.33333333333334	226	225.33333333333334	226.66666666666666	226.66666666666666	226	226	226.33333333333334	225.66666666666666	225.33333333333334	226	227	225.33333333333334	225.66666666666666	226.33333333333334	226.33333333333334	226	226	226.33333333333334	225.33333333333334	227	226	225.33333333333334	226	226.66666666666666	226.33333333333334	226	227.33333333333334	226	226.33333333333334	225.66666666666666	225.33333333333334	225.66666666666666	227.33333333333334	225.33333333333334	225.33333333333334	227	226.33333333333334	225.33333333333334	226	226.33333333333334	226	226.33333333333334	226.33333333333334	226	226.66666666666666	226.66666666666666	225	227.33333333333334	226.66666666666666	225.33333333333334	227.33333333333334	227	226	225.66666666666666	226.66666666666666	226.33333333333334	226	226.66666666666666	226.66666666666666	227.33333333333334	227	225.33333333333334	227.33333333333334	226.33333333333334	226	226.33333333333334	227	225.66666666666666	226	226.33333333333334	226.33333333333334	226	226.33333333333334	226.33333333333334	226.33333333333334	227	226.33333333333334	226.33333333333334	227	227.66666666666666	227	226.33333333333334	226.33333333333334	227.33333333333334	226.66666666666666	226.33333333333334	227.33333333333334	226.66666666666666	226.33333333333334	226	227.33333333333334	226.66666666666666	227.33333333333334	226	226.66666666666666	227	226.66666666666666	226.33333333333334	226.66666666666666	227.33333333333334	226.33333333333334	226.66666666666666	227	227.33333333333334	227.33333333333334	226.33333333333334	226.33333333333334	226.66666666666666	226.66666666666666	227	226.33333333333334	226.33333333333334	227	226.66666666666666	227	227.33333333333334	227.33333333333334	226	226.66666666666666	227.33333333333334	227	227.33333333333334	227	227	227.33333333333334	227	227.66666666666666	227	226.33333333333334	227	227	227.66666666666666	226.66666666666666	227.33333333333334	227	227	227.33333333333334	226.66666666666666	227	226.66666666666666	227	227.33333333333334	226.66666666666666	226.66666666666666	227	228	226.33333333333334	227.33333333333334	227.33333333333334	227	226.66666666666666	227.66666666666666	227.33333333333334	226.33333333333334	227.33333333333334	227.66666666666666	227	227	227.33333333333334	227	226.66666666666666	227.33333333333334	227.33333333333334	227.33333333333334	227.66666666666666	227.33333333333334	227	227.66666666666666	228	227.33333333333334	227	227.33333333333334	227.66666666666666	227	227.66666666666666	228.33333333333334	227.33333333333334	227	228	228	226.66666666666666	227	228	227.66666666666666	226.66666666666666	227.33333333333334	227.33333333333334	227	227.66666666666666	227.66666666666666	227	227.66666666666666	227.66666666666666	228	227.66666666666666	228	228	227.33333333333334	227.66666666666666	227.33333333333334	228	228.33333333333334	226.66666666666666	227.66666666666666	228.66666666666666	228	226.66666666666666	228.33333333333334	228.33333333333334	227.66666666666666	227.33333333333334	228	228	227.66666666666666	227.66666666666666	228	228	228	228.33333333333334	227.33333333333334	228.33333333333334	228.33333333333334	228.33333333333334	227.66666666666666	228	228.33333333333334	228	227	228.33333333333334	227.66666666666666	227.66666666666666	228	228	228.66666666666666	228.66666666666666	228	228.33333333333334	228.33333333333334	229	228	228	228	228	228.66666666666666	227.66666666666666	229	228.66666666666666	227.66666666666666	228.66666666666666	228.66666666666666	228.33333333333334	228.66666666666666	228.33333333333334	228.66666666666666	228	227.66666666666666	228.66666666666666	228.33333333333334	228.33333333333334	228	229	228.66666666666666	228	228.33333333333334	228.33333333333334	227.66666666666666	228.33333333333334	228.66666666666666	228.33333333333334	228.66666666666666	227.66666666666666	228.66666666666666	228	229.33333333333334	228	228.66666666666666	228.33333333333334	227.66666666666666	228.33333333333334	229	229	230	228	228.66666666666666	229	228.66666666666666	228.33333333333334	229.33333333333334	229.33333333333334	227.66666666666666	228.33333333333334	228.33333333333334	230	229	229.33333333333334	229.33333333333334	230	228.66666666666666	229.33333333333334	228.66666666666666	228.66666666666666	228.33333333333334	229.33333333333334	228.66666666666666	228.33333333333334	228.66666666666666	229	229.33333333333334	228.33333333333334	228.66666666666666	229	228.66666666666666	228	228.66666666666666	229.33333333333334	228.66666666666666	229.66666666666666	229.66666666666666	228.33333333333334	229	229.66666666666666	228	229.33333333333334	228.33333333333334	229.33333333333334	228.33333333333334	229	228.66666666666666	229.33333333333334	229	228.66666666666666	229.33333333333334	229	228	228.33333333333334	229.66666666666666	228.33333333333334	229.33333333333334	228.66666666666666	229	229.66666666666666	228.66666666666666	229	229.66666666666666	229.33333333333334	229.33333333333334	229.33333333333334	230	229.33333333333334	228.66666666666666	229.66666666666666	229	229.66666666666666	229.66666666666666	229.33333333333334	229.66666666666666	229.33333333333334	229.33333333333334	228.66666666666666	230	228.33333333333334	229.66666666666666	229.33333333333334	230	229.33333333333334	229.66666666666666	229	230.33333333333334	230.33333333333334	229.66666666666666	230.66666666666666	230	229.33333333333334	228.66666666666666	229.33333333333334	230.66666666666666	229	229.66666666666666	230	230.33333333333334	229	230.66666666666666	229.33333333333334	230	229	230.33333333333334	229	229	229.66666666666666	230.33333333333334	229.33333333333334	229.33333333333334	230.33333333333334	229.66666666666666	230.66666666666666	229.66666666666666	230.33333333333334	230.66666666666666	230.33333333333334	228.66666666666666	230	229.66666666666666	229.33333333333334	229.33333333333334	229.66666666666666	229.33333333333334	229.33333333333334	229.66666666666666	230.33333333333334	229.66666666666666	230.33333333333334	229.33333333333334	231	230	229.33333333333334	229.66666666666666	230.33333333333334	229.66666666666666	229.66666666666666	231	230	229.33333333333334	230.33333333333334	230.66666666666666	230.33333333333334	229.66666666666666	230	230	230.33333333333334	231	230	230	230	231	230.33333333333334	230	230.66666666666666	230	229.66666666666666	231	230.33333333333334	231	230.33333333333334	230.66666666666666	231.33333333333334	230.66666666666666	230.33333333333334	230	230.33333333333334	231	230.66666666666666	230.33333333333334	230	231	231	230.33333333333334	230.66666666666666	231.33333333333334	231.66666666666666	231	231.66666666666666	231	231	231.33333333333334	231.66666666666666	231	231.33333333333334	232	231.66666666666666	231	230.33333333333334	232	232	231.66666666666666	231	231.66666666666666	231.33333333333334	231	231.33333333333334	232	231.66666666666666	231	231	231.33333333333334	231.33333333333334	232.66666666666666	231.33333333333334	231.33333333333334	231	231.66666666666666	231	231.66666666666666	231.33333333333334	232	231.66666666666666	231.33333333333334	231.33333333333334	231.33333333333334	232.33333333333334	232	231.66666666666666	231.66666666666666	232	231.33333333333334	232	232	232.66666666666666	232	232.33333333333334	231.33333333333334	232	231.33333333333334	233	231.33333333333334	231.66666666666666	232	231.66666666666666	230.66666666666666	232	233	231.33333333333334	231.66666666666666	232.33333333333334	232.33333333333334	232	232.66666666666666	232	231.33333333333334	232.66666666666666	231.66666666666666	231.66666666666666	232	232.66666666666666	232.66666666666666	231.66666666666666	231.66666666666666	232	231.33333333333334	231	232	232.66666666666666	230.66666666666666	232	232.66666666666666	231.66666666666666	231	232	232.33333333333334	232	231.33333333333334	231.33333333333334	231.66666666666666	231.66666666666666	231.66666666666666	231.66666666666666	232.33333333333334	231.66666666666666	232.33333333333334	232	231.66666666666666	231.66666666666666	232.33333333333334	232.66666666666666	232	232.33333333333334	232.33333333333334	232	232.33333333333334	231.66666666666666	231.66666666666666	232.33333333333334	232	232.33333333333334	232	232.33333333333334	231.66666666666666	232	232.33333333333334	232	232.33333333333334	232.33333333333334	232.33333333333334	231.33333333333334	232.66666666666666	232	232	232	232.33333333333334	232.33333333333334	232.66666666666666	232.33333333333334	232.66666666666666	231.66666666666666	233	232.33333333333334	232	232.66666666666666	233	231.66666666666666	233	232.66666666666666	232	232.33333333333334	232.66666666666666	232.66666666666666	232.33333333333334	232.33333333333334	232.66666666666666	231.66666666666666	232.33333333333334	232	232	231.66666666666666	232.66666666666666	232.33333333333334	232	231.33333333333334	231.66666666666666	233	232	231.66666666666666	232.33333333333334	233	232.33333333333334	232	231.66666666666666	233	231.66666666666666	232.33333333333334	231.66666666666666	232.66666666666666	232.66666666666666	232.33333333333334	232.33333333333334	231.66666666666666	232	232.66666666666666	233	232	232.33333333333334	232.66666666666666	233	231.66666666666666	232.66666666666666	232	232	232	232.33333333333334	232	232.33333333333334	232.33333333333334	232.33333333333334	232	232.66666666666666	233.66666666666666	233	233	232	232	233	232.33333333333334	232.33333333333334	233	232.33333333333334	232.66666666666666	232.33333333333334	232.33333333333334	233.66666666666666	232.66666666666666	233	232.33333333333334	232.33333333333334	233.33333333333334	232.66666666666666	232	232.33333333333334	233.66666666666666	232	233	233	232.66666666666666	232.66666666666666	232.66666666666666	232.66666666666666	232	232.33333333333334	232.33333333333334	232.66666666666666	233	232.66666666666666	232	233	232.66666666666666	233.66666666666666	233	232.66666666666666	232.33333333333334	232.66666666666666	233.66666666666666	232.66666666666666	233.66666666666666	232.33333333333334	233	232.33333333333334	232.66666666666666	233	233.33333333333334	232.66666666666666	233.33333333333334	232.66666666666666	233	233	232.66666666666666	232.33333333333334	233.33333333333334	234	232.66666666666666	232.66666666666666	232.33333333333334	233.66666666666666	234	233	233.66666666666666	234.33333333333334	233	233.33333333333334	233	233.33333333333334	233.66666666666666	233.33333333333334	232.66666666666666	232.66666666666666	233.33333333333334	233	233.66666666666666	233.33333333333334	233.66666666666666	234	233.66666666666666	233	234	232.66666666666666	233.33333333333334	233.66666666666666	232.66666666666666	233.33333333333334	233.33333333333334	234	233.66666666666666	233.33333333333334	233.33333333333334	233	234	234	233.33333333333334	233.33333333333334	233.66666666666666	233	232.66666666666666	232.66666666666666	232.66666666666666	234	233	234.33333333333334	233.33333333333334	235	233.66666666666666	233	234	234.33333333333334	235.33333333333334	234.33333333333334	234.33333333333334	233.33333333333334	235	236	235	235	234.66666666666666	235.66666666666666	234.33333333333334	234.66666666666666	235.33333333333334	235	236	235.66666666666666	235.33333333333334	235.33333333333334	235.33333333333334	235.33333333333334	235.33333333333334	236	236.33333333333334	235.33333333333334	235.66666666666666	235.33333333333334	236	236.66666666666666	236	237	235.33333333333334	236.33333333333334	236.66666666666666	235.66666666666666	237	236	235.33333333333334	235.66666666666666	235.33333333333334	235.66666666666666	235.66666666666666	235.33333333333334	234.66666666666666	236.33333333333334	236	236	236	235.33333333333334	236	235.66666666666666	235.66666666666666	234.66666666666666	236.33333333333334	235.66666666666666	235.33333333333334	236.66666666666666	235.66666666666666	236	235.33333333333334	236	236.66666666666666	236.33333333333334	235.66666666666666	236.66666666666666	235.66666666666666	235.66666666666666	236.66666666666666	236.33333333333334	236	236.66666666666666	237	236.66666666666666	235.66666666666666	236.66666666666666	236.33333333333334	237	237	237	236.33333333333334	237	236.33333333333334	236.33333333333334	237.33333333333334	236.66666666666666	236.66666666666666	236	236	236.33333333333334	236.66666666666666	236.66666666666666	237.33333333333334	236.66666666666666	236.33333333333334	236.66666666666666	236	237	236.66666666666666	236	237.33333333333334	237	236.33333333333334	237	236	236.33333333333334	236.66666666666666	236.66666666666666	236	236.66666666666666	236.66666666666666	235.33333333333334	236.33333333333334	237	236	236.66666666666666	236.66666666666666	236.33333333333334	236.66666666666666	237	235.66666666666666	236.66666666666666	236	237	237.66666666666666	236	237	236.66666666666666	236.66666666666666	236	237.33333333333334	236.33333333333334	235.66666666666666	236.66666666666666	237	236.33333333333334	236.33333333333334	237.33333333333334	236.33333333333334	237	236	237	235.33333333333334	236.33333333333334	237.33333333333334	236.33333333333334	236.66666666666666	236.66666666666666	236.66666666666666	235.66666666666666	237.33333333333334	236.33333333333334	235.66666666666666	236	237	236.66666666666666	237	236.33333333333334	235.33333333333334	237	236.66666666666666	237	235.66666666666666	237	236	237.33333333333334	236.33333333333334	236.66666666666666	237.33333333333334	236.66666666666666	236.66666666666666	237	236	236.66666666666666	236.66666666666666	236.33333333333334	236.33333333333334	237.33333333333334	237	235.66666666666666	236	237	236.66666666666666	236.33333333333334	237	237.66666666666666	236.66666666666666	237	237	237.33333333333334	237.33333333333334	237.33333333333334	237	237	236.66666666666666	237.33333333333334	238.33333333333334	237	237	236.66666666666666	237.66666666666666	237	237.33333333333334	238	237	237.66666666666666	236.66666666666666	237	238	237	236.33333333333334	238.33333333333334	236.66666666666666	236.33333333333334	237.66666666666666	237	237	236.66666666666666	237	237	236	237.66666666666666	237	237.66666666666666	237.33333333333334	237.66666666666666	236.33333333333334	237.66666666666666	236.66666666666666	236.66666666666666	237.66666666666666	237	237.33333333333334	237.33333333333334	236.66666666666666	236.66666666666666	237.33333333333334	236.66666666666666	236.66666666666666	237.66666666666666	236.33333333333334	237.33333333333334	238	237.33333333333334	236.33333333333334	236.66666666666666	237.33333333333334	237.33333333333334	236.66666666666666	238	237.33333333333334	236.66666666666666	237	237	237.66666666666666	237	237.33333333333334	236.66666666666666	236.66666666666666	237.33333333333334	237	236.33333333333334	236.66666666666666	236.66666666666666	237.33333333333334	237	237.66666666666666	237.33333333333334	238.66666666666666	236.33333333333334	237.66666666666666	237.66666666666666	236.66666666666666	236.66666666666666	237	238.66666666666666	237.66666666666666	238	238.33333333333334	237.66666666666666	236.66666666666666	236.66666666666666	236.66666666666666	237.33333333333334	238	238	237.33333333333334	238.33333333333334	237	237	238.33333333333334	238.66666666666666	239	239.66666666666666	238	238.33333333333334	238.33333333333334	238.33333333333334	238.66666666666666	238.66666666666666	238.33333333333334	238.66666666666666	238.66666666666666	238	237.66666666666666	237.66666666666666	239.66666666666666	237.66666666666666	237.66666666666666	239.66666666666666	238.66666666666666	238	239.33333333333334	238	238.33333333333334	238	239.33333333333334	237.33333333333334	238.66666666666666	239.33333333333334	238.33333333333334	238.66666666666666	239.33333333333334	238	238.66666666666666	239.33333333333334	237.66666666666666	238.66666666666666	238.33333333333334	239	238.66666666666666	240.33333333333334	239.66666666666666	238.33333333333334	238	239	238.66666666666666	239.33333333333334	239.66666666666666	239.66666666666666	238	240	238.33333333333334	238.66666666666666	240.33333333333334	239	238.66666666666666	238.33333333333334	238.33333333333334	239.33333333333334	238	239	240	238	238.66666666666666	239.66666666666666	238.33333333333334	238.66666666666666	240.66666666666666	239	239.66666666666666	240.33333333333334	239.66666666666666	239.66666666666666	240	239	240.33333333333334	240.33333333333334	240	238.66666666666666	240.66666666666666	239.66666666666666	239.66666666666666	240.66666666666666	239.66666666666666	238.66666666666666	240.33333333333334	239.33333333333334	240	239	240	239.33333333333334	240.66666666666666	239.33333333333334	238.66666666666666	239.66666666666666	240	239.66666666666666	240	240.33333333333334	241	240.33333333333334	240.66666666666666	1.2 g/h/L	0	2	4	6	8	10	12	14	16	18	20	22	24	26	28	30	32	34	36	38	40	42	44	46	48	50	52	54	56	58	60	62	64	66	68	70	72	74	76	78	80	82	84	86	88	90	92	94	96	98	100	102	104	106	108	110	112	114	116	118	120	122	124	126	128	130	132	134	136	138	140	142	144	146	148	150	152	154	156	158	160	162	164	166	168	170	172	174	176	178	180	182	184	186	188	190	192	194	196	198	200	202	204	206	208	210	212	214	216	218	220	222	224	226	228	230	232	234	236	238	240	242	244	246	248	250	252	254	256	258	260	262	264	266	268	270	272	274	276	278	280	282	284	286	288	290	292	294	296	298	300	302	304	306	308	310	312	314	316	318	320	322	324	326	328	330	332	334	336	338	340	342	344	346	348	350	352	354	356	358	360	362	364	366	368	370	372	374	376	378	380	382	384	386	388	390	392	394	396	398	400	402	404	406	408	410	412	414	416	418	420	422	424	426	428	430	432	434	436	438	440	442	444	446	448	450	452	454	456	458	460	462	464	466	468	470	472	474	476	478	480	482	484	486	488	490	492	494	496	498	500	502	504	506	508	510	512	514	516	518	520	522	524	526	528	530	532	534	536	538	540	542	544	546	548	550	552	554	556	558	560	562	564	566	568	570	572	574	576	578	580	582	584	586	588	590	592	594	596	598	600	602	604	606	608	610	612	614	616	618	620	622	624	626	628	630	632	634	636	638	640	642	644	646	648	650	652	654	656	658	660	662	664	666	668	670	672	674	676	678	680	682	684	686	688	690	692	694	696	698	700	702	704	706	708	710	712	714	716	718	720	722	724	726	728	730	732	734	736	738	740	742	744	746	748	750	752	754	756	758	760	762	764	766	768	770	772	774	776	778	780	782	784	786	788	790	792	794	796	798	800	802	804	806	808	810	812	814	816	818	820	822	824	826	828	830	832	834	836	838	840	842	844	846	848	850	852	854	856	858	860	862	864	866	868	870	872	874	876	878	880	882	884	886	888	890	892	894	896	898	900	902	904	906	908	910	912	914	916	918	920	922	924	926	928	930	932	934	936	938	940	942	944	946	948	950	952	954	956	958	960	962	964	966	968	970	972	974	976	978	980	982	984	986	988	990	992	994	996	998	1000	1002	1004	1006	1008	1010	1012	1014	1016	1018	1020	1022	1024	1026	1028	1030	1032	1034	1036	1038	1040	1042	1044	1046	1048	1050	1052	1054	1056	1058	1060	1062	1064	1066	1068	1070	1072	1074	1076	1078	1080	1082	1084	1086	1088	1090	1092	1094	1096	1098	1100	1102	1104	1106	1108	1110	1112	1114	1116	1118	1120	1122	1124	1126	1128	1130	1132	1134	1136	1138	1140	1142	1144	1146	1148	1150	1152	1154	1156	1158	1160	1162	1164	1166	1168	1170	1172	1174	1176	1178	1180	1182	1184	1186	1188	1190	1192	1194	1196	1198	1200	1202	1204	1206	1208	1210	1212	1214	1216	1218	1220	1222	1224	1226	1228	1230	1232	1234	1236	1238	1240	1242	1244	1246	1248	1250	1252	1254	1256	1258	1260	1262	1264	1266	1268	1270	1272	1274	1276	1278	1280	1282	1284	1286	1288	1290	1292	1294	1296	1298	1300	1302	1304	1306	1308	1310	1312	1314	1316	1318	1320	1322	1324	1326	1328	1330	1332	1334	1336	1338	1340	1342	1344	1346	1348	1350	1352	1354	1356	1358	1360	1362	1364	1366	1368	1370	1372	1374	1376	1378	1380	1382	1384	1386	1388	1390	1392	1394	1396	1398	1400	1402	1404	1406	1408	1410	1412	1414	1416	1418	1420	1422	1424	1426	1428	1430	1432	1434	1436	1438	1440	1442	1444	1446	1448	1450	1452	1454	1456	1458	1460	1462	1464	1466	1468	1470	1472	1474	1476	1478	1480	1482	1484	1486	1488	1490	1492	1494	1496	1498	1500	1502	1504	1506	1508	1510	1512	1514	1516	1518	1520	1522	1524	1526	1528	1530	1532	1534	1536	1538	1540	1542	1544	1546	1548	1550	1552	1554	1556	1558	1560	1562	1564	1566	1568	1570	1572	1574	1576	1578	1580	1582	1584	1586	1588	1590	1592	1594	1596	1598	1600	1602	1604	1606	1608	1610	1612	1614	1616	1618	1620	1622	1624	1626	1628	1630	1632	1634	1636	1638	1640	1642	1644	1646	1648	1650	1652	1654	1656	1658	1660	1662	1664	1666	1668	1670	1672	1674	1676	1678	1680	1682	1684	1686	1688	1690	1692	1694	1696	1698	1700	1702	1704	1706	1708	1710	1712	1714	1716	1718	1720	1722	1724	1726	1728	1730	1732	1734	1736	1738	1740	1742	1744	1746	1748	1750	1752	1754	1756	1758	1760	1762	1764	1766	1768	1770	1772	1774	1776	1778	1780	1782	1784	1786	1788	1790	1792	1794	1796	1798	1800	1802	1804	1806	1808	1810	1812	1814	1816	1818	1820	1822	1824	1826	1828	1830	1832	1834	1836	1838	1840	1842	1844	1846	1848	1850	1852	1854	1856	1858	1860	1862	1864	1866	1868	1870	1872	1874	1876	1878	1880	1882	1884	1886	1888	1890	1892	1894	1896	1898	1900	1902	1904	1906	1908	1910	1912	1914	1916	1918	1920	1922	1924	1926	1928	1930	1932	1934	1936	1938	1940	1942	1944	1946	1948	1950	1952	1954	1956	1958	1960	1962	1964	1966	1968	1970	1972	1974	1976	1978	1980	1982	1984	1986	1988	1990	1992	1994	1996	1998	2000	2002	2004	2006	2008	2010	2012	2014	2016	2018	2020	2022	2024	2026	2028	2030	2032	2034	2036	2038	2040	2042	2044	2046	2048	2050	2052	2054	2056	2058	2060	2062	2064	2066	2068	2070	2072	2074	2076	2078	2080	2082	2084	2086	2088	2090	2092	2094	2096	2098	2100	2102	2104	2106	2108	2110	2112	2114	2116	2118	2120	2122	2124	2126	2128	2130	2132	2134	2136	2138	2140	2142	2144	2146	2148	2150	2152	2154	2156	2158	2160	2162	2164	2166	2168	2170	2172	2174	2176	2178	2180	2182	2184	2186	2188	2190	2192	2194	2196	2198	2200	2202	2204	2206	2208	2210	2212	2214	2216	2218	2220	2222	2224	2226	2228	2230	2232	2234	2236	2238	2240	2242	2244	2246	2248	2250	2252	2254	2256	2258	2260	2262	2264	2266	2268	2270	2272	2274	2276	2278	2280	2282	2284	2286	2288	2290	2292	2294	2296	2298	2300	2302	2304	2306	2308	2310	2312	2314	2316	2318	2320	2322	2324	2326	2328	2330	2332	2334	2336	2338	2340	2342	2344	2346	2348	2350	2352	2354	2356	2358	2360	2362	2364	2366	2368	2370	2372	2374	2376	2378	2380	2382	2384	2386	2388	2390	2392	2394	2396	2398	2400	2402	2404	2406	2408	2410	2412	2414	2416	2418	2420	2422	2424	2426	2428	2430	2432	2434	2436	2438	2440	2442	2444	2446	2448	2450	2452	2454	2456	2458	2460	2462	2464	2466	2468	2470	2472	2474	2476	2478	2480	2482	2484	2486	2488	2490	2492	2494	2496	2498	2500	2502	2504	2506	2508	2510	2512	2514	2516	2518	2520	2522	2524	2526	2528	2530	2532	2534	2536	2538	2540	2542	2544	2546	2548	2550	2552	2554	2556	2558	2560	2562	2564	2566	2568	2570	2572	2574	2576	2578	2580	2582	2584	2586	2588	2590	2592	2594	2596	2598	2600	2602	2604	2606	2608	2610	2612	2614	2616	2618	2620	2622	2624	2626	2628	2630	2632	2634	2636	2638	2640	2642	2644	2646	2648	2650	2652	2654	2656	2658	2660	2662	2664	2666	2668	2670	2672	2674	2676	2678	2680	2682	2684	2686	2688	2690	2692	2694	2696	2698	2700	2702	2704	2706	2708	2710	2712	2714	2716	2718	2720	2722	2724	2726	2728	2730	2732	2734	2736	2738	2740	2742	2744	2746	2748	2750	2752	2754	2756	2758	2760	2762	2764	2766	2768	2770	2772	2774	2776	2778	2780	2782	2784	2786	2788	2790	2792	2794	2796	2798	2800	2802	2804	2806	2808	2810	2812	2814	2816	2818	2820	2822	2824	2826	2828	2830	2832	2834	2836	2838	2840	2842	2844	2846	2848	2850	2852	2854	2856	2858	2860	2862	2864	2866	2868	2870	2872	2874	2876	2878	2880	2882	2884	2886	2888	2890	2892	2894	2896	2898	2900	2902	2904	2906	2908	2910	2912	2914	2916	2918	2920	2922	2924	2926	2928	2930	2932	2934	2936	2938	2940	2942	2944	2946	2948	2950	2952	2954	2956	2958	2960	2962	2964	2966	2968	2970	2972	2974	2976	2978	2980	2982	2984	2986	2988	2990	2992	2994	2996	2998	3000	3002	3004	3006	3008	3010	3012	3014	3016	3018	3020	3022	3024	3026	3028	3030	3032	3034	3036	3038	3040	3042	3044	3046	3048	3050	3052	3054	3056	3058	3060	3062	3064	3066	3068	3070	3072	3074	3076	3078	3080	3082	3084	3086	3088	3090	3092	3094	3096	3098	3100	3102	3104	3106	3108	3110	3112	3114	3116	3118	3120	3122	3124	3126	3128	3130	3132	3134	3136	3138	3140	3142	3144	3146	3148	3150	3152	3154	3156	3158	3160	3162	3164	3166	3168	3170	3172	3174	3176	3178	3180	3182	3184	3186	3188	3190	3192	3194	3196	3198	3200	3202	3204	3206	3208	3210	3212	3214	3216	3218	3220	3222	3224	3226	3228	3230	3232	3234	3236	3238	3240	3242	3244	3246	3248	3250	3252	3254	3256	3258	3260	3262	3264	3266	3268	3270	3272	3274	3276	3278	3280	3282	3284	3286	3288	3290	3292	3294	3296	3298	3300	3302	3304	3306	3308	3310	3312	3314	3316	3318	3320	3322	3324	3326	3328	3330	3332	3334	3336	3338	3340	3342	3344	3346	3348	3350	3352	3354	3356	3358	3360	3362	3364	3366	3368	3370	3372	3374	3376	3378	3380	3382	3384	3386	3388	3390	3392	3394	3396	3398	3400	3402	3404	3406	3408	3410	3412	3414	3416	3418	3420	3422	3424	3426	3428	3430	3432	3434	3436	3438	3440	3442	3444	3446	3448	3450	3452	3454	3456	3458	3460	3462	3464	3466	3468	3470	3472	3474	3476	3478	3480	3482	3484	3486	3488	3490	3492	3494	3496	3498	3500	3502	3504	3506	3508	3510	3512	3514	3516	3518	3520	3522	3524	3526	3528	3530	3532	3534	3536	3538	3540	3542	3544	3546	3548	3550	3552	3554	3556	3558	3560	3562	3564	3566	3568	3570	3572	3574	3576	3578	3580	3582	3584	3586	3588	3590	3592	3594	3596	3598	3600	311.66666666666669	314.66666666666669	315.66666666666669	316.33333333333331	315.66666666666669	316.33333333333331	316.66666666666669	316	316	314.66666666666669	315	315	315	313.66666666666669	313.33333333333331	313	312.66666666666669	311.33333333333331	311	311.66666666666669	310.66666666666669	309.33333333333331	310	309.33333333333331	307.66666666666669	306.66666666666669	307.66666666666669	306.66666666666669	305	305.33333333333331	305.33333333333331	304.66666666666669	303	301.66666666666669	302	303	301	301	300	300.33333333333331	298	297.66666666666669	297.33333333333331	297.66666666666669	297.33333333333331	297.33333333333331	295.33333333333331	295.33333333333331	295.66666666666669	294.33333333333331	294.66666666666669	293.33333333333331	293.33333333333331	292.33333333333331	291.66666666666669	291.33333333333331	291.66666666666669	290	290.33333333333331	290.66666666666669	290	289	288.33333333333331	289	287.66666666666669	286.66666666666669	286.33333333333331	286.66666666666669	286.66666666666669	285.33333333333331	285.33333333333331	285	285	284.33333333333331	285.66666666666669	285	285	284.33333333333331	284	282	281.33333333333331	282.66666666666669	281	281	280.33333333333331	280.33333333333331	280	279.33333333333331	279.33333333333331	278	278.33333333333331	278.33333333333331	276.66666666666669	276.66666666666669	278	277	275.33333333333331	276	275.66666666666669	276.33333333333331	275.33333333333331	274.66666666666669	274.33333333333331	274.66666666666669	274.33333333333331	273.66666666666669	272.66666666666669	273.66666666666669	274	272.66666666666669	272	271.33333333333331	272.33333333333331	271.66666666666669	272	271	270.66666666666669	271	271	270.66666666666669	270	269.33333333333331	269	269.33333333333331	270	269	268.33333333333331	268	268.66666666666669	268.33333333333331	267.33333333333331	267.33333333333331	266.66666666666669	267.33333333333331	267	266.33333333333331	266.33333333333331	266	265.66666666666669	266	264.66666666666669	265.33333333333331	265	265	264.66666666666669	264.33333333333331	264.33333333333331	264	263.66666666666669	263.66666666666669	264.33333333333331	262.66666666666669	262.66666666666669	262.66666666666669	263	262.66666666666669	262	262.66666666666669	261.33333333333331	262.33333333333331	261.33333333333331	261	261.33333333333331	261.66666666666669	261	260.66666666666669	259.66666666666669	261	260.33333333333331	260	259	260.33333333333331	258.66666666666669	259.33333333333331	261.66666666666669	259.33333333333331	258.66666666666669	259	259	258	258	259.66666666666669	257.66666666666669	257	258	258.33333333333331	256.33333333333331	257.33333333333331	258.66666666666669	257.66666666666669	256.66666666666669	255.66666666666666	257	257	255.66666666666666	256.66666666666669	256.33333333333331	255.33333333333334	254.66666666666666	255.33333333333334	255	255.33333333333334	255.66666666666666	255.33333333333334	254.33333333333334	254.66666666666666	254.33333333333334	255	254.33333333333334	253.33333333333334	254.33333333333334	254.33333333333334	254	254	254	253.66666666666666	253.66666666666666	253	254	253.66666666666666	253.33333333333334	252.66666666666666	252.33333333333334	253.66666666666666	252	252	253	253	252.33333333333334	252	251.66666666666666	252	252.33333333333334	252.33333333333334	251.66666666666666	251	252	251.33333333333334	250.33333333333334	251.33333333333334	251	251.66666666666666	250.33333333333334	251	250	250.33333333333334	250	251	250.33333333333334	251.33333333333334	250.33333333333334	250	249.66666666666666	250.33333333333334	250	249	249	249	248.66666666666666	249	249.66666666666666	249	247.66666666666666	248.66666666666666	248	248	248.33333333333334	248.66666666666666	248	247.66666666666666	248	248.66666666666666	248	247.33333333333334	247.66666666666666	247.66666666666666	247.33333333333334	247.33333333333334	247	247.66666666666666	247.66666666666666	247	246.66666666666666	247	248	248	247	247	246	246.33333333333334	247.33333333333334	247.33333333333334	246.33333333333334	247	246.66666666666666	246	246	247.33333333333334	246	245.66666666666666	245.66666666666666	246	246	244.33333333333334	246	246.66666666666666	245	245.66666666666666	245.66666666666666	245	245.66666666666666	245	245.66666666666666	245.66666666666666	245	244	245	245	245	244.33333333333334	245	245.66666666666666	245	244	245.66666666666666	245	244.33333333333334	245	244.33333333333334	244.33333333333334	243.66666666666666	244.66666666666666	244.33333333333334	243.66666666666666	244.66666666666666	245.33333333333334	244	244.33333333333334	243.66666666666666	244.33333333333334	244.66666666666666	243.33333333333334	244.66666666666666	244	243.33333333333334	244.33333333333334	244.33333333333334	243.33333333333334	244	243.66666666666666	243.33333333333334	243	243.33333333333334	244	244.33333333333334	243.66666666666666	243.33333333333334	243.33333333333334	242.33333333333334	243	243.66666666666666	243.66666666666666	242.33333333333334	242.66666666666666	244	243.33333333333334	241.66666666666666	243	243	243.33333333333334	243	242.33333333333334	242.33333333333334	243.33333333333334	243.66666666666666	242.33333333333334	242	243	243	242.33333333333334	242	243	241.66666666666666	242.33333333333334	242	241.66666666666666	242	242	243.33333333333334	242.33333333333334	241.66666666666666	242	243	242.33333333333334	243	241.66666666666666	241	242	243.66666666666666	241.66666666666666	242.33333333333334	241	241.66666666666666	242.33333333333334	241.66666666666666	242	240.66666666666666	241.33333333333334	241	242	241.33333333333334	241.66666666666666	241.66666666666666	241	241.33333333333334	241	240.33333333333334	241.66666666666666	241	241	241.66666666666666	241.33333333333334	241.33333333333334	241	241.33333333333334	241	241.33333333333334	242.33333333333334	241.33333333333334	240.66666666666666	240.66666666666666	241.33333333333334	241.66666666666666	241.33333333333334	241.33333333333334	240.66666666666666	241	240.66666666666666	241.33333333333334	240.33333333333334	240.33333333333334	241	241.33333333333334	240	240.66666666666666	239.66666666666666	240.66666666666666	241	241	241	240.33333333333334	240.66666666666666	239.66666666666666	240.66666666666666	241.33333333333334	241	240.66666666666666	239	239.66666666666666	241	241	240	240	240.66666666666666	240.33333333333334	240	241	240.66666666666666	240	241	240.33333333333334	240.66666666666666	241	240.66666666666666	240.66666666666666	241	240	239.66666666666666	239.66666666666666	240	240	240	240.66666666666666	239.66666666666666	240.66666666666666	241	241	240.66666666666666	240.33333333333334	239.66666666666666	240	239.66666666666666	240	240	240	239.66666666666666	240	240	240.66666666666666	239.66666666666666	240	239.66666666666666	240	241	240.33333333333334	239.66666666666666	239.66666666666666	240.66666666666666	240	240.33333333333334	240.66666666666666	241	239.66666666666666	239.66666666666666	240.66666666666666	240.66666666666666	239.33333333333334	239.33333333333334	238.66666666666666	239.33333333333334	239.33333333333334	239.66666666666666	239.66666666666666	239.33333333333334	239.66666666666666	240.33333333333334	239.66666666666666	239.33333333333334	239.33333333333334	239.66666666666666	239.33333333333334	240.33333333333334	239.66666666666666	240	239.66666666666666	240.66666666666666	239.66666666666666	238.66666666666666	239	240.33333333333334	240	239.33333333333334	238.66666666666666	239.66666666666666	240	240	239	239.66666666666666	240	240	240	239.66666666666666	239.33333333333334	239.66666666666666	239.33333333333334	241	240.66666666666666	239	240.33333333333334	240	239.66666666666666	238.33333333333334	240	240.33333333333334	239.33333333333334	240	240.33333333333334	240	239	240.33333333333334	240.33333333333334	240	239	239.66666666666666	240	239.33333333333334	239.33333333333334	239	239.33333333333334	239.33333333333334	239.33333333333334	239	239	239.66666666666666	239.33333333333334	239.33333333333334	238.66666666666666	240	239.33333333333334	239.66666666666666	238.66666666666666	239	239.66666666666666	239.66666666666666	239.33333333333334	240	239.66666666666666	238.66666666666666	238.66666666666666	239	239.33333333333334	240	239.33333333333334	239.66666666666666	240	239	240	238.66666666666666	240.33333333333334	239.33333333333334	239.33333333333334	239.66666666666666	240	240.33333333333334	240	239.33333333333334	239.33333333333334	240	240	238.33333333333334	239.33333333333334	241	239.33333333333334	239	239	240	240	240.66666666666666	239.33333333333334	238.66666666666666	240	240	239.66666666666666	238.66666666666666	239.66666666666666	240	239.66666666666666	238.66666666666666	239	239.33333333333334	240.33333333333334	239	239	239	240	239	239.66666666666666	239.33333333333334	239.66666666666666	240.33333333333334	239	238.33333333333334	239	240	240	239.33333333333334	238.66666666666666	239	239	239	239.66666666666666	239	239.33333333333334	239.66666666666666	240	238.66666666666666	239	240	239.66666666666666	239.66666666666666	238.66666666666666	238.66666666666666	239	239.66666666666666	240	239	239.33333333333334	239.66666666666666	240.33333333333334	240	239.66666666666666	240.33333333333334	239.66666666666666	239.66666666666666	239	239.33333333333334	240.33333333333334	240.33333333333334	240.66666666666666	240	239.33333333333334	239.66666666666666	240	239.66666666666666	240.33333333333334	238.66666666666666	239.66666666666666	240.66666666666666	240.66666666666666	240.33333333333334	238.66666666666666	239.33333333333334	240.33333333333334	239.66666666666666	240	239.66666666666666	239.66666666666666	240.66666666666666	239.33333333333334	240.66666666666666	241	240.66666666666666	241	240.33333333333334	239.66666666666666	239.66666666666666	240	240.33333333333334	241	240.66666666666666	239.66666666666666	239.66666666666666	239.66666666666666	241.33333333333334	239.66666666666666	240	240.66666666666666	239.66666666666666	239.66666666666666	240	239.66666666666666	240.66666666666666	240	239.33333333333334	240.66666666666666	239.33333333333334	241	240	240.66666666666666	239.66666666666666	239	240.66666666666666	241	239.33333333333334	240	240.33333333333334	240.33333333333334	240.33333333333334	238.66666666666666	239.33333333333334	240.66666666666666	241.33333333333334	240.33333333333334	240.33333333333334	239.66666666666666	240.33333333333334	239.33333333333334	241.33333333333334	240	240	240	240.33333333333334	241	239.33333333333334	239	240.66666666666666	240.66666666666666	240.66666666666666	240.33333333333334	239.33333333333334	239.66666666666666	240.66666666666666	241	240.33333333333334	239.33333333333334	240	240.33333333333334	240.66666666666666	240.33333333333334	239.66666666666666	239.66666666666666	241.33333333333334	240.66666666666666	239.33333333333334	239.66666666666666	240.66666666666666	240.33333333333334	239.66666666666666	240	241.33333333333334	240.66666666666666	239.33333333333334	240.33333333333334	241.66666666666666	240.66666666666666	240	241	241	240	240.66666666666666	240.66666666666666	241	240.66666666666666	242	240.33333333333334	240.66666666666666	240.33333333333334	241	240	240.33333333333334	241.33333333333334	241	240.33333333333334	239.66666666666666	241	240.66666666666666	240.66666666666666	240.66666666666666	241.66666666666666	240.33333333333334	241	241.33333333333334	240.66666666666666	240	240.66666666666666	241.33333333333334	242	240.66666666666666	240.33333333333334	241.66666666666666	241.33333333333334	241.33333333333334	242	240.66666666666666	240.66666666666666	242	240.66666666666666	240.66666666666666	241.33333333333334	241.33333333333334	241	241.66666666666666	241.33333333333334	241.33333333333334	242.66666666666666	241	241	241.33333333333334	241	240.66666666666666	241.33333333333334	241	241.33333333333334	241	240.33333333333334	241	240.66666666666666	241.66666666666666	241.33333333333334	241.33333333333334	241.33333333333334	240.66666666666666	240	241	242	240.33333333333334	241	242	240.66666666666666	241	241.33333333333334	241.33333333333334	241	241.66666666666666	240.66666666666666	240.33333333333334	241.66666666666666	240.66666666666666	241	241.66666666666666	241.33333333333334	241.66666666666666	241	241.33333333333334	241	241	241	241	240.66666666666666	242	242	241	241.33333333333334	241.66666666666666	242	241	241.66666666666666	242	241.33333333333334	242.66666666666666	242	241	240.66666666666666	241.66666666666666	241	241.66666666666666	241.66666666666666	242.66666666666666	242	242	241	241.33333333333334	242	242.33333333333334	241.66666666666666	242	241.66666666666666	243	241.33333333333334	242	242	242.66666666666666	241.66666666666666	241.66666666666666	241.66666666666666	243.33333333333334	241.66666666666666	241	242	242.66666666666666	243.66666666666666	242.66666666666666	241.66666666666666	242	242.33333333333334	242.66666666666666	241.66666666666666	242.66666666666666	243.33333333333334	242	241.66666666666666	241.66666666666666	242	243	242.33333333333334	242.33333333333334	242.66666666666666	242.33333333333334	243	242	242	242.66666666666666	242	243	242.33333333333334	243	242.33333333333334	242.33333333333334	241.66666666666666	243	242.33333333333334	242.33333333333334	243	242.33333333333334	243.33333333333334	243.66666666666666	242	242	242.33333333333334	242.33333333333334	243.66666666666666	243.33333333333334	242	241.66666666666666	242	242.66666666666666	243	243	242.66666666666666	243.66666666666666	242.33333333333334	242.66666666666666	241.66666666666666	243	243.66666666666666	242.33333333333334	243	242.66666666666666	243.33333333333334	243	242.66666666666666	242.66666666666666	242.66666666666666	243.33333333333334	243.33333333333334	242.66666666666666	242.33333333333334	243	242.66666666666666	242.33333333333334	242	242.33333333333334	242.33333333333334	242.33333333333334	242.33333333333334	242.66666666666666	243.33333333333334	243	242.33333333333334	242.66666666666666	244	243.33333333333334	243	243	243.66666666666666	243.33333333333334	243	242.66666666666666	243.33333333333334	243.66666666666666	242.33333333333334	243	243.33333333333334	242.66666666666666	243.33333333333334	243.33333333333334	244	244.33333333333334	242.66666666666666	242.33333333333334	244	243.66666666666666	243	242.66666666666666	244	244	243.66666666666666	245	243.66666666666666	244	244.33333333333334	244	243.33333333333334	243.33333333333334	244	244	242.33333333333334	244	244	244	244.33333333333334	244.33333333333334	243.33333333333334	244.33333333333334	243.33333333333334	243	243.66666666666666	242.66666666666666	243.66666666666666	244.33333333333334	244.33333333333334	243.66666666666666	244	244	244.33333333333334	243	244.66666666666666	244	243.33333333333334	243.66666666666666	244.66666666666666	244	244.33333333333334	245	243.33333333333334	243	243.66666666666666	244	244.33333333333334	243	244.66666666666666	243.33333333333334	244	245	243	243.66666666666666	245	244.33333333333334	244.66666666666666	244.66666666666666	243.33333333333334	244.33333333333334	245	243.33333333333334	244	244	243.66666666666666	244	244.33333333333334	244.66666666666666	244	244.66666666666666	244.33333333333334	244.33333333333334	244	244.33333333333334	243.66666666666666	243.66666666666666	245	243.66666666666666	244.33333333333334	245	244	244.33333333333334	243.66666666666666	244	243.66666666666666	244.66666666666666	244	244.33333333333334	245	243.33333333333334	244.33333333333334	245.66666666666666	244.33333333333334	244.66666666666666	244.66666666666666	244	244.66666666666666	244.66666666666666	244.33333333333334	245	245.66666666666666	244.33333333333334	244.66666666666666	244.33333333333334	243.66666666666666	245.33333333333334	246	244.33333333333334	245.33333333333334	243.66666666666666	244.33333333333334	245.33333333333334	244.66666666666666	245	244.66666666666666	245.66666666666666	244.66666666666666	246	245.33333333333334	244.33333333333334	245.33333333333334	245.66666666666666	244.66666666666666	245.66666666666666	245.66666666666666	244.33333333333334	245.66666666666666	246	244.33333333333334	245.33333333333334	245.66666666666666	245.66666666666666	244.66666666666666	245.33333333333334	246	245.66666666666666	245	245.33333333333334	245.33333333333334	244.66666666666666	246.33333333333334	244.66666666666666	245.66666666666666	245.33333333333334	244.66666666666666	245.33333333333334	246	244.33333333333334	245	245.33333333333334	246	244.66666666666666	245.33333333333334	245.33333333333334	244.66666666666666	245.33333333333334	246	246	245.66666666666666	246	245	245	246.66666666666666	245	246	245	246	246	244.66666666666666	245.66666666666666	245.66666666666666	245.33333333333334	245	246	245.66666666666666	246	245.66666666666666	245	246.33333333333334	246.66666666666666	246.33333333333334	245.66666666666666	245	246.66666666666666	245.66666666666666	246.66666666666666	246.33333333333334	245.66666666666666	245.66666666666666	246.66666666666666	245.66666666666666	245.33333333333334	245	245.66666666666666	246.66666666666666	245.33333333333334	245	246.66666666666666	247	247	246	245.33333333333334	246.66666666666666	247	245.66666666666666	246.33333333333334	246	246.66666666666666	247.33333333333334	247.66666666666666	247.33333333333334	246.33333333333334	246.66666666666666	246.33333333333334	247	247	247.66666666666666	247	246.66666666666666	246.66666666666666	247.33333333333334	247.33333333333334	247.33333333333334	247	245.33333333333334	246	247.33333333333334	247.66666666666666	247.66666666666666	247.66666666666666	246.66666666666666	246.66666666666666	247	246.66666666666666	248	247.33333333333334	246.66666666666666	247.33333333333334	248	247	246.66666666666666	246.66666666666666	247.66666666666666	248.66666666666666	247.33333333333334	246.66666666666666	246.33333333333334	247	247.66666666666666	248	246.66666666666666	247.33333333333334	246.66666666666666	248	247.66666666666666	246.66666666666666	247.66666666666666	247.33333333333334	247	247	247.66666666666666	247.66666666666666	247.33333333333334	247	247.66666666666666	247	247.33333333333334	247.33333333333334	248.33333333333334	248	246	247	247	249	248	247.33333333333334	246.66666666666666	247.66666666666666	248.33333333333334	247.33333333333334	248	248.33333333333334	247	249	248.66666666666666	248.66666666666666	247.66666666666666	247	248.66666666666666	247.33333333333334	247.66666666666666	248	248.66666666666666	248	248	247.66666666666666	248	248	248.33333333333334	248.33333333333334	248.33333333333334	248.33333333333334	248.33333333333334	249	248	248	249.33333333333334	248	248.66666666666666	248.66666666666666	248.33333333333334	249.33333333333334	248.33333333333334	248.33333333333334	248.66666666666666	248.66666666666666	249	248.33333333333334	248	248.33333333333334	249.33333333333334	249	248.33333333333334	248.33333333333334	248.66666666666666	249.66666666666666	248.33333333333334	248	249	249	249.33333333333334	249	248	248.66666666666666	249	248.33333333333334	249	248	248.33333333333334	248.33333333333334	249	248	247.66666666666666	248	249	249.33333333333334	248.33333333333334	249.66666666666666	248.66666666666666	249	248.66666666666666	248.66666666666666	248.33333333333334	248.66666666666666	249.33333333333334	248.66666666666666	249	249	249.33333333333334	249.33333333333334	249.66666666666666	249	250	248.66666666666666	248	249.66666666666666	249.66666666666666	248.66666666666666	248.33333333333334	248.66666666666666	250	249.66666666666666	250	248.33333333333334	249	249.66666666666666	249.66666666666666	249	248.33333333333334	249.66666666666666	249	249	248.33333333333334	250	249.33333333333334	249	248.66666666666666	250.33333333333334	248.66666666666666	248.33333333333334	250	249.33333333333334	247.66666666666666	248.66666666666666	249.66666666666666	249	248	249	250	249.33333333333334	249.66666666666666	249.66666666666666	249	250.33333333333334	250	248.33333333333334	249	249.33333333333334	251	250	250	249	249.66666666666666	250.33333333333334	250.66666666666666	250.66666666666666	250	249.66666666666666	250	249.66666666666666	250	250.66666666666666	251	249.66666666666666	249.66666666666666	250	250	249.66666666666666	250.33333333333334	250	250	250	249.66666666666666	251.33333333333334	249.66666666666666	250.66666666666666	250.66666666666666	250	249.33333333333334	250	250.66666666666666	250.33333333333334	250.33333333333334	249.33333333333334	250.33333333333334	250	250.66666666666666	251	249.33333333333334	250.66666666666666	251.33333333333334	250.66666666666666	249.66666666666666	250.66666666666666	250.33333333333334	250	249.66666666666666	250.66666666666666	250.66666666666666	250.66666666666666	249.66666666666666	250	251	250.33333333333334	250	251	250.33333333333334	250.66666666666666	251.66666666666666	250.66666666666666	251	250.66666666666666	250.33333333333334	251	251	250.33333333333334	250.33333333333334	251.66666666666666	251	250.33333333333334	250.66666666666666	251.66666666666666	251	251	251	250.66666666666666	251.33333333333334	250.66666666666666	251	251	250.33333333333334	251.33333333333334	252	251.66666666666666	251.33333333333334	251	251	251	252	250.33333333333334	251.33333333333334	250	250.66666666666666	250.33333333333334	251.33333333333334	250.33333333333334	250.66666666666666	250.66666666666666	251	250.66666666666666	250.33333333333334	251.33333333333334	250	250.66666666666666	251.33333333333334	251	250.33333333333334	251.33333333333334	251	250.33333333333334	251	250.66666666666666	251.33333333333334	251.33333333333334	251	251	252.33333333333334	250.66666666666666	251	252.33333333333334	252	251	251.66666666666666	251	251.66666666666666	251.66666666666666	250	251.33333333333334	252	252	250.66666666666666	251.33333333333334	250	251.33333333333334	251.66666666666666	251.66666666666666	251	251.66666666666666	250.33333333333334	250.66666666666666	252.66666666666666	252	252	251.33333333333334	252	252.33333333333334	252	253.33333333333334	252.33333333333334	253	252	253	252	253	253	251.33333333333334	252	253	253	252.66666666666666	252.66666666666666	252	253.33333333333334	253.33333333333334	253	253	252.33333333333334	253	253.33333333333334	253.66666666666666	253	252.33333333333334	253	253.33333333333334	252.66666666666666	253.66666666666666	252.66666666666666	252.66666666666666	253.33333333333334	253.66666666666666	252.66666666666666	252	253.66666666666666	253.66666666666666	254.33333333333334	253.33333333333334	252	252.66666666666666	253.66666666666666	253.33333333333334	254.33333333333334	253	252.66666666666666	252.66666666666666	254	252.33333333333334	253.33333333333334	253.33333333333334	253.66666666666666	253.66666666666666	253.33333333333334	253.66666666666666	253	254.33333333333334	254.33333333333334	253.66666666666666	253.33333333333334	252.66666666666666	254.66666666666666	254	253	253	253	253.66666666666666	254.33333333333334	254.33333333333334	252.66666666666666	253.66666666666666	253.66666666666666	255	253	253	253.66666666666666	253	254.66666666666666	253.33333333333334	253	253.66666666666666	254	255	254.33333333333334	255	254.33333333333334	253.66666666666666	254.33333333333334	253.33333333333334	254.33333333333334	255	254.33333333333334	254.33333333333334	253.66666666666666	254.33333333333334	254	254	254.33333333333334	254.66666666666666	254.66666666666666	254	254	254	254.33333333333334	254	254.33333333333334	253.33333333333334	253.66666666666666	254	253.66666666666666	255	253.33333333333334	254.33333333333334	254	254	253.66666666666666	253.66666666666666	255	255	254	254.33333333333334	254	253.33333333333334	254	254.66666666666666	254.66666666666666	253.33333333333334	253.66666666666666	255	254	254	254.66666666666666	253.66666666666666	254.66666666666666	254	254.33333333333334	254	254.33333333333334	254	255	254.66666666666666	254	254.33333333333334	254.33333333333334	255.66666666666666	255	252.66666666666666	255	254.66666666666666	255	254.33333333333334	253.66666666666666	255.33333333333334	254.66666666666666	255	254.66666666666666	254.33333333333334	255	255	254.66666666666666	254.66666666666666	254.66666666666666	255	254.33333333333334	254.66666666666666	254.33333333333334	254.66666666666666	254.66666666666666	255	254.33333333333334	254.33333333333334	254.66666666666666	254.66666666666666	254.33333333333334	254.66666666666666	254.33333333333334	254.33333333333334	255.33333333333334	255.33333333333334	254.33333333333334	254.66666666666666	255	254.66666666666666	255	254	255	254.66666666666666	255	254.66666666666666	254.66666666666666	254.33333333333334	255	255	255.33333333333334	255	255	255.33333333333334	255	255	255.33333333333334	255.33333333333334	255.66666666666666	255.33333333333334	255.33333333333334	255	255	255.66666666666666	254.33333333333334	256.66666666666669	255.33333333333334	255	254	Time (s)


ORP (mV)
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ORP (mV)
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ORP (mV)




Before Filtration	0	6	3	2	1.5	1.2	320.99666666666667	255	235.33333333333334	251	232.66666666666666	249	After Filtration	0	6	3	2	1.5	1.2	260.66666666666669	335	265	294	317	270.33333333333331	Ozone Dose (g/h/L)


ORP (mV)




Before Filtration	0	6	3	2	1.5	1.2	325	253.66666666666666	216.66666666666666	233.66666666666666	237.66666666666666	244	After Filtration	0	6	3	2	1.5	1.2	277.67	308.66666666666669	266	264.33333333333331	259	296	Ozone Dose (g/h/L)


ORP (mV)




Before Filtration	0	6	3	2	1.5	1.2	325	257	248	247	230.66666666666666	241	After Filtration	0	6	3	2	1.5	1.2	263.67	345	295	321.33333333333331	286	275	Ozone Dose (g/h/L)


ORP (mV)




Before Filtration	0	6	3	2	1.5	1.2	325	257	250.66666666666666	260.66666666666669	241.66666666666666	259.66666666666669	After Filtration	0	6	3	2	1.5	1.2	281.67	358	301.66666666666669	275	297.66666666666669	289.66666666666669	Ozone Dose (g/h/L)


ORP (mV)




Before Filtration	0	6	3	2	1.5	1.2	315.67	277.33333333333331	253.66666666666666	263.33333333333331	267.33333333333331	270.66666666666669	After Filtration	0	6	3	2	1.5	1.2	280	344.66666666666669	303.33333333333331	299	309.33333333333331	264.66666666666669	Ozone Dose (g/h/L)


ORP (mV)




Before Ozonation	0	6	3	2	1.5	1.2	7.5	7.5	7.5	7.5	7.5	7.5	After Ozonation	0	6	3	2	1.5	1.2	7.5	5.336666666666666	7.53	7.706666666666667	7.5	7.293333333333333	After Filtration	0	6	3	2	1.5	1.2	8.4	7.15	7.75	7.61	8.08	7.88	Ozone Dose (g/h/L)


pH




Before Ozonation	0	6	3	2	1.5	1.2	7.669999999999999	7.669999999999999	7.669999999999999	7.669999999999999	7.669999999999999	7.669999999999999	After Ozonation	0	6	3	2	1.5	1.2	7.669999999999999	5.44	7.8220000000000001	7.73	7.7666666666666657	8.0033333333333321	After Filtration	0	6	3	2	1.5	1.2	8.2899999999999991	6.65	7.8	7.68	7.7	7.94	Ozone Dose (g/h/L)


pH




Before Ozonation	0	6	3	2	1.5	1.2	7.2599999999999989	6.8633333333333333	7.3599999999999994	7.73	8.0466666666666669	4.9433333333333334	After Ozonation	0	6	3	2	1.5	1.2	6.9466666666666663	4.33	7.7966666666666677	7.9099999999999993	8.1933333333333334	8.19	After Filtration	0	6	3	2	1.5	1.2	8.4	6.9	7.7	7.8	8.1999999999999993	8.3000000000000007	Ozone Dose (g/h/L)


pH




Before Ozonation	0	6	3	2	1.5	1.2	7.19	6.66	7.55	7.94	7.1500000000000012	7.82	After Ozonation	0	6	3	2	1.5	1.2	6.7833333333333341	4.9433333333333334	7.6466666666666674	7.9133333333333331	7.833333333333333	7.9233333333333347	After Filtration	0	6	3	2	1.5	1.2	8.5	6.7	7.8	7.9	7.8	7.9	Ozone Dose (g/h/L)


pH




Before Ozonation	0	6	3	2	1.5	1.2	6.8166666666666673	7.2266666666666666	7.913333333333334	7.8233333333333333	7.6533333333333333	7.916666666666667	After Ozonation	0	6	3	2	1.5	1.2	6.666666666666667	5.4466666666666663	8.0333333333333332	7.96	7.9133333333333331	8.0066666666666659	After Filtration	0	6	3	2	1.5	1.2	8.4	7.2	8	8	7.9	8	Ozone Dose (g/h/L)


pH




Pengaruh Dosis Terhadap Filterability	
6	3	2	1.5	1.2	57.948888888888888	35.19	89.777777777777771	75	65.87222222222222	without ozone	
109.11111111111113	109.11111111111113	109.11111111111113	109.11111111111113	109.11111111111113	Ozone Dose (g/h/L)


Turbidity (NTU)



Pengaruh Dosis Terhadap Filterability	
6	3	2	1.5	1.2	105.77777777777779	74.777777777777771	94.333333333333343	91.444444444444457	173	without ozone	
375.11111111111109	375.11111111111109	375.11111111111109	375.11111111111109	375.11111111111109	Ozone Dose (g/h/L)


Turbidity (NTU)



Pengaruh Dosis Terhadap Filterability	
6	3	2	1.5	1.2	201.83333333333331	168.83333333333334	178.83333333333334	244.5	134.33333333333334	without ozone	
592	592	592	592	592	Ozone Dose (g/h/L)


Turbidity (NTU)



Pengaruh Dosis Terhadap Filterability	
6	3	2	1.5	1.2	178.83333333333331	282.5	150.22222222222223	212.66666666666669	80.666666666666671	without ozone	
563.00000000000011	563.00000000000011	563.00000000000011	563.00000000000011	563.00000000000011	Ozone Dose (g/h/L)


Turbidity (NTU)



Pengaruh Dosis Terhadap Filterability	
6	3	2	1.5	1.2	198.33333333333334	90.888888888888872	104	131.16666666666666	113.77777777777777	without ozone	
565.44444444444446	565.44444444444446	565.44444444444446	565.44444444444446	565.44444444444446	Ozone Dose (g/h/L)


Turbidity (NTU)



Pengaruh Dosis Terhadap Waktu	
6	3	2	1.5	1.2	1339	1358	1189	1332	1407	without ozone	
1749	1749	1749	1749	1749	Ozone Dose (g/h/L)


Time (s)



Pengaruh Dosis Terhadap Waktu	
6	3	2	1.5	1.2	737	688	647	664	742	without ozone	
905	905	905	905	905	Ozone Dose (g/h/L)


Time (s)



Pengaruh Dosis Terhadap Waktu	
6	3	2	1.5	1.2	458	426	440	405	394	without ozone	
441	441	441	441	441	Ozone Dose (g/h/L)


Time (s)



Pengaruh Dosis Terhadap Waktu	
6	3	2	1.5	1.2	194	242	237	203	182	without ozone	281	281	281	281	281	Ozone Dose (g/h/L)


Time (s)



Pengaruh Dosis Terhadap Waktu	
6	3	2	1.5	1.2	95	101	102	96	86	without ozone	
104	104	104	104	104	Ozone Dose (g/h/L)


Time (s)
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