SUPPLEMENTARY FILE

Method Evaluation for Chemical Oxygen Demand (COD) in Wastewater Treatment Plant Samples from an Industrial Estate using Closed Reflux Colorimetry

Junjunan Muhammad Syukur 1,*, Erna Styani 2, Muhammad Yanwar Prasetyo 3

1 Analytical Chemistry Department, Polytechnic of AKA Bogor, Bogor, Indonesia

2 Industrial Waste Treatment Department, Polytechnic of AKA Bogor, Bogor, Indonesia

3 Environment Monitoring Department, PT. Jababeka Infrastruktur, Bekasi, Indonesia

* Corresponding author: muhammadjunjunan29@gmail.com

Table S.1. Linear regression parameters and 95% confidence intervals (CI) for the COD calibration curves

| Parameter | LR COD (20–90 mg O₂/L) | HR COD (90–700 mg O₂/L) |
| --- | --- | --- |
| Calibration range (mg O₂/L) | 20–90 | 90–700 |
| Observations (n) | 6 | 8 |
| Regression equation | Y = −0.0019X + 0.2185 | Y = 0.0003X + 0.0131 |
| Slope (b) | −0.001906 | 0,000287 |
| 95% CI Slope | -0,001985 to -0,001827 | 0,000282 to 0,000293 |
| Intercept (a) | 0.218455 | 0,013058 |
| 95% CI Intercept | 0,214263 to 0,222648 | 0,010733 to 0,015384 |
| Multiple R | 0.9996 | 0.9998 |
| R Square | 0.9991 | 0.9996 |
| Adjusted R Square | 0.9989 | 0.9996 |
| Standard error of regression (Sy/x) | 0.0021 | 0,0015 |
| F-value | 4461 | 15969 |
| p-value | 3.01 × 10⁻⁷ | 1.66 × 10⁻¹¹ |

Figure S.1. Residual analysis of the low-range (LR) COD calibration curve. The figure presents (a) residuals versus independent variable, (b) a histogram of residual distribution, (c) residuals versus fitted Y values, and (d) a normal probability plot of the residuals.

Figure S.2. Residual analysis of the low-range (HR) COD calibration curve. The figure presents (a) residuals versus independent variable, (b) a histogram of residual distribution, (c) residuals versus fitted Y values, and (d) a normal probability plot of the residuals.